MSP - 005

PROCEDURE FOR PROCURING & MANAGING REAGENTS

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Procedure	7

5.1	Reception and Storage	7

5.2	Acceptance Testing	8

5.3	Issuing of Reagents	9

5.4	Inventory Management	9

5.5	Instructions for Use	9

5.6	Adverse Incident Reporting	9

5.7	Records	10

6.	Quality Control	10

7.	Related Documents	10

8.	Reference Regulations & Guidelines	10

9.	Related Records	10

- APPROVAL AUTHORITY

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AMC | Average Monthly Consumptions |
| 2 | BC | Bin Card |
| 3 | FEFO | First Expiry First Out |
| 4 | FOL | Folder |
| 5 | FOM | Form |
| 6 | ISO | International Organization for Standardization |
| 7 | LIMS | Laboratory Information Management System |
| 8 | LIFO | Last In First Out |
| 9 | MSP | Management System Procedure |
| 10 | MAN | Manual |
| 11 | MSDS | Material Safety Data Sheets |
| 12 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 13 | QA | Quality Assurance |
| 14 | QC | Quality Control |
| 15 | QC | Quality Control |
| 16 | SOP | Standard Operating Procedure |
| 17 | SM | Stock Management |
| 18 | ST | Stores |
| 19 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

The purpose of this procedure is to provide instructions on how to manage reagents and consumables to ensure their integrity is maintained until they are put into use.

- Scope

This procedure applies to all reagents and consumables received and used at TRUSTlab.

- Responsibilities

  - Stores Manager: It is the responsibility of the Store Manager to ensure that the inventory is received and maintained in the store and issued to the departments. He/she is also responsible for recording and maintaining forms and records related to inventory receipt, checklist, storing, issuance and sending out an incident form to the supplier.

  - Lab Manager: is responsible for approving the stock indents and investigating any adverse incident related to reagent/consumables.

- Definitions

    - Maximum Stock Level: The largest amount of each commodity a facility should hold at any time.

    - Minimum Stock Level: The approximate level of stock on hand at the end of the reporting period when an order is placed.

    - Emergency Order Point: The stock level at which the risk of stock-out is likely, and an emergency order should be placed immediately.

- Procedure

  - Reception and Storage

- Reagents or consumables are received by Stores Manager or designee using the Incoming Material Inspection Form (TDPL/SM/FOM-001).

- Stores Manager or designee verifies that what has been supplied meets specifications of what was ordered or what is needed in the laboratory.

- The Stores Manager or designee verifies whether reagents or consumable supplies were transported as per manufacturer’s recommendations. If maintenance of cold chain was required, ensure that the reagents/consumables were packaged along with ice packs.

- Reagents/consumables are checked for breakages, leakages, expiry, and obvious discoloration.

- If the Stores Manager or designee is satisfied with the reagents/consumables, he ensures that they are put in the storeroom or cold-room/refrigerator pending acceptance testing, where applicable. At this stage the reagents/consumables are separated from the old ones that were already in stock and are clearly labeled as “Waiting for QC, please do not use”.

- The reagents are labeled with the date of receipt and initials of the receiving person at the department. The opening date is entered when the reagent is opened for use.

  - Acceptance Testing

- Quality manager ensures that quality control of reagents/consumables is done as part of acceptance testing.

- Where applicable, at least one item of the received reagents/consumables is picked for quality control.

- Quality control is done by analyzing quality control samples using the new reagent. The results of the quality controls that have passed must be attached to the Incoming Material Inspection Form (TDPL/SM/FOM-001), that was used to receive the reagents.

- The label on the reagents warning staff not to use the reagents can be removed and the Stores Manager or designee ensures that the First-Expiry-First-Out (FEFO) rule is applied in storing the reagents/consumables.

- If quality control fails and it can be directly attributed to the new reagents/consumables, another new reagent is picked from the storeroom and quality control is repeated. If it fails again, and root cause analysis points to the reagent, then the laboratory team leader or Quality Manager informs the Stores Manager or designee to report the QC failure to the vendor. The reagents are then returned to the vendor.

NB: It is important to note that not all reagents/consumables can be quality controlled immediately after receipt as it is not cost effective. Such reagents/consumables are quality controlled only after the ones in use are finished.

  - Issuing of Reagents

    - The Stores Manager or designee issues the reagents/consumables to the department based on the receipt of stock indent from the department. This issue/transfer of reagents/consumables are recorded in the LIMS software. Refer to Procedure for Stock Issue to Departments (TDPL/ST/SOP–002) for a detailed procedure.

  - Inventory Management

- After reagents have been “Accepted” and put in stock, Stores Manager or designee ensures that bin cards are updated to reflect the new balance.

- As reagents are issued to the departments for use, the bin cards are also updated to indicate the issued reagents/consumables.

- The bin cards are also used to capture expiry dates, lot numbers, minimum and maximum stock levels.

- When the reagents/consumables are being used in the departments, a daily consumption log is updated in the LIMS software which shows the date and lot number when the reagent has been opened. This information is also captured on the reagent package (bottle, box, etc.) itself.

- The reagents daily consumption log helps when calculating consumption rates as well as to establish a link between the number of tests performed to the quantity of reagent used.

  - Instructions for Use

- Department Supervisor keeps a file of reagent inserts in their respective department for future reference. It is the Lab Manager’s responsibility to enforce and oversee this activity.

- Stores Manager or designee ensures that material safety data sheets (MSDS) for each chemical in stock are maintained in the Material Safety Data Sheet (MSDS) Folder (TDPL/GE/FOL-003) at the Stores as well as the departments.

  - Adverse Incident Reporting

- The lab supervisor informs the Lab Manager in writing (email) of any adverse incident that can be directly attributed to reagents/consumables. The Lab Manager will investigate the adverse incident and document it in a Laboratory Incident Form (TDPL/GE/FOM-018), before informing the Stores Manager or designee, who in turn reports to the supplier who supplied the reagent, by using the Incident form.

  - Records

Reagent records are captured on the Incoming Material Inspection Forms & Reagent Consumption Sheets and on bin cards. The Stores Manager/Designee and Quality Manager maintain these records.

- Quality Control

The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action will be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

- Related Documents

Procedure on Stock Issue to Departments (TDPL/ST/SOP–002)

- Reference Regulations & Guidelines

  - Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

  - Guidance document: Medical Laboratories (NABL 112B; Issue 01)

  - ISO 15189:2022 Medical Laboratories – Requirements for Quality and Competence

- Related Records

  - Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)

  - Incoming Material Inspection Form (TDPL/SM/FOM-001)

  - Material Safety Data Sheet (MSDS) Folder (TDPL/GE/FOL-003)

  - Laboratory Incident Form (TDPL/GE/FOM-018)