MSP - 006

PROCEDURE FOR REAGENT RECALL MANAGEMENT

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Procedure	7

5.1	Recall Initiation	7

5.2	Internal Recall	8

5.3	External Recall	9

5.4	Disposal of Recalled Reagents	10

5.5	Final Reporting & Closure	10

6.	Quality Control	10

7.	Related Documents	10

8.	Reference Regulations & Guidelines	11

9.	Related Records	11

- APPROVAL AUTHORITY

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | FOM | Form |
| 2 | GE | General |
| 3 | IQC | Internal Quality Control |
| 4 | ISO | International Organization for Standardization |
| 5 | LIMS | Laboratory Information Management System |
| 6 | MSP | Management System Procedure |
| 7 | MAN | Manual |
| 8 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 9 | QA | Quality Assurance |
| 10 | QT QMS | Quality comes before Trust Quality Management System |
| 11 | QC | Quality Control |
| 12 | REG | Register |
| 13 | SOP | Standard Operating Procedure |
| 14 | SM | Stock Management |
| 15 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- This procedure outlines the steps for identifying, isolating, documenting, and removing reagents that are defective, expired, contaminated, or otherwise unsuitable for use. This ensures compliance with regulatory standards and maintains the integrity of laboratory results.

- Scope

  - This SOP applies to all reagents used in specimen examination applications within TRUSTlab. It includes:

    - Purchased reagents from external suppliers.

    - In-house prepared reagents.

    - Reagents used in calibration, controls and testing.

- Responsibilities

  - Laboratory Staff   - Identify suspect reagents and report issues.

  - Stores Manager - Isolates all the reagents in the store as well as the reagents transferred from the departments back to the store. Assist in recall communication.

  - Quality Manager - Verify reagent performance issues. Review batch records. Approves recall initiation. Oversee documentation and disposal. Performs internal and external communications.

- Definitions

- N/A.

- Procedure

  - Recall Initiation

- The triggering factors for a reagent recall include the following:

- Internal Recall:

- Due to Internal Quality Control (IQC) Failures – the reagent fails internal quality control (IQC) tests and deviates in expected performance.

- External Recall:

  - Supplier Notification – The manufacturer, distributor, or supplier issues a recall due to, but not limited to, contamination, labeling errors, or instability.

  - Regulatory Directives – Governing bodies or other compliance agencies mandate a recall.

  - End-User Complaints – Customer reports of inconsistent results or adverse effects in processes and the resulting investigation reveals expired, mislabeled, or contaminated reagents

  - Internal Recall

- When the department staff in the laboratory finds a serious deviation in the internal quality control protocols, he/she will stop the equipment/examination process and remove the reagent from the equipment. The department staff will notify the Lab Manager & Quality Manager about the quality control deviations by filling out the Daily IQC Outlier Non-Conformity & Preventive Action Form (TDPL/GE/FOM-036). The Quality Manager will investigate the deviation through a systematic approach:

- Identification & Tracking of Affected Reagents

  - Identify the affected reagent by lot number, batch number, expiry date including supplier details (if externally procured).

  - Immediate Containment & Isolation.

  - Stop all usage of the reagent immediately.

  - Quarantine all affected reagent stock by moving the reagent to a designated Quarantine Storage Area labeled as “DO NOT USE – UNDER RECALL”.

  - Restrict access to the reagent by locking the storage unit if necessary to ensure that staff cannot access or use the reagent.

- Conduct Root Cause Analysis

  - Review past performance data. Determine which tests have been impacted.

  - Check QC logs, calibration reports, and test results. Retrieve data from LIMS (Laboratory Information Management System) software.

  - Investigate the following:

    - Was the reagent stored under improper conditions?

    - Was there contamination during preparation or handling?

    - Was it a supplier/manufacturer defect?

- Classify the Recall Severity

  - Class I (High Risk): Potential to cause serious harm.

  - Class II (Moderate Risk): May impact quality, but no immediate danger.

  - Class III (Low Risk): Minor issues, such as labeling errors.

- Based on the severity classification, the Quality Manager, in coordination with the Head of the Department and Lab Head, will determine the appropriate course of action:

  - Class III: Reagents will be released from the Quarantine Area and reissued to the department for speciment testing.

  - Class II or Class I: Reagents will be permanently discontinued from testing and retained in the Quarantine Area until disposal.

- The Quality Manager will notify the relevant departments of the recalled reagent’s discontinuation via email, internal software alerts, and noticeboards. The notification will include the reagent name, lot number, and reason for the recall.

- If a reagent is found to be faulty due to external factors, the Quality Manager will notify the manufacturer, distributor, or supplier for further action. If the recall is critical and poses a significant risk to the community, the Quality Manager will alert TRUSTlab Management to inform the relevant regulatory authorities.

- If the failure is directly attributed to lapses in the internal processes, the Quality Manager will implement corrective actions to address the identified failures and prevent future recurrences.

  - External Recall

- Any department/employee receiving a reagent recall notice from the manufacturer, distributor, supplier or government agency will immediately notify the Lab Manager and the Quality Manager.

- Based on the severity of the recall, the Quality Manager will issue a reagent recall notice to all the relevant departments mandating the immediate stoppage and removal of the reagent from specimen examination process. The suspect reagent is transferred back to the stores where it is placed in the Quarantine Storage Area and locked up to restrict access.

- Based on the severity of the external recall and recommendations from the manufacturer, distributor or supplier, the Quality Manager will determine whether (a) to unquarantine and reissue the reagent for specimen testing, (b) to return it to the supplier, or (3) to proceed with disposal.

  - Disposal of Recalled Reagents

- In both Internal and External Recall situations, the Quality Manager will instruct the Stores Manager on appropriate disposal methods:

  - Hazardous reagents: Dispose of as per chemical waste protocols.

  - Non-hazardous reagents: Follow general laboratory disposal procedures.

  - Return to supplier: If required, return the reagent to the manufacturer for further analysis.

- Document the disposal by maintaining a Reagent Disposal Register (TDPL/SM/REG-002) with date, method, and responsible personnel.

- Obtain approval from the QA Manager before final disposal.

  - Final Reporting & Closure

- QM prepares a final Reagent Recall Notice Form (TDPL/SM/FOM-10) including the Reason for recall /List of affected batches and products / Corrective and preventive actions taken / Regulatory notifications made / Disposal records.

- Submit the report to management in the Monthly Review Meeting/Management Review Meeting and regulatory authorities (if required).

- Upload the recall report into MRM.

- Close the Recall CAPA in the QT QMS system.

- Quality Control

- The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action will be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

- Related Documents

- N/A

- Reference Regulations & Guidelines

  - Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

  - Guidance document: Medical Laboratories (NABL 112B; Issue 01)

  - ISO 15189:2022 Medical Laboratories – Requirements for Quality and Competence

- Related Records

  - Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)

  - Daily IQC Outlier Non-Conformity & Preventive Action Form (TDPL/GE/FOM-036)

  - Reagent Disposal Register (TDPL/SM/REG-002)

  - Reagent Recall Notice Form (TDPL/SM/FOM-10)