MSP - 008

PROCEDURE FOR MANAGING REFERRAL LABORATORIES

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Procedure	7

5.1	Evaluation of Referral Laboratories	8

5.2	Selection	8

5.3	Monitoring	8

5.4	Instrument Comparison	8

5.5	Using Backup Measures for Testing	8

5.6	Results reporting	9

6.	Quality Control	9

7.	Related Documents	9

8.	Reference Regulations & Guidelines	9

9.	Related Records	10

Appendix 1 - Back-up Testing Facility for TRUSTlab	11

Appendix 2 – Referral Lab Evaluation Form	12

- APPROVAL AUTHORITY

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | CAPR | Corrective Action Plan Report |
| 2 | EQAS | External Quality Assessment Services |
| 3 | GE | General |
| 4 | FOM | Form |
| 5 | ILC | Inter-Laboratory Comparison |
| 6 | IQC | Internal Quality Control |
| 7 | ISO | International Organization for Standardization |
| 8 | IT | Information Technology |
| 9 | MSP | Management System Procedure |
| 10 | MAN | Manual |
| 11 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 12 | PT | Proficiency Testing |
| 13 | QA | Quality Assurance |
| 14 | QC | Quality Control |
| 15 | QMS | Quality Management System |
| 16 | SOP | Standard Operating Procedure |
| 17 | TDPL | TRUSTlab Diagnostics Private Limited |
| 18 | TAT | Turn Around Time |

- Objective

- The objective of this standard operating procedure is to provide guidelines on the use of backup instruments/methods and the use of referral laboratories is done in a standard way that does not compromise the Quality of TRUSTlab service to its clients.

- Scope

- This procedure covers the entire test schedule of TRUSTlab and refers to any occasion that may require the use of a backup system or referral of test work.

- Responsibilities

  - The Lab Manager is responsible for implementation and management of this procedure.

  - Top management is responsible for attending formal management review meetings.

- Definitions

  - Audit – A systematic and formal comparison of documentation and practice against requirements, performed for the purpose of finding areas of nonconformity or opportunities for improvement.

  - Evidence – Data or examples which can be proven true and verified for the purposes of proving an audit finding.

  - Findings – Any summary of audit evidence; findings may be positive (reports of compliance) or negative (reports of nonconformity)

  - Nonconformity/Noncompliance – Any instance where practice or evidence does not comply with requirements

- Procedure

It is the policy of TRUSTlab that any work that needs to be referred to external laboratories or done in-house on alternate instruments, for whatever reason, is assigned to competent referral laboratories or back-up instruments that are on the Back-up Plan List (see Appendix-1), and are in compliance with this Quality Management System and requirements of ISO 15189 International Standards and other regulatory agency requirements.

  - Evaluation of Referral Laboratories

- All referral laboratories shall be evaluated before they can be short-listed for selection.

- The evaluation form - Referral Lab Evaluation Form (TDPL/GE/FOM-042) is used in the collection of information from potential referral laboratories during the first phase of the evaluation process.

- The second phase of the evaluation process involves method and instrument performance comparison between the referral lab and TRUSTlab.

  - Selection

- Once a method and instrument performance comparison are accepted, the laboratory can then be selected for use as a referral lab depending on other factors such as cost and this is the responsibility of the CMD.

- Reasons for selections shall be fully documented by the Lab Manager.

  - Monitoring

- The referral laboratory shall be subjected to constant monitoring for continued compliance with requirements.

- This shall include annual instrument comparison studies and annual initial evaluation process, EQAS reports analyses, ILC analysis, IQC reports analysis and Instrument performance checks.

  - Instrument Comparison

- Instrument comparison studies should be done to ensure results from referral laboratory instruments and TRUSTlab instruments agree. This should be done annually and should follow the procedures laid down in the Procedure for Comparability of Results (TDPL/QA/MAN-002: MSP-015).

- The same should be done for TRUSTlab backup systems.

- All maintenance checks should be performed on the backup system.

  - Using Backup Measures for Testing

- Fill in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021) when the non-conformity has been identified.

- Send the form to the Laboratory Manager for assessment of the problem.

- If justified, the Lab Manager approves the use of the backup instrument or referral laboratory.

- Notify appropriate personnel, e.g. at the referral lab that you will be sending test specimens or to the Lab staff to prepare the backup instruments etc.

- Send test specimens for testing ensuring that specimen integrity is maintained through proper transport procedures.

- Evaluate results of all reports obtained from backup instruments or referral labs to ensure they conform to requirements.

- When corrective actions have been implemented and evaluated to have been effective, the original testing system will be reinstated for normal operations to resume.

  - Results reporting

- All final reports sent to clients shall state the appropriate method used for testing the test specimens on the backup machine or at the referral laboratory.

- IT personnel should be notified when testing has been moved to backup systems/referral lab and also when the original system is reinstated.

- Quality Control

- The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action will be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

- Related Documents

Procedure for Comparability of Results (TDPL/QA/MAN-002: MSP-015)

- Reference Regulations & Guidelines

Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

Guidance document: Medical Laboratories (NABL 112B; Issue 01)

ISO 15189:2022 Medical Laboratories – Requirements for Quality and Competence

- Related Records

Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)

Referral Lab Evaluation Form (TDPL/GE/FOM-042)

- Appendix 1 - Back-up Testing Facility for TRUSTlab

| Assay | Primary Equipment | Back-up Equipment |
| --- | --- | --- |
| Clinical Chemistry |  |  |
| Immunoassay |  |  |
| Haematology |  |  |
| Clinical Pathology |  |  |
| Cytology |  |  |
| Histopathology |  |  |
| Serology |  |  |
| Microbiology |  |  |
| Molecular Biology |  |  |
| Cytogenetics |  |  |

- Appendix 2 – Referral Lab Evaluation Form

Document No: TDPL/GE/FOM-042

Laboratory’s Name: 		...................................................................

Contact Person and Details: 	...................................................................

...................................................................

...................................................................

...................................................................

...................................................................

Reason for Evaluation: 	Routine Testing

Back-up System

Special Circumstance

(Explain):

…………..............................................................................................................................................................................................................................................................................................................................................................................................................................................................Evaluated for the following tests:

| Analyte / Test | Matrix |
| --- | --- |

Evaluation done by: ...........................................................................................

Date: ...............................................

PLEASE ATTACH SUPPORTING DOCUMENTS AS AND WHERE NECESSARY

- Laboratory’s Capabilities (maximum 25 points)

- Background (1-5 points):

- Does the laboratory have a reputation for high quality and integrity? 	________

- How long has the lab been in business (e.g. 5 years, 10, more)? 		________

- What are clients' general observations regarding the lab's services? 	________

- Experience and references (1-5 points):

- Has the laboratory provided a list of References? 			________

- How long have clients been served by the lab?				________

- Quality Management (1-5 points):

- Does the lab have a QMS?						________

- Does the Lab have a Quality Assurance Plan?				________

- Is the Laboratory accredited? Is the documentation available?		________

- Equipment (lab and data handling) (1-5 points):

- Is the testing equipment adequate for the scope and volume 		________

of services offered?

- Is there adequate backup in the event of equipment failure? 		________

- Does the automated data processing equipment capability appear        ________                     to be adequate for the scope of the work contract (e.g., direct                              transmissions, online result reporting)?

- Accreditation and certifications (1-5 points):

- NABL?									_________

- Other?									_________

Total points for section 1: 							_________

Document where the lab was lacking: __________________________________

- Quality assurance (maximum 25 points; assign 1-5 points for each question)

- Is a written, organized, comprehensive quality control (QC) program          _________                           in place?

- Is there a process for remedial action when QC tolerance limits are     	  _________                exceeded?

- Is an ongoing monitoring program in place to review, detect, and                  _________                            correct system errors?

- Is a copy of proficiency testing () results available for at least the               _________               previous 24 months, and for deficiencies noted, were appropriate and                         timely corrective actions documented? Attach copies?

- Does the laboratory have a written, clearly defined protocol for                      _________          notifying clients of critical values?

Total points for section 2: 							   _________

Document where the lab was lacking: _____________________________________

- Efficiency of referral services (maximum 15 points; assign 1-5 points for each question)

- Does the lab offer a sufficient range of services to satisfy our needs?	    _________

- Does the lab provide a written TAT for each test performed, and does            _________ the TAT meet our needs?

- Are data elements for each test complete?				                 _________

Total points for section 3: 							    ________

Document where the lab was lacking: _____________________________________

- Operational systems: (1-5 points for each item below)

- General management/overall assessment of policies/procedures.                       ________

- Methods used for testing/reporting results. 				 	      ________

- Specimen handling policies/procedures. Includes clearly defined,            comprehensive instructions for preparing specimens as well as criteria                            for rejecting unsatisfactory specimens. 	     				      ________

- Equipment maintenance policies.						      ________

- Information and data handling policies/procedures. 			      ________

- Printing of reports via computer or printer in participating lab                                            (is printer provided?).                                                                                                  ________

- Adequate specimen pick-up service?					  	      ________

- Does the lab have a written protocol for reviewing test reports for                                possible errors?     								      ________

- Is the test report format clear and can it be read easily?		                   ________

- Does the lab provide client consultation services on a daily basis,                               including client services, technical advice, and medical consultation                      concerning appropriate test ordering and interpretation of results?                   ________

Points for 4) should be awarded subjectively, based on past experience, if possible.                      If not, call references for information.

Total points for section 4: 							      ________

Document where the lab was lacking: _____________________________________

- Personnel (maximum 30 points; assign 0-5 points for each question)

- Percentage of technologists to technicians: [is greater than] 75% (5 points);                             50% (3 points); [is less than] 25% (0 points)				               _________

- Does the lab employ a qualified supervisor during all hours of operation?                     Yes (5 points); No (0 points)							  _________

- Are specific staff members assigned to assist us at all times?                                              Yes (5 points); No (0 points)						   	  _________

- Are doctoral-level scientists or pathologists available for consultation?                            Yes (5 points); No (0 points)					  		  _________

- Does the technical staff have expertise in all areas required?                                              Yes (5 points); No (0 points)							  _________

- Does the technical staff receive continuing education on an ongoing                               basis and is this education documented? Yes (5 points); No (0 points)	  _________

Total points for section 5: 							  _________

Document where the lab was lacking: ___________________________________

- Results for method and instrument comparison studies:

Acceptable  / Unacceptable

Explain:

.................................................................................................................................................................................................................................................................................................................................................................................................................................................................................

Evaluator’s comments: .................................................................................................................................................................................................................................................................................................................................................................................................................................................................................

Lab Manager:

Comments: ....................................................................................................................................... .............................................................................................................................................................

.............................................................................................................................................................

Lab Approved   / Not Approved

Signature: .................................................. Date: ...........................