MSP - 017

PROCEDURE FOR ISSUING & MAINTAINING A REVISED REPORT

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Procedure	7

6.	Quality Control	9

7.	Related Documents	9

8.	Reference Regulations & Guidelines	9

9.	Related Records	9

- APPROVAL AUTHORITY

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | FOL | Folder |
| 2 | FOM | Form |
| 3 | GE | General |
| 4 | HoD | Head of Department |
| 5 | ISO | International Organization for Standardization |
| 6 | LIMS | Laboratory Information Management System |
| 7 | MAN | Manual |
| 8 | MSP | Management System Procedure |
| 9 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 10 | QA | Quality Assurance |
| 11 | SOP | Standard Operating Procedure |
| 12 | TDPL | TRUSTlab Diagnostics Private Limited |

Objective

- To provide the laboratory staff with guidelines for amending or correcting an issued laboratory test result.

Scope

- Applies to all laboratory staff of TRUSTlab.

Responsibilities

  - Laboratory Head/Designee

  - Laboratory Supervisor/Senior Technician

  - Quality Manager

  - Technicians

Definitions

- Amended Report: A report that replaces a previously released report for one or more reasons such as:

  - incorrect result, reference range or interpretation.

  - changes to patient identifiers (demographic corrections)

  - minor typographical errors

  - an additional comment or addendum attached to the result that may not change the clinical interpretation of the result

- Reports that display revised results must clearly indicate that the new result is a change from a previously reported result.

Procedure

- Whenever it becomes evident that an erroneous laboratory report has been issued, it must be followed with an amended report that reflects all corrections and the reason for error clearly documented therein.

- While the report is the end result of the testing process, the reasons for the release of an erroneous report must be investigated phase-wise – from the pre-analytical phase (from test ordering to specimen collection and handling), through the analytical phase (instruments/reagents/staff competency), to the post-analytical phase that includes verification on LIMS for automated and manual results transfer. These checks may indicate a problem that may involve the core issues of oversight, training, communication or documentation.

- Immediately after recognizing that an erroneous result has been reported: Contact the individual who received the original report and notify them about the amendment.

- When possible, retest the original specimen to obtain the correct result. Copy of the erroneous report will be saved and printed before any correction/change is entered in LIMS.

- The correction is noted, in writing, on the copy, dated & signed by the person who made the correction.

- Report the final corrected result and clearly mention the previous result as erroneous and the new final result as the amended result in the report.

- The Amended Report will be in the same format as all other TRUSTlab test reports, but with these additional points:

  - It will reflect the corrected results or patient details or method or interpretation, as may be the case.

  - It will be annotated clearly that this is an amended report.

  - The amendments will be listed.

  - Date & time of the erroneous report, that this amended report is replacing, will be mentioned.

- If the original report (hardcopy) is available, make a note on the report that this original result is erroneous and that an amended report has been issued (include date & time of the amended report).

- All original (erroneous) & amended reports will be maintained permanently in the Amendment Reports Monitoring Folder (TDPL/GE/FOL-034) within each department.

- All details should be entered in the Amendment Report Monitoring Form (TDPL/GE/FOM-031).

- Reported patient-result errors will be handled according to the Corrective and Preventive Action Procedure the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

- All released/verified results found to be erroneous must be reported to the ordering physician as soon as possible to minimize the potential adverse impact on patient management. Additionally, the physician must be informed that once the error has been identified and rectified, the corrected results will be brought to his/her notice.

- All corrected results must be brought to the attention of the ordering physician as soon as the tests are repeated and confirmed. All relevant quality control records should be reviewed and checked ensuring that the quality controls have been performed according to established policy, and controls are within acceptable analytical ranges and the Laboratory Head/HoD have reviewed/approved the new corrected results.

- The previous test results/information and the revised results/information must be identified as such and included in the corrected report.

- The guidelines for corrected reports, as detailed above, apply to all results and patient data performed in the laboratory and any correction of any patient data must be informed both verbally by phone and by electronic laboratory report through LIMS as a part of general reporting requirements.

Quality Control

- The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action should be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

Related Documents

- N/A.

Reference Regulations & Guidelines

Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

Guidance document: Medical Laboratories (NABL 112B; Issue 01)

ISO 15189:2022 Medical Laboratories – Requirements for Quality and Competence

Related Records

Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)

Amendment Report Monitoring Form (TDPL/GE/FOM-031)

Amendment Report Monitoring Folder (TDPL/GE/FOL-034)