MSP - 020

PROCEDURE FOR CONTINGENCY PLANNING FOR EMERGENCY PREPAREDNESS & CONTINUITY OF LABORATORY ACTIVITIES

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Procedure	7

5.1	Business Continuity Principles (BCP)	7

5.2	Business Continuity Strategy	8

5.3	Scheduling	11

6.	Quality Control	12

7.	Related Documents	12

8.	Reference Regulations & Guidelines	12

9.	Related Records	12

Appendix – 1: Business Continuity Plan – Contact Details	13

Appendix – 2: Business Continuity Plan – TRUSTlab Begumpet	14

- APPROVAL AUTHORITY

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | BC | Business Continuity |
| 2 | BCP | Business Continuity Principle |
| 3 | BIA | Business Impact Analysis |
| 4 | FOM | Form |
| 5 | GE | General |
| 6 | HVA | Hazard Vulnerability Analysis |
| 7 | ISO | International Organization for Standardization |
| 8 | IT | Information Technology |
| 9 | LIMS | Laboratory Information Management System |
| 10 | MAN | Manual |
| 11 | MSP | Management System Procedure |
| 12 | MTD | Maximum Tolerable Downtime |
| 13 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 14 | QA | Quality Assurance |
| 15 | QM | Quality Manager |
| 16 | RPO | Recovery Point Objectives |
| 17 | RTA | Recovery Time Actual |
| 18 | RTO | Recovery Time Objectives |
| 19 | SLA | Service Level Agreement |
| 20 | SOP | Standard Operating Procedure |
| 21 | TAMS | TRUSTlab Asset Management Software |
| 22 | TAT | Turn Around Time |
| 23 | TDPL | TRUSTlab Diagnostics Private Limited |
| 24 | UPS | Uninterruptible Power Supply |

Objective

- The purpose of this Business Continuity Plan is to provide clear guidance to staff on managing crises or incidents that disrupt day-to-day operations. Its aim is to ensure the identification and continuity of critical business functions to continue uninterrupted during an emergency or disaster. Additionally, to periodically test, review, and revise these procedures for effectiveness.

Scope

- The scope of this procedure applies to technological, natural, or man-made disasters that result in emergencies endangering personnel, property, other stakeholders, or patient care.

Responsibilities

  - Quality Manager

  - Quality Assurance Department

Definitions

- Sample: A biological specimen of a patient/test requestor that is received by TRUSTlab for specific diagnostic testing.

Procedure

Business Continuity Principles (BCP)

- TRUSTlab’s business continuity planning is based on four principles:

Immediate action must be taken in the event of a problem or crisis.

Actions must first focus on keeping defined essential services going.

Business continuity at the functional level is the responsibility of the designated business continuity leads, normally a senior manager.

There should be no single point of dependence.

Business Continuity Strategy

- The figure below shows TRUSTlab Emergency preparedness and Business Continuity Strategy:

Prevent

- The Planning Team members will conduct a Hazard Vulnerability Analysis (HVA). This assessment is performed to identify and minimize risks/threats TRUSTlab may face and determine steps to minimize impact and maintain operations. The HVA process includes:

  - Identifying risks (based on probability, history, and impact).

  - Finding any control weaknesses and/or single points of failure.

  - Pinpointing, selecting, and documenting mitigation/corrective measure(s) (including costs) to mitigate the identified risks.

  - Reporting findings and identified risk(s) along with the mitigation strategies to the Management and other TRUSTlab stakeholders and personnel.

Prepare

      - Once the HVA is complete, the team conducts a Business Impact Analysis (BIA) of all the business processes within TRUSTlab, department by department. Each department’s processes are then analyzed to give the team a complete picture of TRUSTlab critical (and non-critical) operations.

      - Upon completion of collecting data, documents and details for essential services, staffing, equipment and vital records, the Business Impact Analysis Report is written to reflect all findings, gaps and areas that are well prepared and shared with the BCP leadership team and other key TRUSTlab stakeholders:

        - Critical business processes and their priority level (e.g., low, medium, high)

        - Names and contact information for the business continuity and the senior management teams

        - Resources identified in the BIA process that are needed to continue doing business within the critical processes.

        - Contact information for key contacts, vendors, and suppliers as well as back up.

      - Essential Functions:

        - Critical business functions that must be done immediately or in less than four (4) hours. May present with immediate threat to life and health if interrupted.

        - Urgent business functions that must be done between 01 – 24 hours or may present threat to life and health if interrupted.

        - Important business functions that should be done between 24 – 96 hours or may present impact to operations and/or patient satisfaction.

        - Delayed business functions have minimal impact and need to be done within 5-7 days

      - Completion of Business Impact Analysis for all the departments within TRUSTlab as well as the BIA report will provide the vulnerable areas where TRUSTlab should protect its business assets to prevent or minimize downtime during a disruption.

      - Based on the identified risks outline in the BIA report, the BC execution team will also recommend recovery strategies to help TRUSTlab return to partial and/or normal operations following a disruption. Business disruptions generally fall into one or more of the following categories:

        - Facility

        - Staff

        - Equipment

        - Technology

      - Periodic mock drills are conducted to test response strategies, analyze their effectiveness, and make improvements as needed to enhance their efficiency and ensure employees are familiar with disaster response procedures

Respond

      - When a disruptive event is imminent or occurring, QM will activate and tailor one or more BCPs to address the nature, scale, impact and duration of the event.

      - The response strategy to disruption of a single critical business function or disruption of a single critical business function or disruptive event that is a disaster or emergency is as follows:

        - Tailor plans to address the nature, scale, impact and duration of the disruptive event, including:

        - Identifying functions that need to be prioritized for activation or can be deferred

        - Applying the most appropriate plan strategies (for example, if workplace access is restricted, it may be appropriate to use different work locations or change how the service is delivered).

        - Implement plans within their area of responsibility, monitor activation and liaise with, and maintain appropriate communication between relevant stakeholders, including interdependent department BCPs, to provide information about impact and resourcing needs (if required).

        - Report status to maintain situational awareness.

        - Escalate issues and risks, as required.

        - Be cognizant of staff wellbeing and manage fatigue, for example, employing backup staff and deferring non-critical work.

        - Record, as part of a disaster and emergency event decision log, BCP activation and other important information, which may include, functions deferred, activities undertaken, decisions made, and controls and actions implemented.

Recover

- Recovery Strategy includes:

      - Determine and test manual/downtime workarounds, maximum tolerable downtime (MTD), recovery time objectives (RTO) and recovery time actual (RTA), and recovery point objectives (RPO).

      - Recovery strategies and procedures will be developed for different disruptions and will cover almost every situation that TRUSTlab may encounter. A disruption action plan is developed for each situation and ensure that there is a current inventory of the critical assets required to enable business processes to continue.

      - For each piece of equipment, TRUSTlab records essential information in the TAMS software to facilitate swift service calls in the event of a disruption, including:

        - Equipment: List the type of equipment and location

        - Serial Number/Key/License: Identification numbers for the equipment

        - Company: Vendor/manufacturer

        - Warranty: Warranty expiration date. If no warranty, enter “n/a”

        - Service contract/Vendor: Company name and contact information

        - Notes: Any additional information

        - Name and Contact number of the individual/company that attends for maintenance/breakdown.

Scheduling

- It is critical that during the development of the BCP, the BC leadership team set dates, times, and topics for BCP trainings, drills, and team meetings to review the plan. This will ensure that it can be incorporated into the normal schedule of operations at TRUSTlab.

Quality Control

- The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action should be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

Related Documents

- N/A.

Reference Regulations & Guidelines

Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

Guidance document: Medical Laboratories (NABL 112B; Issue 01)

ISO 15189:2022 Medical Laboratories – Requirements for Quality and Competence

Related Records

Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)

- Appendix – 1: Business Continuity Plan – Contact Details

| Business Continuity Lead |  |  |  |
| --- | --- | --- | --- |
| Name | Job Title | Contact Numbers |  |
| VENKATA CHERUKURI | CHAIRMAN & MANAGING DIRECTOR | Work | 9000 304 927 |
|  |  | Mobile | 9000 304 927 |
|  |  | e-mail | venkata@mytrustlab.com |
| Deputy Business Continuity Lead |  |  |  |
| Name | Job Title | Contact Numbers |  |
|  |  | Work | ##### |
|  |  | Mobile | ##### |
|  |  | e-mail | xxxx@mytrustlab.com |
| Alternate Deputy Business Continuity Lead |  |  |  |
| Name | Job Title | Contact Numbers |  |
|  |  | Work | ##### |
|  |  | Mobile | ##### |
|  |  | e-mail | xxxx@mytrustlab.com |
| Alternate Deputy Business Continuity Lead |  |  |  |
| Name | Job Title | Contact Numbers |  |
|  |  | Work | ##### |
|  |  | Mobile | ##### |
|  |  | e-mail | xxxx@mytrustlab.com |

- Appendix – 2: Business Continuity Plan – TRUSTlab Begumpet

Equipment Breakdown - Major Power Surges, Major Mechanical Faults, Lighting and Major Human Errors

Threat to Business Continuity: - Equipment unavailability for sample processing due to major issues can lead to delays in patient report delivery.

Business Continuity Measures: - The laboratory makes appropriate use of, maintains and services all equipment and supplies. - It is appropriate for the laboratory staff to first identify the nature of the equipment breakdown. Conferring with the equipment operator manual can help the laboratory staff to identify such problems. Note the error codes displayed on monitors to easily assess the problem. - Notify the Head of Department and the responsible technician as soon as possible. - Equipment back-ups are available for all equipment performing routine procedures such as microscopy, hematology analyzer and chemistry analyzer. - In cases where no machine back-up is available, TRUSTlab outsources laboratory examinations to avoid delay in release of results.

Denial of Access to Laboratory Premises - Major Fire, Major Flood, Building closure due to Government Order, etc.

Threat to Business Continuity: - A temporary or permanent closure of the premises, or restricted access due to an Act of God, man-made disasters, or government orders, will severely impact TRUSTlab’s operations and pose a significant threat to business continuity.

Business Continuity Measures: - If the laboratory cannot be accessed due to a major disaster such as a fire or flood, or due to Government Instruction, then the following procedure will be followed: - Inform the Accession team and Customer service team to divert the samples immediately to an approved Outsource partner to avoid delays in patient sample and releasing of patient test results. - Liaise with the appropriate persons including and not limited to; Asset & Facilities Manager, Fire and Rescue Service, Building Owners, Tradesmen to determine the extent of the damage and when the clinic is likely to be fit for purpose. - If the laboratory premises is expected to be closed for a lengthy period of time or the damage is irreparable, then the relevant person in the Business Continuity leadership team will seek an alternative suitable location to move the location of the laboratory.

Man-power Shortage - Major Power Surges, Major Mechanical Faults, Lighting and Major Human Errors

Threat to Business Continuity: - Short-term and long-term shortages of technical staff responsible for processing samples, along with the unavailability of the test report approving authority, pose a threat to business continuity and result in delays in the release of patient reports.

Business Continuity Measures: - TRUSTlab maintains a policy of having reserve staff to mitigate the risk of short-term and long-term manpower shortages. The organization proactively recruits experienced professionals and trainees in the reserve category, providing them with training to familiarize them with the work culture and gain technical expertise before authorizing them to process patient samples. - TRUSTlab maintains a policy of employing a mix of full-time and part-time consultants as authorized signatories to mitigate the risk of dependency on a single full-time consultant. This strategy ensures continuity, allowing remaining consultants to step in and fulfill the role until a replacement is recruited. - The Human Resources department is responsible for continuously headhunting to maintain a steady pipeline of potential candidates for critical positions, ensuring business continuity. - All staff are required to serve the notice period that is stipulated in their contract of employment or Contractors contract. This allows sufficient time to implement the staff recruitment policy and ensure that suitably qualified staff are taken on to fill the gap in the service. - TRUSTlab actively recruits and cross-trains employees across multiple departments as a proactive measure to address short-term and long-term staff shortages. - During unexpected staff shortages, staff members may be asked if they can temporarily increase their working hours to cope with the demand. The use of temporary staff/locums may also be considered if the requirements cannot be met by current staff.

Utilities Shortage - Major Power Disruptions and Major Water Supply Shortages.

Threat to Business Continuity: - Short-term (less than 24 hours) and long-term (more than 24 hours) power supply shortages can halt all laboratory departments, severely disrupting operations and compromising service continuity. - Major disruptions in water supply to the laboratory can affect specific departments, leading to delays in processing and releasing patient reports.

Business Continuity Measures: - The laboratory is equipped with power backup mechanisms, including UPS and automatic generator, to minimize disruptions and ensure uninterrupted testing and timely report release. - Critical equipment used for tests with shorter TATs and essential parameters are connected to the UPS backup, while all equipment, including air conditioning systems, are supported by generator backup to ensure uninterrupted operations. - The laboratory maintains contact information for local electricians and government electrical personnel to coordinate timely assistance in the event of prolonged power supply disruptions. - Reduce non-essential power usage. - Ensure the overhead tank remains full at all times by conducting regular inspections and timely refilling as needed. - Implement water conservation measures. - Arrange for alternative water sources (water tankers, bottled water, etc.)

Supply Chain Breakdown – Reagent unavailable from Manufacturer, Shut-down of Reagent supply due to shutdown of operations/business, trade restrictions between country of the manufacturer and India, delay in importing of reagents due to logistics challenges / customs clearance, etc.

Threat to Business Continuity: - A complete supply chain breakdown leading to reagent unavailability, hindering the processing of patient samples, impacting turnaround time (TAT), and causing delays in reporting patient test results.

Business Continuity Measures: - TRUSTlab maintains multiple equipment’s & reagent manufacturers from different geographies to encounter the potential business continuity threats highlighted above. This includes Made in India option should trade restriction apply to most of the manufacturers that are exporting to India. - In addition, TRUSTlab has Outsource partner agreements with other reputed and Quality conscious diagnostics players as a second option should reagent unavailability become a threat to TRUSTlab business continuity.

Pandemic or Epidemic

Threat to Business Continuity: - A complete or partial shutdown of the local community, state, or country—such as the recent COVID-19 pandemic—poses a significant threat to TRUSTlab’s business continuity due to the heavy restrictions on essential resources required for pathology diagnostic services. This can compromise patient health by limiting access to medical services and an increasing the risk of delayed patient report release.

Business Continuity Measures: - In response to a new threat such as an epidemic or pandemic, a specific infection control procedure will be put in place in line with guidance from the state or Central Health Ministry. The details of the policy will be determined by the specific guidance that has been published and will be updated either monthly, or when there is a change in guidance. - In addition to the above, we maintain a stock of essential Personal Protection Equipment (PPE) and kits, similar to those used during COVID 19, as an immediate countermeasure while complying with the government guidelines. This ensures the safety and protection of our employees against potential viral threats and allow us to continue business as usual. - Internal amenities such as rest areas, food provisions, and shower facilities will be made available to accommodate employees who may need to stay on the premises for isolation, ensuring their well-being and minimizing exposure to the virus.

Information Technology Threat to Business Continuity - Loss of data, unable to access software and hardware, external hacking and restricted access to software and hardware, loss of internet connectivity, etc.

Threat to Business Continuity: - Short-term and long-term shortages of technical staff responsible for processing samples and unavailability of test report approving authority pose a threat to business continuity and result in delay’s release of patient report.

Business Continuity Measures: - TRUSTlab has employed experienced information technologists, including a network specialist, hardware specialist, and LIMS software specialist, to provide expert guidance on our IT infrastructure and security, as well as to manage all IT processes, ensuring the minimization of risks related to data breaches and IT failures. - Our Information and Technology Policy covers all areas of IT data security including: Laptop Security Network Security Electronic transfer of Data Backing up of Data Transfer of Patient Test Records - In the event of an internet failure at any of our locations, we have an internet back-up from an alternative internet service provider. Staff members can also temporarily use secure 4G connection from company mobile phones while awaiting restoration of the laboratory internet. We investigate the fault and coordinate with the broadband provider to restore the connection as quickly as possible. Additionally, issues with broadband speed are thoroughly investigated, and appropriate solutions are provided. - It is vital that laboratory staff, report approving authorities, patients, test requestor can access the LIMS Software to access patient information and to input their interpretation notes. In the event of LIMS software failure, we would contact our software provider to notify them of the problem and the technical team would work on diagnosing the issue and restoring the connection to the software as quickly as possible. In-house Medical experts are expected to record and save any clinical information securely, in paper format or on a word document until they can access the clinical software. Once the connection has been restored and information has been transferred to the clinical software, the paper/word document must be destroyed immediately. Any other software failure, such as Outlook, Zoom, Microsoft Teams, etc. would be dealt with by our IT support team. - In the event of a hardware failure, it will be transferred to our internal hardware specialist (use a secure courier service to transport the faulty device from other locations) for evaluation. A temporary laptop with the same security measures will be provided for use while awaiting the return of the device. If the laptop is irreparable, it will be securely destroyed and replaced with another device that maintains the same levels of security. For software issues, we can remotely log onto the laptop via a secure connection using TeamViewer to resolve the problem. Onsite Data Back-up Policy - Full backups of all TRUSTlab data are performed weekly. Full backups are retained for 3 months before being overwritten. - Incremental backups of all TRUSTlab data are performed daily. Incremental backups are retained for 1 month before being overwritten. - Where possible backups are run overnight and are completed before 7am on working days. - Upon completion of backups, data is replicated to cloud based storage. - Backups are stored in secure locations. A limited number of authorized IT personnel have access to the backup application and media copies. Offsite Data Back-up Policy - Where TRUSTlab data is held offsite as part of a cloud-based solution or software as a service there will be a contract or SLA in place stipulating that backup routines will equal or exceed the level defined for onsite data. - The supplier of offsite services must be contractually obliged to restore TRUSTlab data in the event of a disaster. SLAs should be defined for this activity in accordance with the needs of the commissioning service. - Our SLA with offsite data back-up service providers stipulates that backup data is stored across multiple servers and locations to ensure data security and redundancy. Data Restore - Data is available for restore within a few minutes of a backup job completing on the daily schedule. - Data will be available during the retention policy of each backup job – which is currently defined as 3 months. - Recent data is available from this system on completion of the daily backup jobs, which means that there is potential data loss during a working day on some systems. The IT systems at TRUSTlab have been specified to minimize data loss between backup windows by having elements of system redundancy. - Requests for data recovery should be submitted to the IT department. Data Access Security - TRUSTlab has implemented strong access control including: - User identification, - Authentication mechanisms, - Role based access controls, - Controlling who can access data, - Maintaining and regularly auditing access logs, - Secure data deletion by wiping data using industry-standard data destruction methods before disposing or destroying old hardware devices.