SOP – 013

PROCEDURE FOR

BLOOD UREA NITROGEN (BUN) TEST

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	7

7.	Type of Sample	8

8.	Type of Container & Additives	8

9.	Patient Preparation	8

10.	Equipment & Reagents	9

11.	Safety	9

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	9

15.	Interferences & Cross Reactions	9

16.	Result Calculation	9

17.	Biological Reference Interval	9

18.	Reportable Interval	10

19.	Procedure when Results are not in Range	10

20.	Critical Alert Values	10

21.	Laboratory Clinical Interpretation	10

22.	Potential Source of Variability	10

23.	References	10

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. K. Anusha Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | ADP | Adenosine Diphosphate |
| 2 | AMR | Analytical Measurement Range |
| 3 | BUN | Blood Urea Nitrogen |
| 4 | BC | Biochemistry |
| 5 | °C | Degree Centigrade |
| 6 | CM | Chylomicrons |
| 7 | CV | Coefficient of Variation |
| 8 | CRR | Clinical Reportable Range |
| 9 | EDTA | Ethylenediaminetetraacetic Acid |
| 10 | EQAS | External Quality Assurance Scheme |
| 11 | HOD | Head of Department |
| 12 | IFCC | International Federation for Clinical Chemistry |
| 13 | IQC | Internal Quality Control |
| 14 | LLOQ | Lower Limit of Quantitation |
| 15 | MSP | Management System Procedure |
| 16 | NADH | Nicotinamide Adenine Dinucleotide |
| 17 | N/A | Not Applicable/Available |
| 18 | QC | Quality Control |
| 19 | QM | Quality Manager |
| 20 | QNS | Quantity Not Sufficient |
| 21 | SD | Standard Deviation |
| 22 | SOP | Standard Operating Procedure |
| 23 | SST | Serum Separator Tube |
| 24 | TRF | Test Requisition Form |
| 25 | TDPL | TRUSTlab Diagnostics Private Limited |
| 26 | ULOQ | Upper Limit of Quantitation |

- Objective

- The purpose of this SOP is to describe the procedure for the quantitative estimation of Blood Urea Nitrogen (BUN) levels in serum samples using Beckman Coulter automated biochemistry analyser. This SOP also provides information about the test principle, clinical significance etc.

- Scope

- This procedure applies to all staff of the Biochemistry Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Biochemistry Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- Blood Urea Nitrogen (BUN) is a medical test that measures the amount of urea nitrogen in the blood. Urea is a waste product formed in the liver when the body metabolizes protein. The kidneys filter urea from the blood, and BUN levels can indicate whether the kidneys are functioning properly.

- Test Principle

At TRUSTlab BUN is a calculated value derived from the result of a Urea test.

Formula: BUN = Urea/2.14

- Specific Performance Characteristics

Limit of Quantitation:

      - LLOQ: 5 mg/dl

      - ULOQ: 300 mg/dl

Analytical measurement range (AMR): 5 - 300 mg/dl

Clinical Reportable Range (CRR): N/A

- Type of Sample

Only Serum 3 ml (A minimum of 2 ml)

Collect blood sample by venipuncture and separate plasma by centrifugation.

Sample Retention: Sample is retained for 24 hours at 2 – 8℃.

Sample Rejection Criteria:

      - Quantity not sufficient (QNS)

      - Sample received in wrong vacutainer

      - No TRF; Grossly incomplete TRF; Errors in labeling

      - Grossly haemolysed specimens

      - Highly lipemic specimens

      - Highly icteric specimens

      - Sample received beyond stability period

      - Incomplete TRF details or labelling errors are clarified with Customer/Doctor/ Patient before sample is accepted for processing. If critical information is still not obtained, the sample is rejected.

- Type of Container & Additives

SST - Yellow top Vacutainer

EDTA - Lavender top Vacutainer

Clot Activator – Red top Vacutainer

Heparin tube- Green top Vacutainer

- Patient Preparation

The phlebotomists should be courteous and compassionate towards the patients and their attendants. Ask the patient to sit comfortably. Maintain calmness and silence during blood drawing to avoid mistakes.

Check the patient’s identification; ask the patient for his or her full name, address, identification number, and/or date of birth.

No specific preparation is required.

- Equipment & Reagents

Equipment

- Beckman Coulter DxC 700 AU Chemistry Analyzer

Reagents

- As required for the estimation of Urea (since BUN is calculated from Urea value).

- Safety

For in vitro diagnostic use only.

Do not pipette by mouth.

Exercise the normal precautions required for handling laboratory reagents.

Exposed metal surfaces should be cleaned with 1% Sodium hypochlorite.

The reagents must be used only for the purpose intended by suitably qualified laboratory personnel, under appropriate laboratory conditions.

- Calibration Procedure

- As required for the estimation of Urea (since BUN is calculated from Urea value).

- Test Procedure

- As required for the estimation of Urea (since BUN is calculated from Urea value).

- Quality Control Procedure

- N/A.

- Interferences & Cross Reactions

- N/A.

- Result Calculation

- BUN = Urea/2.14

- Biological Reference Interval

- 6.0 - 20 mg/dl

- Reportable Interval

- N/A

- Procedure when Results are not in Range

Check the reagent lot and expiry.

Check the IQC status.

Find root cause for error.

Complete corrective action.

If methodology, IQC and Instrumental status are fine, then consult with Clinician for clinical significance.

If the doctor requests a rerun, the sample will be rerun using appropriate dilution methods.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

Protein and nucleic acid catabolism results in the formation of urea and ammonia. Urea is synthesized mainly in the liver and > 90%is excreted through the kidneys.

Urea is most widely used in the screening test for the evaluation of kidney function.

Along with serum creatinine, BUN levels aid in the differential diagnosis of prerenal, renal and postrenal hyperuricemia.

Urea concentration is increased in impaired kidney function, prerenal azotemia, postrenal azotemia and increased protein catabolism.

Urea concentration is decreased in Diuresis, severe liver damage, increased utilization of protein for synthesis, nephritic syndrome and inherited hyperammonemia.

- Potential Source of Variability

      - Lysed serum specimens may give falsely elevated values.

- References

      - Interpretations on Diagnostics Tests, 7th Edition, Jacques Wallach

      - Tietz. Textbook of Clinical Biochemistry and Molecular Diagnostics, 4th edition

      - Product insert of Urea, Beckman Coulter AU680 / AU 480 / DXC700

      - Procedure for Managing Internal QC Program (TDPL/QA/MAN-001: MSP-013)