SOP – 022

PROCEDURE FOR NON-HDL CHOLESTEROL (CALCULATED)TEST

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	7

7.	Type of Sample	8

8.	Type of Container & Additives	8

9.	Patient Preparation	8

10.	Equipment & Reagents	9

11.	Safety	9

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	9

15.	Interferences & Cross Reactions	9

16.	Result Calculation	9

17.	Biological Reference Interval	9

18.	Reportable Interval	9

19.	Procedure when Results are not in Range	10

20.	Critical Alert Values	10

21.	Laboratory Clinical Interpretation	10

22.	Potential Source of Variability	10

23.	References	10

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. K. Anusha Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AMR | Analytical Measurement Range |
| 2 | BC | Biochemistry |
| 3 | BCG | Bromocresol Green |
| 4 | °C | Degree Centigrade |
| 5 | CV | Coefficient of Variation |
| 6 | CRR | Clinical Reportable Range |
| 7 | EDTA | Ethylenediaminetetraacetic Acid |
| 8 | EQAS | External Quality Assurance Scheme |
| 9 | HDL | High-Density Lipoprotein |
| 10 | HOD | Head of Department |
| 11 | IQC | Internal Quality Control |
| 12 | LLOQ | Lower Limit of Quantitation |
| 13 | MSP | Management System Procedure |
| 14 | N/A | Not Applicable/Available |
| 15 | pH | Potential of Hydrogen |
| 16 | QC | Quality Control |
| 17 | QM | Quality Manager |
| 18 | QNS | Quantity Not Sufficient |
| 19 | SD | Standard Deviation |
| 20 | SOP | Standard Operating Procedure |
| 21 | SST | Serum Separator Tube |
| 22 | TRF | Test Requisition Form |
| 23 | TDPL | TRUSTlab Diagnostics Private Limited |
| 24 | ULOQ | Upper Limit of Quantitation |

- Objective

The purpose of this SOP is to describe the procedure for the quantitative estimation of calculated Non-HDL Cholesterol in serum and plasma samples using Beckman Coulter automated biochemistry analyzer. This SOP also gives information about the test principles, clinical significance, etc.

For calculating the Non-HDL Cholesterol, Total Cholesterol and HDL values are required to be estimated first.

- Scope

- This procedure applies to all staff of the Biochemistry Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Biochemistry Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- Non-HDL Cholesterol refers to the total cholesterol in your blood, minus the HDL (good) cholesterol. It's a measure of the "bad" cholesterol, including LDL, VLDL, and IDL. Lowering non-HDL cholesterol can help reduce the risk of heart disease.

- Test Principle

- Non-HDL Cholesterol is a value that is derived from the output results of the Total Cholesterol and HDL tests.

- Specific Performance Characteristics

Limit of Quantitation:

      - LLOQ: NA

      - ULOQ: NA

Analytical measurement range (AMR): NA

Clinical Reportable Range (CRR): NA

- Type of Sample

A minimum of 2ml of Serum/Plasma

Sample Retention: Sample is retained for 24 hours at 2 – 8℃.

Sample Rejection Criteria:

      - Quantity not sufficient (QNS)

      - Sample received in wrong vacutainer

      - No TRF/Grossly incomplete TRF/Errors in labeling

      - Grossly haemolysed specimens.

      - Highly lipemic specimens.

      - Highly icteric specimens.

      - Sample beyond stability period

      - Incomplete TRF details or labelling errors are clarified with PSC/ Doctor/ Patient before sample acceptance / processing. If critical information is still not obtained, the sample is rejected.

- Type of Container & Additives

SST - Yellow top Vacutainer

Clot activator - Red top Vacutainer

Heparin tube- Green top Vacutainer

- Patient Preparation

The phlebotomists should be courteous and compassionate towards the patients and their attendants. Ask the patient to sit comfortably. Maintain calmness and silence during blood drawing to avoid mistakes.

Check the patient’s identification; ask the patient for his or her full name, address, identification number, and/or date of birth.

8-12 hours of overnight fasting is required.

- Equipment & Reagents

Equipment

- As required for the tests to estimate Total Cholesterol and HDL.

Reagents

- As required for the tests to estimate Total Cholesterol and HDL.

- Safety

For in vitro diagnostic use only. Do not pipette by mouth. Exercise the normal precautions required for handling laboratory reagents.

Exposed metal surfaces should be cleaned with 1% Sodium hypochlorite.

The reagents must be used only for the purpose intended by suitably qualified laboratory personnel, under appropriate laboratory conditions.

- Calibration Procedure

- N/A.

- Test Procedure

- N/A.

- Quality Control Procedure

Internal Quality Control

- As per the IQC for Total Cholesterol and HDL.

External Quality Control

- EQAS participation – As per the IQC for Total Cholesterol and HDL - CMC EQAS

- Interferences & Cross Reactions

N/A.

- Result Calculation

- Non-HDL Cholesterol = Total Cholesterol - HDL Cholesterol

- Biological Reference Interval

| Interpretation | Range (mg/dl) |
| --- | --- |
| Optimal | < 130 |
| Above Optimal | 130 – 159 |
| Borderline High | 160 – 189 |
| High | 190 – 219 |
| Very High | ≥ 220 |

- Reportable Interval

Analytical Measurement Range (AMR): N/A

Clinical Reportable Range (CRR): N/A

- Procedure when Results are not in Range

- N/A.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

Gives a better assessment risk of predicting heart disease than measuring only LDL.

- Potential Source of Variability

      - Lysed serum specimens may give falsely elevated values.

      - If the reagents are turbid DO NOT USE, as it indicates contamination of the reagent.

      - Strong lipemic and haemolytic sera should not be used.

- References

      - Interpretations on Diagnostics Tests, 7th Edition, Jacques Wallach.

      - Tietz. Textbook of Clinical Biochemistry and Molecular Diagnostics, 4th edition.

      - Product insert of Total Cholesterol and HDL Cholesterol, Beckman Coulter AU680 / AU 480 / DXC 700.