SOP – 033

PROCEDURE FOR GLOBULIN TEST

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	4

RECORD OF AMENDMENTS	5

DISTRIBUTION LIST	6

LIST OF ABBREVIATIONS	7

1.	Objective	8

2.	Scope	8

3.	Responsibilities	8

4.	Definition	8

5.	Test Principle	8

6.	Specific Performance Characteristics	8

7.	Type of Sample	9

8.	Type of Container & Additives	9

9.	Patient Preparation	9

10.	Equipment & Reagents	9

11.	Safety	10

12.	Calibration Procedure	10

13.	Test Procedure	10

14.	Quality Control Procedure	10

15.	Interferences & Cross Reactions	10

16.	Result Calculation	10

17.	Biological Reference Interval	10

18.	Reportable Interval	11

19.	Procedure when Results are not in Range	11

20.	Critical Alert Values	11

21.	Laboratory Clinical Interpretation	11

22.	Potential Source of Variability	11

23.	References	11

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. K. Anusha Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AMR | Analytical Measurement Range |
| 2 | BC | Biochemistry |
| 3 | BCG | Bromocresol Green |
| 4 | °C | Degree Centigrade |
| 5 | CV | Coefficient of Variation |
| 6 | CRR | Clinical Reportable Range |
| 7 | EDTA | Ethylenediaminetetraacetic Acid |
| 8 | EQAS | External Quality Assurance Scheme |
| 9 | HOD | Head of Department |
| 10 | IQC | Internal Quality Control |
| 11 | LLOQ | Lower Limit of Quantitation |
| 12 | MSP | Management System Procedure |
| 13 | N/A | Not Applicable/Available |
| 14 | pH | Potential of Hydrogen |
| 15 | QC | Quality Control |
| 16 | QM | Quality Manager |
| 17 | QNS | Quantity Not Sufficient |
| 18 | SD | Standard Deviation |
| 19 | SOP | Standard Operating Procedure |
| 20 | SST | Serum Separator Tube |
| 21 | TRF | Test Requisition Form |
| 22 | TDPL | TRUSTlab Diagnostics Private Limited |
| 23 | ULOQ | Upper Limit of Quantitation |

- Objective

The purpose of this SOP is to describe the procedure for the quantitative estimation of calculated Globulin in serum and plasma samples using Beckman Coulter automated biochemistry analyzer. This SOP gives information about calculated Albumin / Globulin Ratio estimation, clinical significance.

For calculating Serum Globulin, Total Protein and Serum Albumin values are required to be estimated first.

- Scope

- This procedure applies to all staff of the Biochemistry Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Biochemistry Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- Globulins are a group of proteins found in the blood, playing crucial roles in various bodily functions, particularly in the immune system and maintaining overall health. They are a major component of blood proteins, alongside albumin.

- Test Principle

- The Globulin estimate is a value that is derived from the output results of the Albumin and Total Protein tests.

- Specific Performance Characteristics

Limit of Quantitation:

      - LLOQ: N/A

      - ULOQ: N/A

Analytical measurement range (AMR): N/A

Clinical Reportable Range (CRR): N/A

- Type of Sample

A minimum of 2 ml of Serum/Plasma

Sample Retention: Sample is retained for 24 hours at 2 – 8℃.

Sample Rejection Criteria:

      - Quantity not sufficient (QNS)

      - Collection in wrong vacutainer

      - No TRF/Grossly incomplete TRF/Errors in labeling

      - Grossly haemolysed specimens.

      - Highly lipemic specimens.

      - Highly icteric specimens.

      - Sample beyond stability period

      - Incomplete TRF details or labelling errors are clarified with PSC/ Doctor/ Patient before sample acceptance / processing. If critical information is still not obtained, the sample is rejected

- Type of Container & Additives

SST - Yellow top Vacutainer

Clot activator - Red top Vacutainer

Heparin tube- Green top Vacutainer

- Patient Preparation

The phlebotomists should be courteous and compassionate towards the patients and their attendants. Ask the patient to sit comfortably. Maintain calmness and silence during blood drawing to avoid mistakes.

Check the patient’s identification; ask the patient for his or her full name, address, identification number, and/or date of birth.

No other specific preparation required.

- Equipment & Reagents

Equipment

- As required for the tests to estimate Albumin and Total Protein.

Reagents

- As required for the tests to estimate Albumin and Total Protein.

- Safety

For in vitro diagnostic use only. Do not pipette by mouth. Exercise the normal precautions required for handling laboratory reagents.

Exposed metal surfaces should be cleaned with 10% Sodium hypochlorite.

The reagents must be used only for the purpose intended by suitably qualified laboratory personnel, under appropriate laboratory conditions.

- Calibration Procedure

- N/A.

- Test Procedure

- N/A.

- Quality Control Procedure

Internal Quality Control

- As per the IQC for Albumin and Total Protein

External Quality Control

- EQAS participation – As per the IQC for Albumin and Total Protein - CMC EQAS

- Interferences & Cross Reactions

N/A.

- Result Calculation

For Serum Globulin determination, Total Protein and Serum Albumin values are required.

Indirect measurement of Globulin is done by using the simple equation:

- Serum Globulin (g/dl) = Total Protein (g/dl) – Serum Albumin (g/dl)

- Biological Reference Interval

- 2.0-3.5 g/dl

- Reportable Interval

Analytical Measurement Range (AMR): N/A

Clinical Reportable Range (CRR): N/A

- Procedure when Results are not in Range

- N/A.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

Low globulin levels can be a sign of liver or kidney disease. High levels may indicate infection, inflammatory disease or immune disorders. High globulin levels may also indicate certain types of cancer, such as multiple myeloma, Hodgkin's disease, or malignant lymphoma. However, abnormal results may be due to certain medications, dehydration, or other factors.

To completely understand your results, it is advised to consult your health care provider.

- Potential Source of Variability

      - Lysed serum specimens may give falsely elevated values.

      - If the reagents are turbid, DO NOT USE as it indicates contamination of the reagent.

      - Strong lipemic and haemolytic sera should not be used.

- References

      - Interpretations on Diagnostics Tests, 7th Edition, Jacques Wallach.

      - Tietz. Textbook of Clinical Biochemistry and Molecular Diagnostics, 4th edition.

      - Product insert of Globulin, Beckman Coulter AU680 / AU 480 / DXC 700.