SOP – 039

PROCEDURE FOR

IRON SATURATION TEST

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	7

7.	Type of Sample	8

8.	Type of Container & Additives	8

9.	Patient Preparation	8

10.	Equipment & Reagents	9

11.	Safety	9

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	9

15.	Interferences & Cross Reactions	9

16.	Result Calculation	9

17.	Biological Reference Interval	10

18.	Reportable Interval	10

19.	Procedure when Results are not in Range	10

20.	Critical Alert Values	10

21.	Laboratory Clinical Interpretation	10

22.	Potential Source of Variability	10

23.	References	10

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. K. Anusha Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AMR | Analytical Measurement Range |
| 2 | BC | Biochemistry |
| 3 | °C | Degree Centigrade |
| 4 | CV | Coefficient of Variation |
| 5 | CRR | Clinical Reportable Range |
| 6 | EQAS | External Quality Assurance Scheme |
| 7 | HOD | Head of Department |
| 8 | IFCC | International Federation for Clinical Chemistry |
| 9 | IQC | Internal Quality Control |
| 10 | LLOQ | Lower Limit of Quantitation |
| 11 | MSP | Management System Procedure |
| 12 | N/A | Not Applicable/Available |
| 13 | pH | Potential of Hydrogen |
| 14 | QC | Quality Control |
| 15 | QM | Quality Manager |
| 16 | QNS | Quantity Not Sufficient |
| 17 | SD | Standard Deviation |
| 18 | SOP | Standard Operating Procedure |
| 19 | SST | Serum Separator Tube |
| 20 | TPTZ | 2,4,6-Tri-(2-pyridyl)-5-triazine |
| 21 | TRF | Test Requisition Form |
| 22 | TDPL | TRUSTlab Diagnostics Private Limited |
| 23 | ULOQ | Upper Limit of Quantitation |

- Objective

- The purpose of this SOP is to describe the procedure for the quantitative estimation of Iron Saturation level in serum samples using Beckman Coulter automated biochemistry analyser. This SOP also provides information about the test principle, clinical significance etc.

- Scope

- This procedure applies to all staff of the Biochemistry Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Biochemistry Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- Iron saturation, often referred to as transferrin saturation, is a medical term that indicates how much iron is bound to transferrin, the main protein that carries iron in the blood. It's a key indicator of iron status in the body, helping to assess whether someone has iron deficiency or iron overload.

- Test Principle

- Iron Saturation is a calculated value derived from the test results of Iron and Unsaturated Iron Binding Capacity (UIBC) tests. Hence, refer to the respective SOPs – TDPL/BC/SOP-038 and TDPL/BC/SOP-041, for the relevant test principles.

- Specific Performance Characteristics

- As mentioned in the SOPs for Iron and UIBC

- Type of Sample

Only Serum samples are accepted.

Collect 3 ml /2 ml of venous blood, following universally accepted procedure of venipuncture.

Allow the tubes to stand for 30 minutes.

Then, separate the serum/plasma by centrifugation at 3500 rpm for 5-10 minutes.

Sample Retention: Sample is retained for 24 hours at 2 – 8℃.

Sample Rejection Criteria:

      - Quantity not sufficient (QNS)

      - Sample received in wrong vacutainer

      - No TRF; Grossly incomplete TRF; Errors in labeling

      - Grossly haemolysed specimens

      - Highly lipemic specimens

      - Highly icteric specimens

      - Sample received beyond stability period

      - Incomplete TRF details or labelling errors are clarified with Customer/Doctor/ Patient before sample is accepted for processing. If critical information is still not obtained, the sample is rejected.

- Type of Container & Additives

SST - Yellow top Vacutainer

Clot activator - Red top Vacutainer

- Patient Preparation

The phlebotomists should be courteous and compassionate towards the patients and their attendants. Ask the patient to sit comfortably. Maintain calmness and silence during blood drawing to avoid mistakes.

Check the patient’s identification; ask the patient for his or her full name, address, identification number, and/or date of birth.

No specific preparation is required.

- Equipment & Reagents

Equipment

- Beckman Coulter DxC 700 AU Chemistry Analyzer

Reagents

- As per the requirements for Iron and UIBC tests.

- Safety

For in vitro diagnostic use only. Do not pipette by mouth. Exercise the normal precautions required for handling laboratory reagents.

Exposed metal surfaces should be cleaned with 1% Sodium hypochlorite.

The reagents must be used only for the purpose intended by suitably qualified laboratory personnel, under appropriate laboratory conditions.

- Calibration Procedure

- As per the requirements for Iron and UIBC tests.

- Test Procedure

- As per the procedure for Iron and UIBC tests.

- Quality Control Procedure

Internal Quality Control

- As per the procedure for Iron and UIBC tests.

External Quality Control

- As per EQAS for Iron and UIBC tests.

- Interferences & Cross Reactions

- N/A.

- Result Calculation

- Formula:

- Iron Saturation (%) = (Iron/TIBC) X 100

- Where,

- TIBC = Iron + UIBC

- Biological Reference Interval

| Age | Range (%) |
| --- | --- |
|  | 25 – 35 |

- Reportable Interval

- N/A.

- Procedure when Results are not in Range

N/A.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

- N/A.

- Potential Source of Variability

- Lysed serum specimens may give falsely elevated values.

- References

      - Interpretations on Diagnostics Tests, 7th Edition, Jacques Wallach.

      - Tietz. Textbook of Clinical Biochemistry and Molecular Diagnostics, 4th edition.

      - Product insert of Iron and UIBC, Beckman Coulter AU680 / AU 480 / DXC700.

      - Procedure for Managing Internal QC Program (TDPL/QA/MAN-001: MSP-013).