SOP – 063

PROCEDURE FOR

SAMPLE REJECTION CRITERIA

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Procedure	7

5.	Criteria for Sample Rejection	7

6.	References	8

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. K. Anusha Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | BC | Biochemistry |
| 2 | CV | Coefficient of Variation |
| 3 | ID | Identification |
| 4 | MSP | Management System Procedure |
| 5 | QC | Quality Control |
| 6 | QM | Quality Manager |
| 7 | QNS | Quantity Not Sufficient |
| 8 | SOP | Standard Operating Procedure |
| 9 | TRF | Test Requisition Form |
| 10 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- The purpose of this SOP is to is to provide guidelines for the technical staff regarding pre-analytical analysis of sample (Whole-Blood, Urine, Serum, Plasma & Body fluids) when received.

- Scope

- This procedure applies to all staff of the Biochemistry Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Biochemistry Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Procedure

Clotted samples must be rejected and may not be analyzed under any conditions.

Samples with mild lipemia or mild hemolysis should be handled with caution and evaluated carefully. Specimens with marked hemolysis should be rejected. Special handling may be required for markedly lipemic samples.

- Criteria for Sample Rejection

Samples, which are clotted or samples containing foreign materials and visible fibrin threads.

Samples without an ID/ not accompanied by Requisition Form.

Samples collected in improper vacutainer tubes.

Wrong specimen type (Example: serum instead of whole blood)

Gross lipemia that interferes with test interpretation.

Specimens that have not been properly transported and handled

Inadequate sample volume

Haemolysed sample

Delayed transportation

Broken or leaking sample tube

Not received in proper temperature condition.

After identification of the any above criteria, during sample processing, first inform to concern person in the collection area and record the details in the Sample Rejection Form (TDPL/GE/FOM-003).

- References

- N/A