SOP – 010

PROCEDURE FOR

ERYTHROCYTE SEDIMENTATION RATE

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	8

7.	Type of Sample	8

8.	Type of Container & Additives	8

9.	Patient Preparation	9

10.	Equipment & Reagents	9

11.	Safety	9

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	10

15.	Interferences & Cross Reactions	10

16.	Result Calculation	10

17.	Biological Reference Interval	10

18.	Reportable Interval	11

19.	Procedure when Results are not in Range	11

20.	Critical Alert Values	11

21.	Laboratory Clinical Interpretation	11

22.	Potential Source of Variability	12

23.	References	12

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Abdul Aleem Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | °C | Degree Centigrade |
| 2 | EDTA | Ethylenediamine Tetra-acetic Acid |
| 3 | EQAS | External Quality Assurance Scheme |
| 4 | ESR | Erythrocyte Sedimentation Rate |
| 5 | HOD | Head of Department |
| 6 | HM | Haematology |
| 7 | INR | International Normalized Ratio |
| 8 | IQC | Internal Quality Control |
| 9 | ISI | International Sensitivity Index of the reagent |
| 10 | MSP | Management System Procedure |
| 11 | N/A | Not Applicable/Available |
| 12 | QC | Quality Control |
| 13 | QM | Quality Manager |
| 14 | QNS | Quantity Not Sufficient |
| 15 | rpm | Revolutions per minute |
| 16 | SOP | Standard Operating Procedure |
| 17 | TRF | Test Requisition Form |
| 18 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- The purpose of this SOP is to describe the procedure for performing the Erythrocyte Sedimentation Rate test. This SOP also provides information about the test principle, clinical significance and other details.

- Scope

- This procedure applies to all staff of the Haematology Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Haematology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- ESR stands for Erythrocyte Sedimentation Rate. It's a blood test that measures how quickly red blood cells settle in a test tube. This rate is indirectly linked to the level of inflammation in the body. A faster sedimentation rate indicates higher levels of inflammation.

- Test Principle

The principle of ESR is based on the fact that when well-mixed venous blood is placed in a vertical tube, the red blood cells (RBCs) will settle out of the plasma and fall towards the bottom of the tube and the pale-yellow liquid (plasma) rises to the top. After 60 minutes, measurements are taken of the distance the red cells travelled to settle at the bottom of the tube.

The length of the fall of the top of the column of red blood cells in a given interval of time is the erythrocyte sedimentation rate - ESR.

The recommended Westergren sedimentation tube is made from either glass or plastic, has a length of about 30 cm and a bore of 2.5 mm.

Disposable plastic tubes are available.

Stages of ESR: There are four stages in the process of erythrocyte sedimentation. They include the following:

      - Stage of rouleaux formation.

      - Stage of aggregation.

      - Stage of sedimentation.

      - Stage of packing

Method: Sedimentation

- Specific Performance Characteristics

- Analytical Measurement Range (AMR): 0-150 mm/hr

- Type of Sample

3 ml Whole Blood

Sample Retention: Sample is retained for 24 hours at 2 – 8℃.

Sample Rejection Criteria:

      - Quantity not sufficient (QNS)

      - Sample received in wrong vacutainer

      - No TRF; Grossly incomplete TRF; Errors in labeling

      - Grossly haemolysed specimens

      - Highly lipemic specimens

      - Highly icteric specimens

      - Sample received beyond stability period

      - Incomplete TRF details or labelling errors are clarified with Customer/Doctor/ Patient before sample is accepted for processing. If critical information is still not obtained, the sample is rejected.

- Type of Container & Additives

K2 EDTA Vacutainer

3.8% Sodium Citrate Vacutainer

- Patient Preparation

No special preparation.

- Equipment & Reagents

Equipment

      - Disposable plastic ESR tubes

      - ESR Stand

Reagents

- N/A.

- Safety

Handle all samples as potentially infectious.

Handle all reagents with care and avoid contact with eye, mouth and skin.

Do not perform mouth pipetting.

Discard used reagents and samples as per disposal procedure.

- Calibration Procedure

- N/A.

- Test Procedure

Precautions:

      - The test should be protected from direct sunlight.

      - It should never be set up on a bench where there is vibration, e.g. from a centrifuge.

      - Initially, check for any blood clot in the sample. There should be no blood clot in the sample.

      - For the test, four volumes of Whole blood are added to 1 volume of sodium citrate solution (3.8% w/v) and immediately well mixed with it. The mixture is taken up in a Westergren tube.

      - Fill the anticoagulated blood in the Westergren tube, till the 0.0 mark. There should be no air bubbles in the column of the blood.

      - Place the tube vertically. The ESR tube should be absolutely vertical in the stand.

      - At the end of one hour, take the reading of the level of the top of the RBC (Red blood cell) column. This reading in “mm” corresponds to the ESR.

      - For EDTA sample, calculation of results is needed as given below.

Procedure

      - The Westergren method requires collecting 2 ml of venous blood into a tube containing 0.5 ml of sodium citrate.

      - It should be stored no longer than 2 hours at room temperature or 6 hours at 4°C.

      - The blood is drawn into a Westergren tube up to the 200 mm mark.

      - The tube is placed in a rack stand in a strictly vertical position for 1 hour at room temperature (18-25°C), at which time the distance from the lowest point of the surface meniscus to the upper limit of the red cell sediment is measured.

      - The distance of fall of erythrocytes, expressed in millimetres per hour, is ESR.

- Quality Control Procedure

Internal Quality Control

- As an internal quality control procedure, one sample is run in duplicate every day and monthly %CV calculated. If any deviation is observed, necessary corrective action is taken.

External Quality Control

- N/A.

- Interferences & Cross Reactions

- N/A.

- Result Calculation

- For Diluted or EDTA samples the following formula is used:

- Corrected ESR (mm in 1 hour) = (Diluted or EDTA ESR X 0.86)-12

- Biological Reference Interval

| Age(years) | 95% Upper limit (mm in 1 hr at 20±3°C) |
| --- | --- |
| Male |  |
| 0-16 | 0-15 |
| 17-50 | 10 or < |
| 51-60 | 12 or < |
| 61-70 | 14 or < |
| > 70 | 30 or < |
| Female |  |
| 0-16 | 0-25 |
| 17-50 | 12 or < |
| 51-60 | 19 or < |
| 61-70 | 20 or < |
| > 70 | 35 or < |
| Pregnancy |  |
| First half | 48 (62 if anaemic) |
| Second half | 70 (95 if anaemic) |

- Reportable Interval

- N/A.

- Procedure when Results are not in Range

- N/A.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

      - ESR is indicated in diagnosis and therapeutic monitoring of temporal arthritis and polymyalgia rheumatica.

      - ESR may be helpful in resolving conflicting clinical evidence in patients with rheumatoid arthritis and with the evaluation and management of patients with specific autoimmune inflammatory or infectious disorders (e.g. pelvic inflammatory disease, bacterial endocarditis, septic arthritis and osteomyelitis).

      - In rheumatoid arthritis and tuberculosis, it provides an index of progress of the disease.

      - An elevated ESR occurs as an early feature in myocardial infarction.

- Potential Source of Variability

Incorrect proportion of anticoagulant.

Incorrect type of anticoagulant.

Hemolysed sample.

Contaminated sedimentation tubes.

Tubes tilted during sedimentation.

A test set up near central heating or direct sunshine.

Failure to read exactly at the end of one hour.

A test set up adjacent to a centrifuge.

- References

      - Practical Hematology, J. Dacie and M. Lewis, Tenth edition, 2006. Page No 595-600.

      - Procedure for Managing Internal QC Program (TDPL/QA/MAN-001: MSP-013).