SOP – 006

PROCEDURE FOR

GROSSING

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Principle	7

6.	Specific Performance Characteristics	8

7.	Type of Sample	8

8.	Type of Container & Additives	9

9.	Patient Preparation	9

10.	Equipment & Reagents	9

11.	Safety	10

12.	Calibration	10

13.	Procedure	10

14.	Quality Control Procedure	46

15.	Interferences & Cross Reactions	46

16.	Result Calculation	47

17.	Biological Reference Interval	47

18.	Reportable Interval	47

19.	Troubleshooting	47

20.	Critical Alert Values	47

21.	Laboratory Clinical Interpretation	47

22.	Potential Source of Variability	47

23.	References	47

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Abdul Aleem Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AMR | Analytical Measurement Range |
| 2 | °C | Degree Centigrade |
| 3 | CBD | Common Bile Duct |
| 4 | CRR | Clinical Reportable Range |
| 5 | DW | Distilled water |
| 6 | EQAS | External Quality Assurance Scheme |
| 7 | HOD | Head of Department |
| 8 | HPE | Histopathological Examination |
| 9 | IQC | Internal Quality Control |
| 10 | LOD | Limit of Detection |
| 11 | LOQ | Limit of Quantitation |
| 12 | Lt | Left |
| 13 | MSP | Management System Procedure |
| 14 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 15 | NBF | Neutral Buffered Formalin |
| 16 | N/A | Not Applicable/Available |
| 17 | PAS | Periodic Acid Schiff |
| 18 | pH | Potential of Hydrogen |
| 19 | QC | Quality Control |
| 20 | QM | Quality Manager |
| 21 | Rt | Right |
| 22 | SOP | Standard Operating Procedure |
| 23 | TRF | Test Requisition Form |
| 24 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

This SOP describes the manual method of dissection of surgical specimens (biopsies and large resected specimens), description of gross morphology and selection of representative sections, which can then be processed and subsequently viewed through the microscope for diagnostic purposes.

- Scope

- This procedure applies to all staff of the Histopathology Department of TRUSTlab, tasked with the duty of performing tests involving these procedures.

- Responsibilities

It is the responsibility of the technicians of the Histopathology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

Any other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definitions

Grossing: This term refers to the initial macroscopic examination and dissection of surgical or biopsy specimens. It involves visually inspecting the tissue, describing its characteristics (size, shape, color, etc.), and sectioning it for microscopic analysis. Essentially, it's the first step in preparing tissue for pathological evaluation.

Embedding Cassette/Capsule: Terms used inter-changeably to refer to a small, durable container, typically made of plastic or stainless steel, used in histology to hold tissue specimens during processing, embedding, and storage. These cassettes are designed to facilitate fluid exchange, prevent specimen loss, and allow for easy identification and labeling.

- Principle

- Based on the knowledge of surgical anatomy, grossing of the surgical specimens is done in the pathology department for taking adequate-sized sections so that they can be processed, embedded in paraffin and cut into thin sections which are then examined under the microscope to help reach a diagnosis of a disease.

- Specific Performance Characteristics

Uncertainty of measurement: NA

Accuracy: NA

Limit of quantitation (LOQ): NA

Limit of detection (LOD): NA

Analytical measurement range (AMR): NA

Clinical reportable range (CRR): NA

Sensitivity: NA

Specificity: NA

- Type of Sample

Surgical Specimen.

Handling at Primary Sample Collection:

    - Transfer the surgical specimen to 10 % neutral formalin immediately after its removal from the patient.

    - The volume of the formalin should be at least ten-twenty times the sample volume.

    - If there is delay in transfer of the specimen to formalin, then keep the specimen in a refrigerator and later transfer to formalin.

    - Place the specimen with the formalin in an adequate sized plastic jars preferably with wide mouths.

    - Seal the mouth of the jars with the sticking tape or any adhesives.

    - Label the specimen container with the name of patient, ID` number, specimen type, referring consultant on the jar.

    - Transport the sealed specimen jar/container from the collection site to the laboratory for grossing and further processing.

Special Precautions:

    - For larger specimens, bisect the specimen in anatomical plane parallel to the largest diameter and place in formalin.

    - For specimens with abundant blood, bisect the specimen in anatomical planes parallel to the largest diameter, wash gently under tap water and then transfer to formalin.

    - Do not open the orchiectomy, nephrectomy, colon resections and esophagectomy specimens in the absence of pathologist guidance

Sample Stability: N/A

Sample Retention: 30 days

Sample Rejection Criteria:

      - Autolysed tissue.

- Type of Container & Additives

- Sealed jars or containers with 10% formalin.

- Patient Preparation

N/A.

- Equipment & Reagents

Equipment

- N/A.

Reagents

      - 10% buffered Neutral Formalin

Reagent Storage Condition Stability

      - Formalin is stable at Room Temperature until the expiry date mentioned on its package.

Additional Requirements

      - Grossing Board

      - BP Handle with Scalpel Blade

      - Used Microtome Blades

      - Stainless Steel Knife

      - Straight Scissors (Small & Big)

      - Plain and Toothed Forceps

      - Measuring Scale

      - Plastic Tissue Capsules, Jars/Containers with Formalin

      - Absorbent Cotton

      - Plain Paper

      - Filter Paper

      - Writing Board

      - Pencil

      - Waterproof Ink

      - Brush

      - Pens

- Safety

- Safety precautions as mentioned in this SOP should be followed.

All tissues and chemicals should be treated as potentially biologically hazardous.

While handling tissues and the various chemicals, the universal safety precautions mentioned in TRUSTlab’s Laboratory Safety Manual (TDPL/QA/MAN-004) must be observed.

- Calibration

Calibration Schedule

- N/A.

- Procedure

General Pre-Procedure/Information

    - Check the patient details, source of specimen and number of specimens on the TRF and the specimen containers. At least two identifiers on containers should match the data on the TRF.

    - Enter the patient details, source and type of specimen into the logbook Histopathology Work Sheet Form (TDPL/HP/FOM-001), and give a unique serial histopathology number (Biopsy No.) and any additional material like radiographs, doctor`s prescription etc.

    - The details are entered into LIMS during “Department Receive”.

    - Keep the TRFs and the specimens in the same order.

    - All the TRFs and doctor prescriptions are screened by the pathologist on duty.

    - Before proceeding to grossing, cross-verify the Patient Name and Barcode Number on the TRF and the specimen again.

    - Activities of personnel assisting in grossing:

      - Arranging of grossing area, with additional requirements (refer clause 10.4).

      - 10% neutral buffered formalin is prepared as required. The lab technician enters the following data in the Histopathology Work Sheet (TDPL/HP/FOM-001) including unique histopathology ID number (Biopsy No.), date of receipt of specimen and date of grossing.

      - Any sections or specimen left for decalcification should be mentioned in the above Form. The same specimen shall be checked periodically for softening and should be brought forward for grossing as appropriate. Sections are taken from decal specimen, and the remaining specimen is washed with tap water and reverted back to the container with NBF.

      - Any specimen which needs prolonged fixation shall be sliced appropriately and preserved further with a change of formalin. The same specimen shall be brought forward to the pathologist in the next grossing schedule.

      - All relevant data with regards to grossing, including biopsy numbers, number and site of sections taken, left for fixation or decalcification status should be entered.

    - The Pathologist does the grossing, and a lab technician records all the findings (gross notes), as dictated, on the printed barcode-specific LIMS-generated Histo Worksheet.

Procedure for Grossing Small Specimens (1-2 Blocks)

    - Open the container; pour all the contents onto an adequate-sized filter-paper placed on the grossing board or in a petri dish. Every effort should be made to check for any tissue bits adherent to the cap and side walls of the container and add them onto the filter-paper.

    - Cut a filter paper into squares approximately 5x5 cm size. Transfer all the biopsy tissue bits, from the grossing board on to the filter-paper squares, gently with forceps.

    - Describe all the biopsies with respect to the number of bits, size, color, and consistency. This description is typically dictated by the pathologist, and the technician writes the details in the “GROSS” section of the Histo worksheet.

    - Add a few drops of eosin to biopsies < 0.5 mm in maximum dimension for easy identification of the tissue at embedding.

    - Fold the filter paper cutting so that it fits properly in the plastic cassettes.

    - Open the plastic cassettes and place the folded filter paper with the biopsy into them and label it with the unique histopathology number inscribed with a pencil on a small paper.

    - If the number of cassettes is more than one for a particular specimen, then they are labelled with the alphabets A, B, C and so on. E.g. 1213/A/25, 1213/B/25, 1213/C/25 (1213 – Biopsy No.; A - letter indicating sequence when more than one cassette; 25 – year of sample receipt).

    - Record the unique Biopsy No. and total bits on the worksheet for accountability of the number of sections given.

    - Place the cassettes in the beaker filled with 10% buffered neutral formalin.

Procedure for Grossing Medium-sized Specimens (3-5 Blocks)

    - Describe the specimen with respect to the size, external surface, and continuity of the cassette in encapsulated specimens, color and consistency.

    - Bisect the specimen; describe the cut surface with respect to color, surface, consistency, presence of any cysts, homogenous or heterogeneous in appearance.

    - Document all these findings on the LIMS generated Histo Work sheet (printout).

    - Serially slice the two halves of the specimens. Optimum thickness of the slices is 5-10 mm so that the fixation is proper.

    - Document any variation in appearance on serial sectioning.

    - In homogenous specimens, take 2-3 sections from the slices. The size of the section should not exceed 2x2x0.3 (cm) in size. The size of the section is decided by the size of the capsule used to hold the tissue.

    - The sections are inked on the external surface with the black Indian ink and brush.

    - Place the sections into the cassette and number them with the histopathology number and letter.

    - Close the capsules and place them in the formalin beaker.

    - Document the sections on the Histo Work Sheet and mention whether the entire specimen is embedded or partly embedded.

    - Write the series of letters used for the section on the work sheet.

Procedure For Grossing Different Organs

    - GALL BLADDER

      - Open the entire organ longitudinally as soon as feasible after excision; otherwise, the mucosa will quickly undergo autolytic changes.

      - If stones are present, estimate the number and the size of the largest.

      - Search for lymph nodes along the bladder neck.

      - In cases of carcinoma the organ also can be studied by extracting the bile with a syringe, filling the lumen with formalin, fixing overnight at 4°C, and cutting the specimen with scissors and a scalpel.

      - Description required of:

        - Length and greatest diameter of gallbladder

        - Serosa

        - Wall

        - Mucosa

        - Cystic duct

        - Stones

        - Presence of tumor

      - Sections For Histology:

        - Three sections including entire wall - one from the fundus, one from the body, and one from the neck.

        - In case of suspected carcinoma in situ the organ can be studied by embedding the entire specimen by   the Swiss roll method.

        - Cystic duct and lymph nodes, if they appear grossly abnormal or if the gallbladder contains a tumor.

    - APPENDIX

      - Measure organ (length and greatest diameter).

      - Divide specimen in two by cutting a cross-section 2 cm from tip.

      - Cut cross-sections of proximal fragment at 5 –mm intervals.

      - Divide distal fragment into two by a longitudinal cut.

      - Description required of:

        - Length and greatest diameter

        - External surface

        - Wall

        - Mucosa

        - Lumen

      - Sections of Histology:

        - Proximal one-third, close to surgical margin: One cross-section. If tumor is present in the specimen, additional section from it.

        - Mid one-third: one cross – section.

        - Distal one-third: one longitudinal section.

    - Uterus With Cervix with or without Adenexa (Hysterectomy General)

      - Measure and weigh the specimen.

      - If the uterus is received fresh and intact:

        - Place it in an anatomical position and open antero-posteriorly by cutting with scissors through both lateral walls, from the cervix to the uterine cornua. Mark as to which half is anterior (e.g.by cutting a small wedge on one side) and, if the tubes are attached, by the fact that their insertion is anterior to that of the round ligament.

        - Make additional cuts through any large mass in the wall.

        - Fix for several hours or overnight.

        - Make parallel transverse sections through each half, about 1 cm apart, beginning at the upper level of the endocervical canal and stopping short of completing them on one side to keep them together, and examine carefully each surface.

        - Make several sections of the cervix along the endocervical canal.

        - Make at least one cross section of every myoma present and examine carefully; larger myomas need additional cuts.

        - If tubes and/or ovary accompanies the specimen, follow instructions for the respective organs.

      - Description required of:

        - Type of hysterectomy : Abdominal/Vaginal/lAVH

        - Shape of uterus: Deformed? Subserosal bulges?

        - Serosa: fibrous adhesions

        - Wall: thickness, abnormalities.

        - Endometrium: appearance; thickness; polyps (size, shape); cysts

        - Cervix: appearance of exocervix, squamocolumnar junction, endocervical canal; erosions, Polyps,Cysts,

        - Myomas : number, location (subserosal, intramural, submucosal); size; sessile or pedunculated, Hemorrhage, necrosis, or calcification, Ulceration of overlying endometrium.

      - Sections for histology:

        - Cervix: one section from anterior half and one from posterior half.

        - Corpus: at least two sections taken close to fundus and including endometrium, good portion of myometrium, and, if thickness permits, serosa; additional sections from any grossly abnormal area.

        - Myomas: at least one section per myoma, up to three; sections from any grossly abnormal area (e.g. soft, fleshy, necrotic, cystic).

        - Cervical or endometrial polyps: to be submitted in entirely unless extremely large.

      - Hysterectomy for Cervical Carcinoma

        - If lymph nodes are included (radical hysterectomy), dissect while fresh and separate into left and right obturator, interiliac, and left and right iliac (high nodes) groups (not all of these groups will be present in every specimen).

        - Measure and weigh the specimen; orient as to anterior and posterior sides; see under Uterus – Hysterectomy (general instructions).

        - Amputate the cervix from the corpus about 2.5 cm above the external os with a sharp knife.

        - Handle the uterus as described under Uterus – Hysterectomy (general instructions) and the tubes and ovaries, if present, according to instructions for these organs.

        - Open the cervix with scissors through the endocervical canal at the 12 o’ clock position carefully

        - Paint the vaginal surgical margin with India ink.

        - Cut the entire cervix by making parallel longitudinal sections, 2 to 3 mm apart, along the plane of the endocervical canal starting at the 12 o’ clock position and moving clockwise. Sections should be taken in such a way that the epithelium (including the squamo columnar) is present in each section; some trimming of the stroma may be necessary.

      - Description required of:

        - Cervix: color of epithelium; presence of irregularities, erosions, healed or recent lacerations, masses (size, shape, location), cysts (size, content), previous biopsy, or conization sites.

        - Rest of uterus: see under Uterus – Hysterectomy (general instructions).

        - Ovaries and tubes, if present: see instructions for respective organs.

        - Lymph nodes, if present: approximate number; gross appearance; seem involved by tumor?

      - Sections for histology:

        - Cervix: All tissues are submitted (except for trimming of stroma) and identified separately as follows:

          - Sections from 12 to 3 o’ clock (A-1 on accompanying drawings).

          - Sections from 3 to 6 o’ clock (A-2 on accompanying drawings).

          - Sections from 6 to 9 o’ clock (A-3 on accompanying drawings).

          - Sections from 9 to 12 o’ clock (A-4 on accompanying drawings).

- (If an accurate mapping of the lesions is desired, identify sequentially   each section with a letter, beginning from the 12 o’ clock position).

        - Vaginal cuff (entire line of resection).

        - Left soft tissue (for invasive cases only).

        - Right soft tissue (for invasive case only).

        - Rest of uterus: see under Uterus – Hysterectomy (general instructions).

        - Ovaries and tubes: see Instructions for respective organs.

        - Lymph nodes, if present:

          - Left obturator

          - Right obturator

          - Interiliac

          - Left iliac (high nodes)

          - Right iliac

    - Hysterectomy for Endometrial Carcinoma

      - If lymph nodes are included (radical hysterectomy), dissect while fresh and separate into left and right obturator, interiliac, and left and right iliac (high nodes) groups (not all of these groups will be present in every specimen).

      - Open and fix the uterus as indicated under Uterus – Hysterectomy (gernal instructions).

      - If ovaries and tubes are present, handle according to respective instructions.

      - Description required of:

        - Type of operation: radical/Total/with or without adnexae:

        - Tumor: exact location; size; appearance (solid, papillary, ulcerated, necrotic, hemorrhagic); color; extent of endometrial extensions; presence of myometrial, serosal, parametrial (soft tissue), venous, cervical, or tubal extension.

        - Rest of uterus: see under Uterus – Hysterectomy (general instructions).

        - Ovaries and tubes: see respective instructions.

        - Lymph nodes, if present: approximate number; gross appearance

      - Sections for histology:

        - If obvious tumor present:

          - Three sections, one of which should be through area of deepest invasion and be complete sections from surface of endometrium through serosa (if too thick for cassette, divide in half and identify both halves appropriately).

          - Two sections from non-neoplastic endometrium; do not need to be through entire wall.

        - Soft tissue from left and eighth parametria.

        - If no obvious tumor present (previous irradiation, very superficial carcinoma, endometrial hyperplasia) :

          - Sample entire endometrium by making complete transverse parallel sections, 2 to 3 mm apart, of both uterine halves; one section should comprise entire thickness of organ, from mucosa to serosa; trim away from all others deepest two thirds of myometrium. Label separately as anterior and posterior halves.

          - Rest of uterus: see under Uterus – Hysterectomy (general instructions).

          - Ovaries and tubes: see respective instructions.

        - Lymph nodes, if present:

          - Left obturator

          - Right obturator

          - Internal iliac

          - Left iliac (high nodes)

          - Right iliac (high nodes)

    - Thyroid gland- Thyroidectomy

      - Weigh and measure the specimen.

      - Ink the external surface.

      - Orient the specimen and cut parallel longitudinal slices 5 mm each either in the fresh state or after formalin fixation.

      - Search for parathyroid glands in the surrounding fat.

      - Description required of:

        - Type of specimen: lobectomy, isthmectomy, subtotal thyroidectomy, total thyroidectomy.

        - Weight, shape, color, and consistency of specimen.

        - Cut surface: smooth or nodular? If nodular: number, size and appearance of nodules (Cystic? Calcified? Hemorrhagic? Necrotic?); encapsulated or invasive? Distance to line of resection.

      - Sections for histology:

        - For diffuse and / or inflammatory lesions: three sections from each lobe and from isthmus.

        - For a solitary encapsulated nodule measure up to 5 cm: entire circumference; take one additional section for each additional centimeter in diameter. Most of these sections should include the tumor capsule and adjacent thyroid tissue, if present.

        - For papillary carcinoma: block entire thyroid gland and (separately) line of resection.

        - For papillary carcinoma: block entire thyroid gland and (separately) line of resection.

        - For grossly invasive carcinoma other than papillary: three sections of tumor, three of non-neoplastic gland, and one from line of resection.

        - For all cases: submit parathyroid glands if found on gross inspection.

    - Breast biopsy and local excision for palpable mass

      - Measure the specimen before cutting. Weigh if amount of material is substantial (over 50 g).

      - Blot dry, apply India ink to surface, and blot dry again.

      - If indicated, take a radiograph of the specimen.

      - Section specimen: if specimen is 3 cm or smaller, cut 3- to 4- mm slices; if it is larger, bisect specimen transversely, fix the residual hemispheres for 1 to 2 hours, place cut surface down, and take sagittal blocks through superior and inferior portions.

      - If indicated, take a sample for hormone receptor studies (see instructions for Hormone receptor assays – sampling).

      - Description required of:

        - Dimensions and consistency of specimen.

        - Appearance of cut sections: fibrosis, cysts (size, number, content), calcification, tumor masses (size in three dimensions, color, borders, consistency, necrosis, distance from surgical margins).

      - Section for histology:

        - Small specimens: submit in their entirety (up to five cassettes).

        - Large specimens: through sampling. At least two thirds of the breast tissue (exclusive of adipose tissue) should be processed. This should include any grossly visible lesions and the inked surgical margins.

    - Breast (Mastectomy)

      - Weigh the specimen.

      - Orient the specimen.

      - Dissect the lymph nodes

      - Turn the specimen around with skin side up.

      - Evaluate features of external appearance and measure. Palpate the specimen for masses or modularity.

      - With a long sharp knife, cut the entire breast longitudinally into slices about 2 cm thick. One   of the cuts should be exactly through the level of the nipple.

      - Lymph nodes specimen: Shred the axillary tissue and dissect out all lymph nodes.

      - Nipple specimen: Transverse section is made, perpendicular to the skin surface through the nipple and areola.

      - Description required of:

        - Side and type of mastectomy.

        - List of structures included in specimen.

        - Weight and dimensions.

        - Features of external surfaces:

          - Shape and color and skin.

          - Location & extent of skin changes.

          - Appearance of nipple and areola.

          - Location of lesions and other features.

          - Description of abnormalities on palpation.

        - Feature of cross-sections.

        - Relative amounts of fat and parenchyma Cysts and dilated ducts.

        - Masses Lymph nodes.

      - Sections for histology:

        - Breast: take three sections of tumor, sample all lesions noted grossly or radiographically, take at least one section from each quadrant. In the following order:

          - Upper outer quadrant

          - Lower outer quadrant

          - Lower inner quadrant

          - Upper inner quadrat

        - Nipple

        - Pectoralis major muscle (in radical mastectomies)

        - Lymph nodes: all identified nodes should be processed: small are submitted entirely nodes over 0.5 cm in diameter are sliced. If the axillary fat is grossly involved, a representative section should be taken.

        - Give the sections from all the resected margins.

    - Ovary - Oophorectomy

      - Measure the organ. Weigh it if it is obviously abnormal.

      - If the specimen is received fresh:

        - Normal-Sized or nearly normal-sized organs: bisect and fix for several hours.

        - Enlarged organ: Make several cuts and fix for several hours.

      - Description required of:

        - Size and shape

        - Capsule

        - Cut section

        - Tumors

      - Sections for Histology:

        - For incidental oophorectomies: one sagittal section if each entire ovary, labeled as to side.

        - For cysts: up to three sections of cyst wall.

        - For tumors: three sections or one section for each centimeter or tumor, whichever is greater also, one section of non-neoplastic ovary, if identifiable.

    - Fallopian tube - Salpingectomy

      - Fix the specimen before sectioning. If the tubes are attached to the uterus, they should be fixed in that position.

      - Measure the length and greatest diameter.

      - If the tube is relatively normal in size, serially section at 5 mm intervals and examine. Make the cuts incomplete so that the pieces remain attached by the serosa.

      - If the tube is obviously enlarged, make one complete longitudinal section, followed by parallel sections, if necessary.

      - Description required of:

        - Length and greatest diameter.

        - Serosa: fibrin? Hemorrhage? Fibrous adhesions to ovary or other organs?

        - Wall: abnormally thick? Ruptured?

        - Mucosa: atrophic? Hyperplastic? Appearance of fimbriated end; inverted?

        - Lumen: patent? Dilated? Content; diameter, if abnormally large.

        - Masses: size, appearance, invasion.

        - Cysts in para-ovarian region: diameter, thickness of wall, content; sessile or pedunculated

        - In case of suspected ectopic pregnancy: embryo or placenta identified/ Amount of hemorrhage; rupture

      - Section for histology:

        - For incidental tubes without gross abnormalities: three cross-sections of each tube, taken from the proximal mid and distal portions, submitted in the same cassette (see accompanying drawing).

        - For tubes with suspected ectopic pregnancy: submit any tissue with gross appearance of products of conception. If none is grossly identified, submit any tissue with gross appearance of products of conception. If none is grossly identified, submit several sections from the wall in the area of hemorrhage as well as several from the intraluminal clot. If products of conception are not identified microscopically, submit additional sections.

        - For tubes with other lesions: as many as needed to adequately examine any abnormal areas. If tumor is present, at least three sections must be taken to include grossly uninvolved mucosa

    - Kidney - Needle Biopsy

      - Measure the length and diameter.

      - If specimen for fluorescence microscopy is received, process it as given in the Trustlab Diagnostics SOP

      - Description:

        - Number of fragments; length and diameter of each

        - Color: homogenous or not?

      - Sections for histology:

        - See Procedure

        - Needle renal biopsies should be routinely stained with:

        - Hematoxylin – eosin

        - Alcian blue-PAS

        - Masson’s trichrome.

    - Nephrectomy for Non-Tumoral Condition

      - Measure and weight the organ.

      - Two options are available depending on the type of abnormality present and the status of the organ when received in the laboratory.

      - Cut the kidney sagittally, strip the capsule, and carefully open the pelvis, calyces, and ureter.

      - Description:

        - Weight and size of kidney

        - Capsule

        - External surface

        - Cortex

        - Medullar

        - Pelvis

        - Ureter

        - Renal artery

      - Sections for Histology:

        - Kidney: Three sections, each including cortex and medulla.

        - Pelvis: two sections.

        - Ureter.

    - Nephrecotmy for Tumor

      - Look for and dissect any perirenal lymph nodes.

      - Look for and open the renal vein longitudinally.

      - Cut the kidney sagittal and open the pelvis, calyces, and ureter.

      - Strip the capsule and look for capsular and perirenal tumor extensions.

      - If stones are present, submit for chemical analysis.

      - Cut the kidney in thin slices searching for additional cortical or medullary lesions.

      - Description:

        - Weight and dimensions of specimen

        - Tumor characteristics

        - Uninvolved kidney

        - Pelvis

        - Presence of lymph nodes.

      - Sections of Histology:

        - Tumor: Minimum of three sections. Pelvis minimum of three sections with adjacent pelvis and / or renal parenchyma.

        - Kidney not involved by tumor: Two sections.

        - Pelvis: One section is cases of renal cell carcinoma or pediatric tumors; two sections in cases of carcinoma or renal pelvis.

        - Renal artery and vein.

        - Ureter: One section in case of renal cell carcinoma or pediatric tumors; one           section of every centimeter of ureter rejected (and any abnormal- looking           areas) in cases of carcinoma of renal pelvis.

        - All Lymph nodes, if present.

    - Penis - Penectomy

      - If the specimen is accompanied by inguinal node dissections, separate them and handle according to specific instructions.

      - Introduce a catheter through the urethra.

      - Fix overnight at 40 C

      - Paint the surgical margins (including the urethra) with India ink

      - Cut longitudinally through the center: the section should cut the urethra in two.

      - Description:

        - Type of operation: partial, total, with or without scrotal skin, testicles, inguinal nodes.

        - Length and diameter of specimen.

        - Tumor: location in relations to glans, prepuce, skin, and urethra; size, color, borders, depth of invasion.

        - Glans penis: balanitis? Atrophy? Leukoplakia?

        - Urethra: invaded by tumor?

      - Sections for histology:

        - Tumor: three sections

        - Glans penis and urethra

        - Surgical margin (including urethra)

    - Testis - Orchidectomy

      - Open the tunica vaginalis; weigh and measure the testicle.

      - Cut the testicle sagittal while it is in the fresh state and fix in formalin.

      - Take photographs or photocopies and identify in one of them the sites of the sections to be taken.

      - Cut serial slices, about 3 mm thick, of each testicular half, perpendicular to the original section, stopping just at the level of the tunica albuginea (to keep them together), and examine each surface carefully.

      - Cut the epididymis longitudinally throughout its entire length.

      - Make several cross-sections of the spermatic cord at several levels.

      - Description:

        - Weight and dimensions of testicle.

        - Length of spermatic cord.

        - Features of tumor, if present: size, color; consistency; homogeneity or lack of it; presence of cysts, necrosis, hemorrhage, bone, or cartilage; tumor extension to tunica albuginea, epididymis, cord, and other structures.

        - Features of non-neoplastic testicle: atrophy? Fibrosis? Nodules?

        - Features of rete testis and epididymis.

      - Sections for histology:

        - Tumor: at least three sections or one section for each centimeter of tumor, whichever is greater, at least one of which should include some uninvolved testicle. Most of the sections should include tunica albuginea. (Always submit sections from hemorrhagic or necrotic areas of tumor, as well as from solid or fleshy areas).

        - Uninvolved testis: two sections

        - Epididymis.

        - Spermatic cord and surrounding soft tissue at point about 1 cm from testicle: one cross – section.

        - Spermatic cord and surrounding soft tissue at line of resection: one cross-section.

    - Spleen - Splenectomy

      - Measure and weigh the specimen.

      - Cut parallel slices as thin as possible with a sharp knife or meat cutter while the specimen is fresh and examine each slice carefully for focal lesions; do not wash the cut surface in tap water. Fix each slice flat in a large container.

      - Take cultures if an inflammatory condition is suspected.

      - Prepare four imprints of the cut surface in all cases in which splenic pathology is suspected; stain two with hematoxylin – eosin and two with wright’s stain.

      - If sickle cell disease is suspected, fix a block of tissue in formalin immediately after it has been cut from the interior of the organ.

      - Look for lymph nodes and accessory spleens in the splenic hilum.

      - For the spleen removed as part of a staging procedure, see under staging laparotomy for malignant lymphoma.

      - Description:

        - Weight and dimensions.

        - Hilum: nature of vessels, presence of lymphnodes, presence of accessory spleens.

        - Capsule: color, thickness, focal changes, adhesions, lacerations (location, length and depth).

        - Cut surface: color; consistency; bulging; malpighian corpuscles (size; color; conspicuous?); fibrous trabeculae; nodules or masses; diffuse infiltration?

      - Sections for histology:

        - For incidental splenectomy: one section, including capsule.

        - For traumatically ruptured spleen: one section through tear and one away from it.

        - For diseased spleen: at least three sections, one to include hilum and two to include capsule.

    - Skin excision for malignant tumor

      - Paint all excision margins with India ink.

      - Take photographs or photocopies in cases of large tumors and identify in one of them the site of the sections to be taken.

      - Description:

        - Shape and dimensions of specimen.

        - Characteristics of lesion: size, shape, color or colors, configuration; elevated or depressed? Ulceration? Types of margins (sharp or ill-defined? Flat or elevated?); distance from margins of resection; satellite nodules?

      - Sections for histology:

        - Small specimens – up to 5 cm in greatest length:

          - Cut parallel 3-mm slices of the entire specimen, making sure that the initial section goes from the center of the lesion to what grossly appears the narrowest surgical margin.

        - Larger specimens:

          - Tumor: parallel 3-mm slices of the entire lesion.

          - Surgical margins: tangential sections along the entire edge.

    - Transurethral resection of prostate (TURP)

      - Weigh all the bits and document.

      - Description

        - Document the total size of the multiple bits together.

        - Describe and document the colour and consistency of the bits.

        - Carefully examine all the fragments. Carcinoma of the prostate is often yellow and or hard, submit histology chips with these gross characteristics.

        - Look for any abnormal or hard bits and submit these bits for histopathological examination.

      - Section for histopathology

        - All the specimens are submitted till four cassettes are filled.

        - If there is an excess of tissue, then submit one additional cassette of chips for each approximate 10gms of tissue.

        - If carcinoma is identified on microscopy in the submitted tissue sections, then the remaining entire chips are submitted so that the volume of the tumor can be assessed.

        - The Rt and Lt lobe biopsy bits should be sampled separately.

    - Pancreas – Distal Pancreatectomy

      - Distal pancreatectomy involves resection of the tail of the pancreas (with or without the body) and the spleen.

      - Measure the pancreas (length, 2 dimensions cross-sectional diameter) and spleen (three dimensions).

      - Weigh the spleen (if it is en bloc with the pancreas, weigh the spleen separately after specimen dissection is complete).

      - Identify and dissect lymph nodes in the unfixed state.

      - Ink the proximal pancreatic resection margin and any additional soft tissue margins (use different colors for anterior and posterior).

      - Description

        - Bivalve the pancreas into anterior and posterior halves.

        - Measure the tumor and its distance to the proximal resection margin.

        - Describe the tumor (solid vs. cystic, color, shape, circumscription, and necrosis).

        - Describe the uninvolved pancreatic parenchyma (fat necrosis, parenchymal atrophy, and fibrosis).

        - Identify the pancreatic duct and note whether it is involved by tumor.

        - Serially section the spleen, keeping it attached to the pancreas.

        - Note whether it is involved by tumor.  Describe the splenic parenchyma (color, consistency, nodularity).

        - Take photographs.

      - Sections for histopathology

        - Pancreatic resection margin: entirely submit cross section.

        - Additional soft tissue margins: representative sections (if not already included with tumor sections).

        - Tumor: minimum of six sections, showing relationships to adjacent structures.

        - Uninvolved pancreas: two sections.

        - Uninvolved spleen:  two sections.

        - Lymph nodes:  entirely submit, labeling according to location/lymph node group.

    - Whipple`s Procedure

      - Identify components of the specimen (the head of the pancreas, distal stomach, duodenum, common bile duct and gallbladder).

      - Measure the stomach (length of greater and lesser curvatures, circumference of proximal margin), duodenum (length, circumference), common bile duct (length, diameter), gallbladder (length, diameter), and pancreas (length, 2 dimensions cross-sectional diameter).

      - Dissect lymph nodes while the specimen is unfixed and divide them into the following groups:

        - Superior peripancreatic. , Inferior peripancreatic.

        - Anterior pancreaticoduodenal, Posterior pancreaticoduodenal.

        - Common bile duct and pericystic.

        - Lesser curvature, Greater curvature.

      - Take the common bile duct margin (cross section).

      - Ink the distal and posterior retroperitoneal pancreatic margins of resection.

      - Description:

        - Open the stomach along the greater curvature.  Examine for mucosal thickening, ulcers, nodules, hemorrhage, or other abnormalities.  Note particularly whether the pancreatic/ampullary tumor invades stomach wall.

        - Open the duodenum along the lateral border opposite the ampulla of Vater.  Identify the major (Vater) and minor (Santorini) papillae.  Examine for ulcers, nodules, and tumors in the wall of the duodenum.  If a tumor is present, identify its location, whether it involves either ampulla (primary site, extension from the pancreas, intra-ampullary, peri-ampullary), and whether it gives rise to obstruction of biliary and/or pancreatic ducts.

        - Using small, fine scissors open the common bile duct and the main pancreatic (Wirsung) duct into the papillae.  Determine whether these contain any stones or tumors and whether they are dilated.  Bivalve the pancreas into anterior and posterior halves using a sharp knife, going through the pancreatic duct.

        - Measure the tumor (three dimensions) and note its relationship to the surrounding ducts, ampulla, duodenum, and other structures and distances from resection margins.  Describe the tumor (solid vs. cystic, color, shape, circumscription, ulceration, and necrosis).

        - Examine the uninvolved pancreas for abnormalities (fat necrosis, parenchymal atrophy, and fibrosis).

      - Sections for histopathology

        - Tumor: Up to three sections

        - Pancreas:

          - Distal resection margin: entirely submit (two or more blocks).

          - Two sections from areas without tumor.

          - Posterior retroperitoneal margin: two sections.

        - Uninvolved duodenum: Two sections one from distal line of resection

        - Stomach: Two sections, including proximal line of resection

        - Common bile duct: Two cross-sections one from surgical margin.

        - Lymph nodes: entirely submit, specifying the anatomic location.

          - Peripancreatic (superior and inferior)

          - Pancreaticoduodenal (anterior and posterior)

          - Common bile duct and pericystic

          - Lesser curvature

          - Greater curvature

          - Splenic

          - Other groups, if present (jejuna, midcolic, omental)

        - Other organs, if present (e.g. gallbladder, spleen, portal vein, Colon, Omentum).

    - Esophagus: Esophagectomy/Esophagogastrectomy

      - Esophagectomy is mainly performed for malignancy near the E-G junction.

      - For most specimens, radial margins along with the proximal and distal resections margins must also be assessed.

      - Orient the specimen (proximal and distal, anterior and posterior).

      - Measure the specimen:

        - Esophagus: length and circumference

        - Stomach: length of greater curvature, length of lesser curvature, circumference of distal margin

      - Ink the proximal and distal margins and any areas of the external surface which are suspicious for tumor involvement.

      - Dissect the lymph node groups in the unfixed state by anatomic location:  esophageal (proximal vs. distal to mass), cardiac, lesser curvature, greater curvature, pyloric.  Measure the smallest and largest lymph nodes and describe the cut surfaces (color, consistency).

      - Palpate the specimen in order to determine the location of the mass and longitudinally open the specimen along the opposite surface.  Try to open the stomach along the greater curvature unless the mass is located there (in which case, open along the lesser curvature).  Apply ink along the external surface in the region of the tumor if not already done.

      - Measure (three dimensions) and describe the tumor (color, configuration, ulceration, borders, and location) and measure its distance from the proximal and distal margins and the esophago-gastric junction (EG junction).  Determine whether there is luminal dilatation proximal to the tumor.

      - Describe the non-neoplastic mucosa (color, texture, varices, folds, ulceration, plaque, hemorrhage, wall thickness) and the EG junction.

      - Take photographs if feasible

      - Section the tumor and determine the extent of mural involvement.

      - Sections for Histology:

        - Tumor: Four longitudinal sections, one including a portion of non-neoplastic mucosa proximal to tumor and another portion distal to tumor.

        - Non–neoplastic mucosa: two to three transverse sections, at different distances from tumor edge, proximally and distally, depending on location of tumor

        - Stomach, if present: two sections, one including gastroesophageal junction.

        - Proximal line of resection

        - Distal line of resection

        - Lymph node:

          - Adjacent to tumor

          - Proximal to tumor

          - Distal to tumor

    - Stomach: Gastrectomy for Tumor or Ulcer

      - Orient the specimen (proximal and distal, anterior and posterior).

      - Measure the specimen:  stomach – length of greater curvature, length of lesser curvature, circumference of proximal margin, circumference of distal margin; omentum – three dimensions; length and diameter of esophagus and duodenum; weight and three dimensions of spleen.

      - Ink the proximal and distal margins and any areas of the external surface which are suspicious for tumor involvement.

      - Palpate the specimen in order to determine the location of the mass or ulcer and longitudinally open the specimen along the opposite surface.  Try to open the stomach along the greater curvature unless the lesion is located there (in which case, open along the lesser curvature).  Apply ink along the external surface in the region of the lesion if not already done.  If duodenum is attached, open it via a continuation of the stomach incision.

      - Dissect the lymph node groups in the unfixed state by anatomic location:  cardiac, lesser curvature, greater curvature, pyloric, splenic hilar, omental, other.

      - Description

        - Measure (three dimensions) and describe the lesion (color, configuration, ulceration, borders, location) and measure its distance from the proximal and distal margins and the esophago-gastric junction (EG junction), if present.

        - Describe the uninvolved mucosa (color, texture, folds, ulceration, hemorrhage, wall thickness).

        - Section the tumor/ulcer and determine the extent of mural involvement/perforation.

        - Dissect any additional organs as per their usual instructions.

      - Sections for histology

        - Tumor: four sections through wall and including tumor border and adjacent mucosa

        - Non neoplastic mucosa, mid stomach, two sections

        - Proximal line of resection along lesser curvature: two sections

        - Proximal line of resection along grater curvature: two sections

        - Distal line of resection (along pylorus and duodenum if present) : two sections

        - Spleen if present.

        - If Ulcer: four transmural sections.  Include adjacent uninvolved mucosa in some sections.

        - Uninvolved gastric wall:  two sections from different areas, taken perpendicular to the folds.  Additional sections of lesions.

        - Lymph nodes:  entirely submit, according to anatomic groups, in tumor cases.  For ulcer cases, there is less of a requirement for a comprehensive lymph node dissection, but any identified lymph nodes should be entirely submitted.

    - Bowel: Resection for Non-Neoplastic Condition

      - Note the orientation of the specimen.  Describe the serosal surface (color, adhesions, exudate, and perforation).

      - Open the specimen along the anti-mesenteric border, gently evacuate the fecal content.

      - Measure the length of the specimen and the average circumference, noting any areas of dilatation or narrowing.  If you can identify different regions of bowel (e.g. terminal ileum, cecum), measure these segments individually.

      - Description

        - Describe the mucosal surface (color, perforation, ulcer, diverticulosis, plaque, stricture, polypoid lesions).  Measure lesions and their distances to the resection margins.  Measure the wall thickness in normal and abnormal areas.

        - If infarct is suspected, cross-section the mesenteric vessels and look for vascular calcification, emboli or thrombi.

        - Note the presence or absence of the appendix and process as in Appendectomy.

      - Sections for histology

        - Proximal and distal resection margins: representative perpendicular sections if < 1 cm from abnormalities; cross section if > 1cm away.

        - Lesions: sections should be taken perpendicular to the direction of the mucosal folds.

        - Inflammatory bowel disease: minimum of 5 sections or one section per 10 cm of specimen length.  Include ulcers, pseudopolyps, and junction with normal-appearing areas.

        - Ischemic bowel: 5 sections of bowel.  Include junction with normal-appearing areas.  If infarct is suspected, take several cross-sections of mesenteric vessels.

        - Traumatic perforation: 3 perpendicular sections at edge of perforation.  Include serosal exudate.

        - Diverticulosis:  minimum of 2 diverticula (more if resection was specifically done for diverticulitis) with adjacent fat.

        - Uninvolved areas: 1-3 blocks.  If the resection margins are free of lesions in specimens with localized pathology (e.g. traumatic perforation, diverticulosis), they will count as the “uninvolved areas” and additional sections are not needed.

        - Lymph nodes: entirely submit any identified (but you do not need to search as vigorously as you would if neoplasm were present).

        - Appendix: tip and 2 cross-sections, if present.

    - Bowel: Resection for Tumor

      - Bowel tumors are most often adenocarcinomas; however, resections are also performed for large villous adenomas and other categories of neoplasia.

      - While the specimen is in an unfixed state, orient it as to proximal and distal (if possible).  Attempt to identify the location of tumor by palpation and observation of serosal puckering/adherent fat.  Apply ink to the serosa and fat in the area of tumor (i.e. radial or deep margin).  Remove the fat in all other areas and dissect the lymph nodes, keeping them divided as to general location (proximal to tumor, distal to tumor, close to tumor).  Describe the serosal surface (color, adhesions, puckering, tumor extension).

      - Ink the proximal and distal margins.  Open the specimen from one end to the other along the side opposite the area of tumor attachment, if possible.  Gently evacuate the lumen of any fecal matter and take photographs.

      - Description

        - Measure the length of the specimen and the average circumference, noting dilatation proximal to the tumor and the degree of luminal obstruction due to tumor.  If you can identify different regions of bowel (e.g. terminal ileum, cecum), measure these segments individually

        - Measure (2 surface dimensions) the tumor and measure its distance from the proximal and distal margins and from the ileocecal valve, if applicable.  Describe the external surface of the tumor (color, shape/configuration, ulceration). Describe the mucosal surface of the remainder of the bowel (color, polyps, diverticulosis, perforation).  Measure lesions and their distances to the resection margins.  Measure the wall thickness in normal and abnormal areas.

        - Ink the non-peritonalised posterior surface of the bowl.

        - After fixation, section the tumor and measure its depth.  Note whether it invades the bowel wall and whether it infiltrates the fat.  Describe the cut surface of the tumor.  After you have submitted tumor sections, examine the peritumoral fat for additional lymph nodes.

        - Note the presence or absence of the appendix and whether it is involved by tumor.  If uninvolved, process as in Appendectomy.

      - Sections for histology

        - Tumor:  minimum of three transmural sections with adipose tissue (if tumor is very thick, you may need to divide a section into two cassettes – superficial and deep).  Include adjacent uninvolved mucosa in some sections.  Villous adenomas may require extensive sampling to rule out invasion.

        - Resection margins:

          - Proximal and distal: en face (representatively submitted) if more than 2 cm from tumor; perpendicular (representatively submitted) if 2 cm or less from tumor.

          - Radial/deep margin: include with tumor sections if possible; otherwise, two sections closest to deep portion of tumor.

        - Uninvolved colonic wall: two sections from different areas, taken perpendicular to the folds.  Additional sections of lesions.

        - Polyps: entirely submit, cut in half longitudinally so that each half includes both polyp and stalk with colonic wall.  Continue to serially section at 3 mm intervals in the same plane of sectioning, if necessary.

        - Appendix: tip and two cross sections in one block, if present.

        - Lymph nodes: entirely submit, designated as to location with regard to tumor.

          - Around tumor

          - Distal to tumor

          - Proximal to tumor

          - At high point of resection 9areas surrounding ligated vessels)

        - In abdominoperineal resections: anorectal junction

    - Salivary gland resections: Includes parotid and submandibular gland resections

      - Measure the specimen (three dimensions).  Determine whether it is a complete salivary gland or whether the gland has been transected.  Note whether there is attached fat, muscle, or large nerve.

      - Examine the external surface for tumor.  Describe the overall specimen shape and external appearance (color, consistency).

      - Ink the external surface.  If there is an area of gland transection, ink this a separate color.

      - Slice off the inked facial nerve margin, if present.

      - Serially section the specimen across the short axis.

      - Description

        - Describe any tumor (measurements, color, shape, consistency, necrosis, encapsulation, infiltration of surrounding gland, extension beyond gland) and measure the distance to the external surface/margin.

        - Be aware that salivary glands are sometimes removed for excessive drooling, in which case there is no tumor.

        - Describe the tumor-free areas (color, lobulation, atrophy/fatty replacement, fibrosis).  Measure and describe intraparotid lymph nodes.

        - See Lymph Nodes: Radical Neck Dissection if applicable.

      - Suggested sections for histology

        - Tumor: minimum of five sections.  Include tumor capsule and margins in most sections.  Include uninvolved adjacent gland in some sections.

        - Resection margins

        - Salivary gland: include with tumor sections.

        - Facial nerve: en face, if included.

        - Lymph nodes: entirely submit.  If lymph nodes are intraparotid, do not attempt to dissect them out of the gland; instead, submit them together with the surrounding gland tissue.

    - Larynx: Laryngectomy

      - Determine the type of laryngectomy procedure performed:

        - Hemilaryngectomy: left or right half of larynx including thyroid cartilage, false cord, ventricle, and true vocal cord.

        - Partial laryngectomy: part of thyroid cartilage and corresponding portions of laryngeal mucosa.

        - Supraglottic laryngectomy: part of larynx superior to the true vocal cord (transection through the ventricles).

        - Total laryngectomy: entire larynx.

      - Measure the overall specimen and the individual components (three dimensions), including the thyroid gland, parathyroid glands, tracheostomy, perilaryngeal (delphian) lymph node, and radical neck dissection soft tissue.

      - Remove the radical neck dissection tissue, if present, and set aside, retaining its orientation.  Process according to Radical Neck Dissection.

      - Ink the resection margins (trachea, mucosa, base of tongue, other soft tissue).

      - Open the larynx by cutting through the posterior midline (if supraglottic or total laryngectomy specimen).  Pin to a board or insert a small wooden stick (a swab handle works well) horizontally, avoiding the tumor, to hold it open.  Note the color of the unfixed tumor.  Count the number of tracheal rings.

      - Submerge in formalin overnight.

      - Description

        - Measure and describe (exophytic vs. endophytic, ulceration, borders) the tumor.  Determine the location of the tumor.  It is usually described as supraglottic, glottic, subglottic, or transglottic.  Measure the subglottic extension, beginning at the superior edge of the true vocal cord, if applicable.  Measure the distances to the resection margins.

        - Laterality: left, right, bilateral (it is important to note whether the tumor crosses the midline).

        - Supraglottis: epiglottis, aryepiglottic folds, false cords, ventricles.

        - Glottis: true vocal cords, anterior commissure, posterior commissure.

        - Subglottis: beginning 1 cm inferior to the apex of the ventricle and ending at the inferior margin of the cricoid cartilage.

        - Examine the uninvolved mucosa (color, ulceration, plaques, other lesions).

        - Section the whole specimen longitudinally in parallel slices, unless extremely large or cartilage is heavily calcified, in which case you should focus on the portion containing the tumor.  Consecutively number the slices in the order in which you plan to submit them.

        - Measure the maximum depth of invasion, and determine which structures are involved/invaded by tumor: epiglottis (suprahyoid, infrahyoid), epiglottic cartilage, hyoid bone, aryepiglottic folds, false cords, ventricles, pyriform sinus, pre-epiglottic space, pre-epiglottic folds, thyroid-hyoid membrane, true vocal cords, anterior commissure, posterior commissure, cricothyroid membrane, arytenoid/thyroid/cricoid cartilage, thyroid gland.

      - Suggested sections for histology

        - Tumor: submit entirely in longitudinal strips.  If extremely large, submit representative sections, including area of maximal depth of invasion and all adjacent structures (involved or uninvolved).   Submit sections in sequential order from left to right (or similarly).  Decalcify cartilage sections if necessary.

        - Uninvolved larynx: representative longitudinal strips, including epiglottis, aryepiglottic folds, anterior and posterior commissures, false cords/ventricles/true vocal cords, if not included with tumor sections.

        - Resection margins: submit entirely, unless extremely large specimen or previously submitted for frozen section.  Discuss with the pathology attending the best way to submit margins for each case.  The following general rules apply:

          - Trachea: en face margin.

          - Mucosa: en face margins unless involved or close to tumor, in which case submitted in longitudinal strips with tumor sections.

          - Base of tongue and soft tissue (not including thyroid gland margins unless grossly involved): perpendicular margins.

        - Hyoid bone: one section closest to tumor.

        - Thyroid: two sections (one right and one left) if uninvolved by tumor.

        - Parathyroid(s)

        - Tracheostomy: one section.

        - Lymph nodes: entirely submit (see Lymph Nodes: Radical Neck Dissection).

    - Mandible - Mandibulectomy

      - Determine which components are present, laterality (left vs right), and whether the midline is included.  Each specimen is different, so consult with the pathologist regarding the best way to approach the specimen and how margins should be submitted (on edge vs. en face), if not already submitted for frozen section.

      - Marginal mandibulectomy: removes a portion of the mandible (usually the alveolus and the medial plate) without disrupting continuity of the bone.  This is typically performed when tumor involves the periosteum without bone invasion.

      - Segmental mandibulectomy: removes an entire segment of the mandible, disrupting continuity of the bone.  This is performed when tumor invades the bone.

      - Measure the overall specimen and the individual components (three dimensions).

      - Ink the surgical margins.

      - Determine whether the tumor is primarily in the bone or in the mucosa/soft tissue.  This will guide your approach.

        - Bone tumors: serially sections the specimen with a saw at 0.5 cm intervals, then submerge in formalin overnight.  Place the sections in decalcification solution until they can be cut with a sharp knife.

        - Mucosa/soft tissue tumors: carefully dissect the soft tissue off the bone, maintaining its orientation and avoiding excessive shredding.  The bone can be processed as above.

      - Description

        - Measure the lesion (three dimensions if mass, two dimensions if flat) and its distance from the various resection margins.  Determine the type of lesion (mass, ulcer, plaque) and describe it (color, shape, borders, circumscription, necrosis, hemorrhage).  Evaluate for invasion of bone or other adjacent structures.

        - See Lymph Nodes: Radical Neck Dissection if applicable.

      - Suggested sections for histology

        - Tumor: minimum of five sections, including adjacent uninvolved soft tissue.

        - Resection margins: mucosa, soft tissue, bone, mandibular nerve.

        - Mucosa/soft tissue without tumor: at least two sections, including additional lesions if present.

        - Bone:  one or two sections to demonstrate involvement by tumor if not already included with other sections.

        - Lymph nodes: submit entirely (see Lymph Nodes: Radical Neck Dissection).

    - Maxilla - Maxillectomy for Tumor

      - Determine which components are present.  Each specimen is different, so consult with the pathology attending regarding the best way to approach the specimen and how margins should be submitted (on edge vs. en face), if not previously submitted for frozen section.

      - Measure the overall specimen and the individual components (three dimensions).

      - Ink the surgical margins.

      - Remove the soft tissue surgical margins and place them in labeled cassettes.

      - Determine whether the tumor is primarily in the bone or in the mucosa/soft tissue.  This will guide your approach.

        - Bone tumors: serially section the specimen with a saw at 0.5 cm intervals, then submerge in formalin overnight.  Place the sections in decalcification solution until they can be cut with a sharp knife.

        - Mucosa/soft tissue tumors: carefully dissect the soft tissue off the bone, maintaining its orientation and avoiding excessive shredding.  The bone can be processed as above.

      - Description

        - Measure the lesion (three dimensions if mass, two dimensions if flat) and its distance from the various resection margins.  Determine the type of lesion (mass, ulcer, plaque) and describe it (color, shape, borders, circumscription, necrosis, hemorrhage).  Evaluate for invasion of bone or other adjacent structures.

      - Suggested sections for histology

        - Tumor: minimum of five sections, including adjacent uninvolved soft tissue.

        - Resection margins: mucosa, soft tissue, bone.

        - Mucosa/soft tissue without tumor: at least two sections, including additional lesions if present.

        - Bone: one or two sections to demonstrate involvement by tumor if not already included with other sections.

    - Tongue - Glossectomy

      - Orient and measure (length, width, thickness) the specimen.  Determine the type of procedure (hemiglossectomy, partial glossectomy, total glossectomy) and whether the sulcus terminalis or lingual tonsils are included.

      - Measure (two dimensions if flat, three dimensions if raised) and describe tumor (color, configuration/shape, borders, and ulceration) and surrounding mucosa (color, fibrosis, ulceration, atrophy, plaque).  Note the location of tumor.  Note the appearance of papillae.  Measure the distance of tumor to the resection margin.

      - Ink the resection margin.

      - There are different approaches to sectioning the specimen and taking margins, so check with the pathologistregarding the optimal way for each individual specimen.  In general, sections should be taken perpendicular to the margins and/or lateral border if close to or involved by tumor.  Options include:

        - Margins: en face or perpendicular.

        - Entire specimen/tumor: perpendicular to resection margin or perpendicular to lateral border.

      - Description

        - Describe the tumor cut surface (color, necrosis, consistency, infiltration) and measure the depth of invasion.  Re-measure the distance of tumor to the resection margin, based on the cut surface, if appropriate.

        - Describe the cut surface of the tongue (color, fibrosis, atrophy).

      - Suggested sections for histology

        - Tumor: minimum of five sections, including area of deepest invasion, lateral border of tongue (if close), resection margin (if close), and adjacent uninvolved tissue.

        - Resection margin: entirely submit (see guidelines above).

        - •	Uninvolved tongue:  two sections (left and right if bilateral).  Additional sections of other lesions, if applicable.

    - Lymph Nodes: Neck Dissection

      - Neck dissection is almost exclusively done for assessment of lymph node involvement by malignancy.  Therefore, careful search for lymph node is a key goal of gross examination.

      - Determine the type of neck dissection procedure:

        - Selective/regional/partial neck (i.e. not radical): specific lymph node zones into which the primary tumor site drain.

        - Modified/functional/Bocca radical neck: cervical lymph nodes, submandibular gland.

        - Standard radical neck: modified + sternocleidomastoid muscle, internal jugular vein, spinal accessory nerve, +/- tail of parotid.

        - Extended radical neck: standard + additional lymph node groups (e.g. retropharyngeal, paratracheal, parotid, suboccipital, upper mediastinal).

      - Orient the specimen.  Contact the surgeon if there is any doubt, especially when extra nodal landmarks (e.g. internal jugular vein) are absent.  Note whether it is unilateral or bilateral dissection.

      - Measure the entire specimen and its components (fat of lymph node levels, submandibular gland, internal jugular vein, sternocleidomastoid muscle).

      - Open the internal jugular vein along its length and record the inner lining appearance, adherence to surrounding structures, and involvement (or lack thereof) by tumor.

      - Using sternocleidomastoid muscle (SCM) as a guide with the internal jugular vein runs along the deep surface of the SCM; the external crosses over the SCM, orientate the specimen with submandibular gland at the superior end:

        - Level I: Submental and submandibular triangle, anterior to SCM, including submandibular gland.

        - Level II: Upper third of the internal jugular vein, upper third beneath SCM

        - Level III: Middle third of the internal jugular vein, middle third beneath SCM

        - Level IV: Lower third of the internal jugular vein, lower third beneath SCM

        - Level V: Posterior cervical triangle, posterior to SCM, most often missing.

        - Level VI: Anterior compartment.

      - Dissect and separate the individual lymph nodes from the fat of their respective levels.

      - Measure the smallest and the largest lymph nodes.  Note whether any appear obviously involved by tumor.

        - Lymph nodes < 4 mm (after fat is removed) are submitted as a single piece (i.e. intact).  Carefully nick the capsule with a blade to allow formalin penetration.

        - Lymph nodes > 5 mm are bisected across the long axis and, if necessary, further sectioned into 2-3 mm slices.

        - If a lymph node is grossly involved by tumor, a portion of the surrounding soft tissue should be left attached to it.  This will help in the identification of extranodal extension of tumor.

      - Description

        - Site and type of neoplasm

        - Length of sternomastoid muscle

        - Jugular vein included? Length? Invaded by tumor?

        - Presence of tumor in lymphnodes, submaxillary gland, soft tissue or muscle

        - Size of the largest one

      - Suggested sections for histology

        - Submandibular gland: one section.

        - Internal jugular vein:  one section.

        - Sternocleidomastoid muscle: one section.

        - Lymph nodes: entirely submit, divided into the appropriate levels.  If a lymph node is extremely large and obviously replaced by tumor, submit representative sections from areas with the greatest degree of extranodal extension.

        - Unsectioned (i.e. intact or uncut) lymph nodes:

        - Do not submit more than four lymph nodes in a single cassette.

        - Lymph nodes submitted in the same cassette should be of the same approximate size.

        - Specify in the section code the number of lymph nodes in the cassette.

        - Sectioned (i.e. bisected or serially sectioned) lymph nodes:

          - Never put more than one sectioned lymph node in a cassette!  However, it is acceptable to put more than one slice from the same lymph node in a cassette.

          - Specify in the section code whenever a single lymph node has been placed in one or more than one cassette.

    - Bone Specimens: These include wide resections of any bone, amputation, biopsies.

      - Describe and document the type and the size of the specimen recieved.

      - Examine the specimen and document with respect to size, appearance, location, colour and consistency of the lesion.

      - If the bone is soft and can be cut with scalpel take adequate sized sections and if the bone is hard and cannot be cut with knife, then place the entire specimen into 5% Nitric acid for decalcification.

      - Once decalcified take appropriate sections

    - Placenta

      - Clinical Data: Record the clinical data and the nature of the specimen according to the surgical pathology request, including all specimens submitted in addition to the placenta.

      - Dissection: Arrange the placenta on the dissecting board with the membranes over the fetal surface similar to their intrauterine position.

      - Nature of the Membranes

        - Site of attachment: marginal, circummarginate or circumvallate.

        - Color: mechanical staining, transparent or translucent.

        - Site of perforation: the nearest distance to the placental margin; tear into placenta indicates placenta previa.

        - Incise the membrane with 2 parallel cuts about 5 cm apart from the site of perforation to the placental margin.

        - Make a membrane roll using an instrument such as closed scissors as the core.

        - Tie each end of the rolled membrane with string and place in fixative.

      - Umbilical Cord

        - Identify the site of insertion as the distance from the nearest placental margin: central, eccentric, marginal, or velamentous.

        - Color, diameter, and length: (normal 40-80 cm; some of it remains with the neonate).

        - Twists per centimeter.

        - Number of blood vessels on the cut section.

        - Note abnormalities: knots, thrombi, edema.

      - Placenta disc

        - Weigh after removing the membranes and umbilical cord.

          - 20 weeks:            150g

          - 30 weeks             375g

          - Normal Term:     600g

          - Small placenta:    350g in 3rd trimester

        - Large placenta: Villous edema (rare <22 weeks), maternal diabetes, fetal anemia, fetal hydrops, syphilis, intervillous or sub chorionic thrombus.

        - Fetal surface: 2 diameters, thickness, shape, color and consistency; amnion nodosum indicates oligohydramnios.

        - Maternal surface: indicate integrity of the disk, fresh or old hemorrhage.

        - Parenchyma: Incise in a bread loaf pattern at intervals of approximately 1 cm.

        - Sub chorionic fibrin

        - Indicate the nature of the parenchyma and any alteration from the normal

        - Note infarcts, thrombi and extent of calcification.

      - Multiple Births:

        - With multiple births, examine each portion of the placenta, whether joined or fused, as for a single placenta.

        - Identify as A, B, etc. If not labeled by the obstetrician, label arbitrarily.

        - Vascularity of fetal surface: anastomoses between A and B.  If necessary, perfuse vessels with liquid mixture of powdered milk to accentuate cross circulation.

      - Sections for histology

        - Placenta

        - Membranes

        - Cord

        - If twin placenta, then separately provide for both, placenta A and B, and also the dividing membrane if present.

- Quality Control Procedure

Internal Quality Control

      - Grossing is done under the fume hood in the grossing area.

      - Identifier check is done upon receipt of specimen.

      - Details of fixation characteristics are entered in the histopath request form.

      - Volume of NBF prepared and its pH is recorded in Log for 10% NBF.

      - Any specimen with inadequate fixation is kept in “LFF” (Left for Fixation) state until    further grossed.

      - All large, unfixed specimen are sliced at receipt and put into fresh formalin solution with cotton piece in between slices to enhance fixation.

      - Number of sections taken is entered in the histopath request form for that case.

      - As far as possible, thin sections are taken for further processing.

      - Wherever required, margins are inked with Indian ink.

      - Labels with appropriate unique ID, written with lead pencil only, are placed in respective cassettes (for proper identification at embedding)

      - Any specific instructions for embedding are entered in the embedding instructions book

External Quality Control

- N/A

- Interferences & Cross Reactions

Partly autolyzed tissue.

Specimens which are cut in wrong anatomical planes, there by interfering with the sampling of the resection margins.

Already bisected nephrectomy or orchidectomy specimens.

Orientation sutures are placed on the wide excision specimens but the directions of the sutures are not mentioned on the TRF.

- Result Calculation

- N/A.

- Biological Reference Interval

- N/A.

- Reportable Interval

- N/A.

- Troubleshooting

- N/A.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

- N/A.

- Potential Source of Variability

- N/A.

- References

      - Rosai & Ackerman’s Surgical Pathology 9/e volume 2, 2004, 2911-2972.

      - Procedure for Managing Internal QC Program (TDPL/QA/MAN-001: MSP-013)

      - Laboratory Safety Manual (TDPL/QA/MAN-004)