SOP - 006

PROCEDURE FOR

BLOOD CULTURE

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	8

7.	Type of Sample	8

8.	Patient Preparation	8

9.	Type of Container & Additives	8

10.	Equipment & Reagents	8

11.	Safety	8

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	10

15.	Interfering Substances	10

16.	Result Calculation	11

17.	Biological Reference Interval	11

18.	Reportable Interval	11

19.	Procedure when Results are not in Range	11

20.	Critical Alert Values	11

21.	Laboratory Clinical Interpretation	11

22.	Potential Source of Variability	11

23.	References	12

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Sadiya Shahnaz Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | ATCC | American Type Culture Collection |
| 2 | BHI | Blood Heart Infusion |
| 3 | FA | Fastidious Aerobic |
| 4 | FN | Fastidious Anaerobic |
| 5 | MI | Microbiology |
| 6 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 7 | PF | Pediatric Fastidious |
| 8 | QC | Quality Control |
| 9 | SPS | Sodium Polyanetholesulfonate |
| 10 | SOP | Standard Operating Procedure |
| 11 | TSB | Tryptic Soy Broth |
| 12 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

  - The purpose and scope of this SOP is to describe procedure for blood culture for aerobic organisms - both by Automated BACT/ALERT and Manual methods, and for anaerobic organisms by automated method.

- Scope

This procedure applies to all staff of the Microbiology Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Microbiology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

A blood culture is a laboratory test used to detect bacteria or fungi in a person's blood, which can indicate a bloodstream infection. It helps identify the specific type of microorganism causing the infection and determine the most effective treatment.

- Test Principle

The BACT/ALERT series of blood culture instruments are designed for the rapid detection of microorganisms in clinical specimens. The sample to be tested is inoculated into the vial which is entered into the BACT/ALERT instrument for incubation and periodic reading. Unique colorimetric detection is used by the sensor of the instrument for detection of growth by utilisation of oxygen or carbondioxide. A positive reading indicates the presumptive presence of viable microorganisms in the vial. For manual culture, commercially prepared media like brain heart infusion (BHI) broth with supplements to support growth of bacterial pathogens are used. After inoculation of blood the media is incubated at 35-37°C in an incubator. Every 24 hours a subculture is obtained and examined by Gram’s stain if positive and cultured on suitable solid media to support growth of both Gram’s negative and positive bacteria.

- Specific Performance Characteristics

- The automated system gives an alert at the time of sufficient growth in the blood culture bottle. Culture reports have to be interpreted with caution based on the clinical findings and correlated with the clinical status of the patients. Culture may be negative for growth if the patient is already taking medication for the disease.

- Type of Sample

- Whole Blood drawn directly into culture bottles provided by manufacturers - Volumes specified as 1-2 ml of blood in automated paediatric BACT/ALERT bottle for paediatric cases, 5-8ml if blood in automated FA plus BACT/ALERT bottle and 5-8 ml of blood in BHI broth bottle. For anaerobic culture 5-8 ml blood sample collected aseptically in BACT/ALERT FN plus bottle. The blood sample collected aseptically has to be transported at room temperature within 24 hours. Refer to the primary sample collection manual.

- Patient Preparation

- Refer to the primary sample collection manual.

- Type of Container & Additives

- Sterile & leak-proof capped enriched blood culture bottles, sterile swabs, syringes.

- Equipment & Reagents

BHI Broth (Adult – 70ml, Paediatric – 40ml), commercially available BACT/ALERT bottles for blood collection

Blood agar or Chocolate agar, Mac Conkey agar plates

Composition of BACT/ALERT FA Vial - 25 mL Enriched Soybean-Casein Digest broth (TSB), 0.05% Sodium Polyanetholesulfonate (SPS), Cationic and Non-ionic Adsorbing Resins.

BACT/ALERT PF Plus Culture Vial: 40 mL Enriched Soybean-Casein Digest broth, 0.02% Sodium Polyanetholesulfonate (SPS), Cationic and Non-ionic Adsorbing Resins.

BACT/ALERT 3D 60

Incubator

- Safety

The use of disposable gloves and proper biohazardous clothing is STRONGLY RECOMMENDED while running the test.

In case there is a cut or wound on the hand, DO NOT PERFORM THE TEST.

Do not smoke, drink or eat in areas where specimens or kit reagents are being handled.

Tests are for in vitro diagnostic use only and should be run by competent personnel only.

Do not pipette by mouth.

All materials used in the assay and samples should be decontaminated in 1% sodium hypochlorite solution for 30-60 min. They should be disposed of in accordance with established safety procedures.

Wash hands thoroughly with soap or any suitable detergent, after the use of the kit. Consult a physician immediately in case of accident or contact with eyes, in the event that contaminated material is ingested or comes in contact with skin punctures or wounds.

Spills should be decontaminated promptly with Sodium Hypochlorite or any other suitable disinfectant.

Suitable infection prevention precautions to be followed.

- Calibration Procedure

Biosafety Cabinet, Incubator and centrifuge calibrations are done on an annual basis by an NABL accredited calibration agency. Necessary maintenance measures are undertaken for all the equipment.

BACT/ALERT equipment maintenance and calibration is done by authorised personnel.

- Test Procedure

Precautions

      - When handling specimens or cultures, aseptic technique is important to avoid their contamination and to protect the worker from infection from the sample.

      - Surface disinfection of the biosafety cabinet and the blood culture bottles is a must before inoculation.

Procedure

    - Automated Blood Culture

      - Signal positive blood culture bottles are removed from the system and Gram-stained smears are made to identify the bacteria preliminarily. Presumptive positive growth report as inferred by Gram’s stain, which is clearly indicative of a pathogen, will be released and informed if the sample is from a hospital client, through CSD.

      - The positive blood culture bottle is subcultured onto solid media – blood agar and Mac Conkey agar and incubated for 18-24 hours. The colony is processed the next day as a routine culture and final bacterial identification with antibiotic sensitivity by automated method report is released and informed to client through customer care team.

      - In case the bottle shows no positive signal in the automated blood culture system, preliminary negative report is issued at 24 hours and 48 hours and final report is issued after 5 days.

    - Manual Blood Culture

      - Manual blood culture bottles are subcultured on Day 1, Day and Day 4 on blood agar and Mac Conkey Agar to check for growth, Day 0 being the day the bottle is received in the lab. Any growth observed is processed like routine culture for identification and susceptibility testing by conventional method.  Presumptive positive growth as inferred by Gram’s stain which is clearly indicative of a pathogen, and the final culture report will be released and informed if the sample is from a hospital client through CSD.

      - In case the blood culture bottle shows no bacterial growth, preliminary negative report is issued at 48 hours and 72 hours, and the final report is issued after 7 days.

- Quality Control Procedure

QC of culture media is checked with American Type Culture Collection – Microbial strains.

Blood culture bottles are checked for their sterility and sample stability as per lot change.

- Interfering Substances

- Sample collection process and transportation should be done appropriate to the sample to avoid sample contamination with the commensal flora and environmental contaminants. Adequate aseptic precautions to be taken to avoid contamination during culturing process.

- Result Calculation

Culture media are incubated for 18-36 hours for identification of bacterial growth. Suspected pathogen colonies are identified and further processing of the colonies for their presumptive identification and susceptibility testing as per TDPL/MI/SOP-007 – Conventional Bacterial Identification.

- Biological Reference Interval

- No growth is observed for all samples from sterile body sites unless there is an infection.

- Reportable Interval

- 5-7 Days

- Procedure when Results are not in Range

- When the results are found inappropriate to the sample type, the sample is re-stained or checked with a repeat sample as per individual sample and growth discretion.

- Critical Alert Values

- All significant growth observed in samples from sterile body sites is informed as critical alert.

- Laboratory Clinical Interpretation

- Specific clinical interpretation is given as per sample type and pathogen isolated.

- Potential Source of Variability

The following factors play a crucial role in the result variations and appropriate care should be taken to eliminate them:

      - prior antibiotic usage by patient

      - sample type

      - sample collection

      - sample transport temperature

      - time to sample collection and inoculation

      - portion of sample used for inoculation

      - culture media

      - loop size and sterility

      - temperature and time of incubation.

- References

Practice of Medical Microbiology – Cruickshank