SOP - 011

PROCEDURE FOR

ANTI NUCLEAR ANTIBODY DETECTION BY FLUORESCENT MICROSCOPY

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	8

7.	Type of Sample	8

8.	Patient Preparation	8

9.	Type of Container & Additives	8

10.	Equipment & Reagents	8

11.	Safety	8

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	11

15.	Interfering Substances	11

16.	Result Calculation	11

17.	Biological Reference Interval	12

18.	Reportable Interval	12

19.	Procedure when Results are not in Range	12

20.	Critical Alert Values	12

21.	Laboratory Clinical Interpretation	12

22.	Potential Source of Variability	13

23.	References	13

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Sadiya Shahnaz Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | ANA | Anti Nuclear Antibody |
| 2 | CDC | Center for Disease Control and Prevention |
| 3 | EQAS | External Quality Assurance Scheme |
| 4 | IFA | Immunofluorescence Assay |
| 5 | LE | Lupus Erythematosus |
| 6 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 7 | PBS | Phosphate-Buffered Saline |
| 8 | QC | Quality Control |
| 9 | SE | Serology |
| 10 | SLE | Systemic Lupus Erythematosus |
| 11 | SOP | Standard Operating Procedure |
| 12 | SSA/Ro | Sjögren's Syndrome-related Antigen A/Ro |
| 13 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- This SOP describes the procedure to detect Anti Nuclear Antibodies by the Line Probe Immunoassay method.

- Scope

- This procedure applies to all staff of the Serology Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Serology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- ANA by IFA, or Antinuclear Antibody by Indirect Immunofluorescence Assay, is a blood test used to detect antinuclear antibodies (ANAs) in the blood. These antibodies are produced by the immune system and can target the nucleus of cells, which can be a sign of autoimmune diseases.

- Test Principle

- Immuno Concepts’ Fluorescent ANA Test System uses the indirect fluorescent antibody technique first described by Weller and Coons. Patient samples are incubated with antigen substrate to allow specific binding of autoantibodies to cell nuclei. If ANA’s are present, a stable antigen-antibody complex is formed. After washing to remove non-specifically bound antibodies, the substrate is incubated with an anti-human antibody conjugated to fluorescein. When results are positive, there is the formation of a stable three-part complex consisting of fluorescent antibody bound to human antinuclear antibody, which is bound to nuclear antigen. This complex can be visualized with the aid of a fluorescent microscope. In positive samples, the cell nuclei will show an apple-green fluorescence with a staining pattern characteristic of the particular nuclear antigen distribution within the cells. If the sample is negative for ANA, the nucleus will not show a clearly discernible pattern of nuclear fluorescence.

- Specific Performance Characteristics

- ANA IFA kit – Immuoconcepts – ANA IFA Kit

| Sensitivity | 95% |
| --- | --- |
| Specificity | 100% |

- Type of Sample

- Serum.

- Patient Preparation

- No special preparation of the patient is required prior to specimen collection by approved techniques.

- Type of Container & Additives

- Collect 2 ml of venous blood in a plain, red-topped vacutainer.

- Equipment & Reagents

Sterile powder free gloves

Lab coats

ANA IFA kit – Controls, Slides, PBS powder, Fluorescent antibody tagged reagent, mounting medium, coverslips

Pipettes

Blotting paper

Wash container/ Coplin Jar/ Staining Dishes

Distilled water

Lab timer

Fluorescent microscope equipped with 495 nm exciter filter and 515 nm barrier filter

- Safety

The use of disposable gloves and proper biohazardous clothing is STRONGLY RECOMMENDED while running the test.

In case there is a cut or wound on the hand, DO NOT PERFORM THE TEST.

Do not smoke, drink or eat in areas where specimens or kit reagents are being handled.

Tests are for in vitro diagnostic use only and should be run by competent personnel only.

Do not pipette by mouth.

All materials used in the assay and samples should be decontaminated in 1% sodium hypochlorite solution for 30-60 min. They should be disposed of in accordance with established safety procedures.

Wash hands thoroughly with soap or any suitable detergent, after the use of the kit. Consult a physician immediately in case of accident or contact with eyes, in the event that contaminated material is ingested or comes in contact with skin punctures or wounds.

Spills should be decontaminated promptly with Sodium Hypochlorite or any other suitable disinfectant.

- Calibration Procedure

- Centrifuge calibration is done on an annual basis by a NABL accredited calibration agency or by specific instruction guidelines of the equipment manufacturer.

- Test Procedure

Pre-Procedure Preparation

      - Bring all the reagents and specimens to required temperature before beginning the test. The reagents should not be subjected to frequent temperature fluctuations.

      - Do not use kit components beyond the expiration date.

      - The procedural sequence of reagent addition should be strictly adhered to avoid any discrepant results.

      - Preparation of Buffer - Dissolve contents of one buffer pouch in one liter of deionized or distilled water. The PBS buffer may be covered and stored at 2-10°C up to four weeks

      - Sample Dilution - Dilute patient samples to 1:80 by adding 5 μl serum to 395 μl sample diluent.

Procedure

      - Before each use, all reagents, need to be thawed completely, mixed (by repeated pipetting), and centrifuged briefly.

      - Take the required number of slide wells and mark the respective wells for Controls and Samples.

      - Invert control dropper bottle and squeeze gently until drop is visible at the tip. Gently touch the drop to appropriate control well while avoiding direct contact of dropper tip with slide surface. Place positive & negative control as desired.

      - Add 1 drop (25-30 μl) patient sample to the numbered wells.

- Caution: Direct contact of dropper tip with slide surface may result in damage to the antigen substrate.

      - Incubate Slides (30 ± 5 minutes at room temperature, i.e. 18-24°C): Place slide(s) into a moist covered chamber (a petri dish with moistened paper toweling will be adequate).

      - PBS Rinse: Remove slide(s) from incubator tray and rinse briefly with PBS using a squirt bottle, Pasteur, or serological pipette. Do not squirt buffer directly on the wells. NOTE: To avoid cross contamination on 14- well slides, direct PBS stream along midline of slide, tilting first toward rows 1-7 followed by tilting toward wells 8-14.

      - PBS Wash (10 minutes): Wash slide(s) 10 minutes with PBS in a slide staining dish or Coplin jar. Gentle agitation is recommended. This wash may be extended 10-30 minutes with no variability in final test results. Discard PBS wash solution after use.

      - Fluorescent antibody reagent (Cover the wells with 14-16 drops): Remove one slide at a time from PBS. Tap slide on its side against bibulous paper or a paper towel to remove excess water. Cover the wells completely using fluorescent antibody reagent; begin by placing a drop over each well. Repeat for each slide. NOTE: It is important that slide wells do not dry during this procedure or damage to the substrate may occur. Do not blot or dry the slide in any manner or allow slide to sit without fluorescent antibody reagent for longer than 15 seconds.

      - Incubate Slides (30 ± 5 minutes at room temperature, i.e. 18-24°C): Cover the slides with an opaque incubation chamber or keep the slides in petri dishes and cover the petri dishes with a paper towel to prevent exposure to light. Allow slide(s) to incubate for 30 minutes (±5 minutes) at room temperature (18-24°C).

      - PBS Rinse: Remove slide(s) from incubator tray and rinse briefly with PBS. Do not squirt buffer directly on the wells.

      - PBS Wash (10 minutes): Wash slide(s) for 10 minutes with PBS in a slide staining dish or Coplin jar. Gentle agitation is recommended. This wash may be extended 10-30 minutes with no variability in final test results.

      - Mount Coverslip: Remove one slide at a time from PBS. Tap slide on its side against bibulous paper or paper towel to remove excess water. Do not blot or dry the slide in any manner or allow it to sit without coverslip for longer than 15 seconds. Add 4-5 drops of semi-permanent mounting medium along midline of each slide. Carefully place coverslip in position, avoiding air pockets, by gently lowering coverslip from one end of the slide to the other.

- NOTE: Excess mounting medium on slide may result in high background fluorescence, due to light scattering, or lack of clear resolution of cells (blurred image). Excess mounting medium may be removed from slide by gently blotting coverslip with bibulous or lens paper while avoiding any direct movement of the coverslip.

      - Observe the slide under fluorescent microscope. 200X total magnification is recommended for screening positive/negative and titer end-point determination, while 400X total magnification is recommended for pattern recognition and viewing mitotic cells.

- Quality Control Procedure

A Negative control and a positive control are included in each run. QC must be acceptable (in control) before the testing and reporting of results. Any test results obtained when QC is unacceptable or not performed are invalid and must be repeated. The person performing testing must evaluate QC results and accordingly determine validity of the test run.

All kits and lots will be tested as per reagent acceptability criteria.

EQAS participation – Interlaboratory comparison done annually with two samples.

- Interfering Substances

- Sera exhibiting a high degree of hemolysis, icterus, lipemia, or microbial growth should not be used because these conditions may cause aberrant results. Specimens containing visible particulate matter should be clarified by centrifugation before testing. Contamination of reagents can give erroneous results.

- Result Calculation

- QUALITY CONTROL Positive, negative, and PBS controls should be tested one time per run. The positive control should show bright apple-green fluorescence in the nuclei of the cells, with a clearly discernible pattern characteristic of the control serum that was used. The negative control should show low intensity, nonspecific dull green fluorescence in both the cytoplasm and nucleus, but with no discernible pattern of nuclear staining. The PBS control is used to observe non-specific staining by the antibody reagent, and should not exhibit any green fluorescence. If the controls do not appear as described, the test is invalid and should be repeated. The five pattern controls should be run at least once for each lot of kits to demonstrate the expected appearance of the ANA patterns. If the HEp-2000® ANA test is to be used for confirmation of the presence of anti-SSA/Ro antibodies, the SSA/Ro Positive Control, catalog number 2035-Ro, must be run on at least one slide in that day’s run.

- Biological Reference Interval

- Negative by IFA screen

- Reportable Interval

- 48 Hours

- Procedure when Results are not in Range

- When QC results are not appropriate or when there is a potential error in the reagent step or when the staining is improper or when the results are not matching with other investigations, the test is repeated again.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

Negative: A serum is considered negative for antinuclear antibodies if nuclear staining is less than or equal to the negative control well with no clearly discernible pattern. The cytoplasm may demonstrate weak staining, with brighter staining of the non-chromosome region of mitotic cells, but with no clearly discernible nuclear pattern.

Positive: A serum is considered positive if the nucleus shows a clearly discernible pattern of staining in a majority of the interphase cells. Patterns are recognised with the help of information available at the website - https://www.anapatterns.org/

CAUTION: Some sera may demonstrate nuclear and cytoplasmic staining with no apparent nuclear pattern. This phenomenon is generally due to heterophile antibodies and should be reported as negative.

FLUORESCENT INTENSITY: Fluorescent intensity may be semi-quantitated by following the guidelines for fluorescent antibody reagents established by the Centers for Disease Control and Prevention, Atlanta, Georgia (CDC).

      - 4+ Brilliant yellow-green (maximal fluorescence): Clear-cut cell outline; sharply defined cell center

      - 3+ Less brilliant yellow-green fluorescence: Clear-cut cell outline; sharply defined cell center

      - 2+ Definite cell pattern but dim fluorescence: Cell outline less well-defined

      - 1+ Very subdued fluorescence: Cell outline almost indistinguishable from cell center in most instances.

- Potential Source of Variability

Diagnosis cannot be made on the basis of antinuclear antibody detection alone. The physician must interpret these results in conjunction with the patient’s history and symptoms, the physical findings, and other diagnostic procedures. Treatment should not be initiated on the sole basis of a positive test for antinuclear antibodies. Clinical indications, other laboratory findings, and the physician’s clinical impression must be considered before any treatment is initiated.

Certain drugs, including procainamide and hydralazine, may induce a lupus erythematosus-like disease.

Patients with drug-induced LE may demonstrate positive homogeneous or homogeneous/peripheral ANAs commonly directed against nuclear histones.

A small percentage of patients with SLE may not demonstrate ANAs by indirect immunofluorescence but may have ANAs by other techniques.

Positive ANAs are also seen in a small percentage of patients with infectious and/or neoplastic diseases.

- References

IMMUNO CONCEPTS – ANA IFA Kit Insert

https://www.anapatterns.org/