THIS QUALITY MANAGEMENT SYSTEM DOCUMENT IS THE PROPERTY OF

TRUSTLAB DIAGNOSTICS PRIVATE LIMITED

AND IS RELEASED UNDER THE AUTHORITY OF

THE LAB DIRECTOR

Name:

Designation: Lab Director

Signature:

Date of issue:   23rd SEPTEMBER 2024

The Quality Management System Document is based upon

International Standard ISO 15189: 2022

Medical Laboratories - Requirements for Quality and Competence

### Table of Contents

| ISO 15189:2022 | QSM Doc. No. | Contents | Revision Status | Page No. |
| --- | --- | --- | --- | --- |
|  | A | Title Page | 00 | 1 |
|  | B | Table of Contents | 00 | 2 |
|  | B | Amendment Record Sheet | 00 | 9 |
|  | D | Distribution List | 00 | 10 |
|  | E | List of Abbreviations | 00 | 11 |
| 1.0 | 1.0 | Scope | 00 | 12 |
|  | F | Organization Profile | 00 | 13 |
|  | G | Corporate Structure | 00 | 14 |
|  | H | Organogram | 00 | 15 |
|  | I | Inter-departmental Collaboration | 00 | 16 |
|  | J | Quality Policy | 00 | 17 |
|  | K | Quality Objectives | 00 | 18 |
| 2.0 | 2.0 | Normative Reference | 00 | 19 |
| 3.0 | 3.0 | Terms and Definitions | 00 | 20 |
| 4.0 | 4.0 | General Requirements | 00 | 24 |
| 4.1 | 4.1 | Impartiality | 00 | 24 |
| 4.2 | 4.2 | Confidentiality | 00 | 24 |
| 4.2.1 | 4.2.1 | Management of Patient Information | 00 | 24 |
| 4.2.2 | 4.2.2 | Release of Information | 00 | 25 |
| 4.2.3 | 4.2.3 | Personnel Responsibility | 00 | 25 |
| 4.3 | 4.3 | Requirements Regarding Patients | 00 | 26 |
| 5.0 | 5.0 | Structural & Governance Requirements | 00 | 27 |
| 5.1 | 5.1 | Legal Entity | 00 | 27 |
| 5.2 | 5.2 | Laboratory Director | 00 | 27 |
| 5.2.1 | 5.2.1 | Laboratory Director Competence | 00 | 27 |
| 5.2.2 | 5.2.2 | Laboratory Director Responsibilities | 00 | 28 |
| 5.2.3 | 5.2.3 | Delegation of duties | 00 | 28 |
| 5.3 | 5.3 | Laboratory Activities | 00 | 28 |
| 5.3.1 | 5.3.1 | General | 00 | 28 |
| 5.3.2 | 5.3.2 | Conformance with Requirements | 00 | 29 |
| 5.3.3 | 5.3.3 | Advisory Activities | 00 | 29 |
| 5.4 | 5.4 | Structure and Authority | 00 | 30 |
| 5.4.1 | 5.4.1 | General | 00 | 30 |
| 5.4.2 | 5.4.2 | Quality Management | 00 | 30 |
| 5.5 | 5.5 | Objectives and Policies | 00 | 31 |
| 5.6 | 5.6 | Risk Management | 00 | 32 |
| 6.0 | 6.0 | Resource Requirements | 00 | 33 |
| 6.1 | 6.1 | General | 00 | 33 |
| 6.2 | 6.2 | Personnel | 00 | 33 |
| 6.2.1 | 6.2.1 | General | 00 | 33 |
| 6.2.2 | 6.2.2 | Competency Requirements | 00 | 34 |
| 6.2.3 | 6.2.3 | Authorization | 00 | 34 |
| 6.2.4 | 6.2.4 | Continuing education and professional development | 00 | 35 |
| 6.2.5 | 6.2.5 | Personnel Records | 00 | 35 |
| 6.3 | 6.3 | Facilities and Environmental Conditions | 00 | 36 |
| 6.3.1 | 6.3.1 | General | 00 | 36 |
| 6.3.2 | 6.3.2 | Facility Controls | 00 | 36 |
| 6.3.3 | 6.3.3 | Storage Facilities | 00 | 37 |
| 6.3.4 | 6.3.4 | Personnel Facilities | 00 | 37 |
| 6.3.5 | 6.3.5 | Sample Collection Facilities | 00 | 37 |
| 6.4 | 6.4 | Equipment | 00 | 38 |
| 6.4.1 | 6.4.1 | General | 00 | 38 |
| 6.4.2 | 6.4.2 | Equipment Requirements | 00 | 38 |
| 6.4.3 | 6.4.3 | Equipment Acceptance Procedure | 00 | 39 |
| 6.4.4 | 6.4.4 | Equipment Instructions for Use | 00 | 39 |
| 6.4.5 | 6.4.5 | Equipment Maintenance and Repair | 00 | 39 |
| 6.4.6 | 6.4.6 | Equipment Adverse Incident Reporting | 00 | 40 |
| 6.4.7 | 6.4.7 | Equipment Records | 00 | 40 |
| 6.5 | 6.5 | Equipment Calibration and Metrological Traceability | 00 | 41 |
| 6.5.1 | 6.5.1 | General | 00 | 41 |
| 6.5.2 | 6.5.2 | Equipment Calibration | 00 | 42 |
| 6.5.3 | 6.5.3 | Metrological Traceability of Measurement Results | 00 | 42 |
| 6.6 | 6.6 | Reagents and Consumables | 00 | 43 |
| 6.6.1 | 6.6.1 | General | 00 | 43 |
| 6.6.2 | 6.6.2 | Reagents and Consumables – Receipt and Storage | 00 | 43 |
| 6.6.3 | 6.6.3 | Reagents and Consumables – Acceptance Testing | 00 | 44 |
| 6.6.4 | 6.6.4 | Reagents and Consumables — Inventory Management | 00 | 44 |
| 6.6.5 | 6.6.5 | Reagents and Consumables – Instructions for Use | 00 | 44 |
| 6.6.6 | 6.6.6 | Reagents and Consumables – Adverse Incident Reporting | 00 | 44 |
| 6.6.7 | 6.6.7 | Reagents and Consumables — Records | 00 | 45 |
| 6.7 | 6.7 | Service Agreements | 00 | 45 |
| 6.7.1 | 6.7.1 | Agreements with Laboratory Users | 00 | 45 |
| 6.7.2 | 6.7.2 | Agreements with POCT Users | 00 | 46 |
| 6.8 | 6.8 | Externally Provided Products and Services | 00 | 46 |
| 6.8.1 | 6.8.1 | General | 00 | 46 |
| 6.8.2 | 6.8.2 | Referral Laboratories & Consultants | 00 | 47 |
| 6.8.3 | 6.8.3 | Review and Approval of Externally Provided Products and Services | 00 | 47 |
| 7.0 | 7.0 | Process Requirements | 00 | 49 |
| 7.1 | 7.1 | General | 00 | 49 |
| 7.2 | 7.2 | Pre-examination Processes | 00 | 49 |
| 7.2.1 | 7.2.1 | General | 00 | 49 |
| 7.2.2 | 7.2.2 | Laboratory Information for Patients and Users | 00 | 49 |
| 7.2.3 | 7.2.3 | Requests for Providing Examinations | 00 | 50 |
|  | 7.2.3.1 | General | 00 | 50 |
|  | 7.2.3.2 | Oral Requests | 00 | 50 |
| 7.2.4 | 7.2.4 | Primary Sample Collection and Handling | 00 | 51 |
|  | 7.2.4.1 | General | 00 | 51 |
|  | 7.2.4.2 | Information for Pre-collection Activities | 00 | 51 |
|  | 7.2.4.3 | Patient Consent | 00 | 52 |
|  | 7.2.4.4 | Instructions for Collection Activities | 00 | 52 |
| 7.2.5 | 7.2.5 | Sample Transportation | 00 | 53 |
| 7.2.6 | 7.2.6 | Sample Receipt | 00 | 54 |
|  | 7.2.6.1 | Sample Receipt Procedure | 00 | 54 |
|  | 7.2.6.2 | Sample Acceptance Exceptions | 00 | 55 |
| 7.2.7 | 7.2.7 | Pre-examination Handling, Preparation, and Storage | 00 | 55 |
|  | 7.2.7.1 | Sample Protection | 00 | 55 |
|  | 7.2.7.2 | Criteria for Additional Examination Requests | 00 | 56 |
|  | 7.2.7.3 | Sample Stability | 00 | 56 |
| 7.3 | 7.3 | Examination Processes | 00 | 56 |
| 7.3.1 | 7.3.1 | General | 00 | 56 |
| 7.3.2 | 7.3.2 | Verification of Examination Methods | 00 | 57 |
| 7.3.3 | 7.3.3 | Validation of Examination Methods | 00 | 57 |
| 7.3.4 | 7.3.4 | Evaluation of Measurement Uncertainty (MU) | 00 | 59 |
| 7.3.5 | 7.3.5 | Biological Reference Intervals and Clinical Decision Limits | 00 | 59 |
| 7.3.6 | 7.3.6 | Documentation of Examination Procedures | 00 | 60 |
| 7.3.7 | 7.3.7 | Ensuring the Validity of Examination Results | 00 | 61 |
|  | 7.3.7.1 | General | 00 | 61 |
|  | 7.3.7.2 | Internal Quality Control (IQC) | 00 | 61 |
|  | 7.3.7.3 | External Quality Assessment (EQA) | 00 | 63 |
|  | 7.3.7.4 | Comparability of Examination Results | 00 | 64 |
| 7.4 | 7.4 | Post-examination Processes | 00 | 65 |
| 7.4.1 | 7.4.1 | Reporting of results | 00 | 65 |
|  | 7.4.1.1 | General | 00 | 65 |
|  | 7.4.1.2 | Result Review and Release | 00 | 65 |
|  | 7.4.1.3 | Critical Result Reports | 00 | 65 |
|  | 7.4.1.4 | Special Considerations for Results | 00 | 66 |
|  | 7.4.1.5 | Automated Selection, Review, Release and Reporting of Results | 00 | 66 |
|  | 7.4.1.6 | Requirements for Reports | 00 | 67 |
|  | 7.4.1.7 | Additional Information for Reports | 00 | 68 |
|  | 7.4.1.8 | Amendments to Reported Results | 00 | 69 |
| 7.4.2 | 7.4.2 | Post-examination Handling of Samples | 00 | 69 |
| 7.5 | 7.5 | Nonconforming Work | 00 | 70 |
| 7.6 | 7.6 | Control of Data and Information Management | 00 | 71 |
| 7.6.1 | 7.6.1 | General | 00 | 71 |
| 7.6.2 | 7.6.2 | Authorities and Responsibilities for Information Management | 00 | 71 |
| 7.6.3 | 7.6.3 | Information Systems Management | 00 | 71 |
| 7.6.4 | 7.6.4 | Downtime Plans | 00 | 72 |
| 7.6.5 | 7.6.5 | Off-site Management | 00 | 72 |
| 7.7 | 7.7 | Complaints | 00 | 73 |
| 7.7.1 | 7.7.1 | Process | 00 | 73 |
| 7.7.2 | 7.7.2 | Receipt of Complaint | 00 | 73 |
| 7.7.3 | 7.7.3 | Resolution of Complaint | 00 | 74 |
| 7.8 | 7.8 | Continuity and Emergency Preparedness Planning | 00 | 74 |
| 8.0 | 8.0 | Management System Requirements | 00 | 75 |
| 8.1 | 8.1 | General Requirements | 00 | 75 |
| 8.1.1 | 8.1.1 | General | 00 | 75 |
| 8.1.2 | 8.1.2 | Fulfilment of Management System Requirements | 00 | 75 |
| 8.1.3 | 8.1.3 | Management System Awareness | 00 | 75 |
| 8.2 | 8.2 | Management System Documentation | 00 | 76 |
| 8.2.1 | 8.2.1 | General | 00 | 76 |
| 8.2.2 | 8.2.2 | Competence and Quality | 00 | 76 |
| 8.2.3 | 8.2.3 | Evidence of Commitment | 00 | 76 |
| 8.2.4 | 8.2.4 | Documentation | 00 | 76 |
| 8.2.5 | 8.2.5 | Personnel Access | 00 | 76 |
| 8.3 | 8.3 | Control of Management System Documents | 00 | 77 |
| 8.3.1 | 8.3.1 | General | 00 | 77 |
| 8.3.2 | 8.3.2 | Control of Documents | 00 | 77 |
| 8.4 | 8.4 | Control of Records | 00 | 78 |
| 8.4.1 | 8.4.1 | Creation of Records | 00 | 78 |
| 8.4.2 | 8.4.2 | Amendment of Records | 00 | 78 |
| 8.4.3 | 8.4.3 | Retention of Records | 00 | 78 |
| 8.5 | 8.5 | Actions to Address Risks and Opportunities for Improvement | 00 | 79 |
| 8.5.1 | 8.5.1 | Identification of Risks and Opportunities for Improvement | 00 | 79 |
| 8.5.2 | 8.5.2 | Acting on Risks and Opportunities for Improvement | 00 | 79 |
| 8.6 | 8.6 | Improvement | 00 | 80 |
| 8.6.1 | 8.6.1 | Continual Improvement | 00 | 80 |
| 8.6.2 | 8.6.2 | Laboratory Patients, User and Personnel Feedback | 00 | 80 |
| 8.7 | 8.7 | Nonconformities and Corrective Actions | 00 | 81 |
| 8.7.1 | 8.7.1 | Actions when Nonconformity Occurs | 00 | 81 |
| 8.7.2 | 8.7.2 | Corrective Action Effectiveness | 00 | 81 |
| 8.7.3 | 8.7.3 | Records of Nonconformities and Corrective Actions | 00 | 81 |
| 8.8 | 8.8 | Evaluations | 00 | 82 |
| 8.8.1 | 8.8.1 | General | 00 | 82 |
| 8.8.2 | 8.8.2 | Quality Indicators | 00 | 82 |
| 8.8.3 | 8.8.3 | Internal Audits | 00 | 82 |
|  | 8.8.3.1 | Internal Audit Intervals | 00 | 82 |
|  | 8.8.3.2 | Internal Audit Program | 00 | 83 |
| 8.9 | 8.9 | Management Reviews | 00 | 83 |
| 8.9.1 | 8.9.1 | General | 00 | 83 |
| 8.9.2 | 8.9.2 | Review Input | 00 | 84 |
| 8.9.3 | 8.9.3 | Review Output | 00 | 84 |

| S. No. | Version No. | Version Date | Rev. No. | Rev. Date | Approved By |
| --- | --- | --- | --- | --- | --- |
| Changes made (include Section / Clause / Paragraph / Line): |  |  |  |  |  |
| Changes made (include Section / Clause / Paragraph / Line): |  |  |  |  |  |
| Changes made (include Section / Clause / Paragraph / Line): |  |  |  |  |  |
| Changes made (include Section / Clause / Paragraph / Line): |  |  |  |  |  |  |

### Record of Amendments

### Distribution List

| Controlled Copy No. | Name / Designation of the holder of the controlled copy | Type of Copy | Issue No | Revision No |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 04 | 00 |
| 02/10 | Lab Director | Controlled Copy | 04 | 00 |
| 03/10 | Quality Manager | Master Copy | 04 | 00 |
| 04/10 | HOD - Microbiology & Infectious Disease, Molecular Biology | Controlled Copy | 04 | 00 |
| 05/10 | HOD - Haematology & Clinical Pathology | Controlled Copy | 04 | 00 |
| 06/10 | HOD - Histopathology | Controlled Copy | 04 | 00 |
| 07/10 | HOD - Clinical Biochemistry | Controlled Copy | 04 | 00 |
| 08/10 | Sample Receiving and Distributing Area | Controlled Copy | 04 | 00 |
| 09/10 | HR Department | Controlled Copy | 04 | 00 |
| 10/10 | NABL Copy | Uncontrolled Copy | 04 | 00 |

### List of Abbreviations

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1. | TDPL | TRUSTlab Diagnostics Private Limited |
| 2. | ISO | International Organization for Standardization |
| 3. | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 4. | QA | Quality Assurance |
| 6. | QM | Quality Manager |
| 7. | EQA | External Quality Assurance |
| 8. | HR | Human Resources |
| 9. | LIMS | Laboratory Information Management System |
| 10. | TAMS | TRUSTlab Asset Management Software |
| 11. | DOMAS | Document Management System |
| 12. | QT QMS | Quality comes before Trust Quality Management System |
| 13. | IQC | Internal Quality Control |
| 14. | QC | Quality Control |
| 15. | IVD | In Vitro Diagnostics |
| 16. | DOS | Directory of Services |
| 17. | POCT | Point of Care Testing |
| 18. | TAT | Turn Around Time |
| 19. | MU | Measurement Uncertainty |
| 20. | MSC | Master of Science |
| 21. | VIM | International Vocabulary of Methodology |
| 22. | SI | International Systems of Units |
| 23. | MAN | Manual |
| 24. | MSP | Management System Procedure |
| 25. | FOL | Folder |

### Scope

The scope and application of this Quality Management System comply with the              ISO 15189: 2022 standards and NABL-112 documents.

The scope applies to all medical services offered at TRUSTlab Diagnostics Pvt. Ltd., Prakash Nagar, Hyderabad which include:

- Department of Clinical Biochemistry

- Department of Hematology

- Department of Clinical Pathology

- Department of Microbiology & Infectious Disease

- Department of Molecular Biology

- Department of Histopathology

TRUSTlab Diagnostics Pvt. Ltd., Prakash Nagar, Hyderabad is a Medium Size Laboratory and receives 101 – 400 patients per day as per the criteria laid down in NABL document 112.

### TRUSTlab BUSINESS PROFILE

TRUSTlab Diagnostics Pvt. Ltd. is a state-of-the-art, well-equipped referral diagnostic laboratory located at Street No. 5, Prakash Nagar, Begumpet, Hyderabad, Telangana. Its central location offers convenient accessibility to patients and hospitals within Hyderabad and beyond. TRUSTlab’s state-of-the-art equipment is meticulously calibrated and maintained to ensure the highest accuracy in diagnostic procedures.

TRUSTlab stands out for its unique capabilities and excellence across all branches of laboratory medicine, offering a comprehensive range of diagnostic services in Microbiology & Infectious control, Molecular Biology, Clinical Pathology, Clinical Chemistry, Hematology, Histopathology, Flow-cytometry and more.

TRUSTlab Diagnostics Pvt. Ltd. offers an extensive and continually expanding range of laboratory diagnostic procedures, delivering world-class, top-notch diagnostic services.

The facility boasts comprehensive technical expertise, driven by its dedicated team of clinical and technical professionals. Our experts are highly trained and qualified, ensuring the highest standards of patient care. TRUSTlab takes pride in employing a team of medical postgraduates and MSc graduates across all fields of laboratory medicine, in addition to skilled and well-trained laboratory technicians.

TRUSTlab Diagnostics Pvt. Ltd. is committed to delivering high-quality services in laboratory medicine, serving the people of Hyderabad and the rest of India.

### Corporate Chain

Organogram

### TRUStLAB’S Inter-departmental Collaboration

### QUALITY POLICY

TRUSTlab Diagnostics is dedicated to upholding the highest standards of quality and accuracy in every test we perform. We commit to using state-of-the-art technology, robust quality control measures, and scientifically validated methods to ensure precise, reliable, and reproducible results. Every member of our team upholds impartiality and pursues excellence through ongoing training, strict adherence to regulatory standards and a commitment to continuous improvement. We prioritize patient safety, confidentiality, and satisfaction by delivering accurate, timely, actionable insights that empower healthcare providers to make informed decisions.

Venkata Suman Cherukuri

Chairman & Managing Director

### QUALITY OBJECTIVES

- To ensure 100% compliance with accreditation standards set by ISO 15189:2022 (Medical Laboratories - Requirements for Quality and Competence) and specific criteria set by NABL.

- To achieve 95% TAT of all the tests conducted in our laboratory.

- To provide a minimum of 12 training sessions to our employees to enhance their Knowledge and Competency.

- To achieve Customer satisfaction of 80% and above.

- To achieve 99% accuracy in the examination reports that are released to all of our customers/patients.

- To maintain 100% confidentiality about the customer/patient test data.

### Normative References

The following referenced documents are indispensable for the application of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments) applies.

- ISO/IEC Guide 99:2007, International vocabulary of methodology - Basic & general concepts & associated terms (VIM)

- ISO/IEC Guide 17000:2020, Conformity assessment – Vocabulary and general principles

- ISO/IEC Guide 17025:2017, General requirements for the competence of testing and calibration laboratories.

### Terms & Definitions

The terms and definitions as explained in Clause 3 of ISO 15189:2022 are adopted in the documentation of this Manual.

# Bias / Measurement Bias:

An Estimate of a systematic measurement error.

# Biological reference interval / reference interval:

The specified interval of distribution of values taken from a biological reference population.

# Clinical Decision Limit:

The examination result that indicates a higher risk of adverse clinical outcomes, or is diagnostic for the presence of a specific disease.

# Commutability of a reference material / commutability

The property of a reference material, demonstrated by the closeness of agreement between the relation among the measurement results for a stated quantity in this material, obtained according to two given measurement procedures and the relation obtained among the measurement result for other specified materials.

# Competence:

Demonstrated ability to apply knowledge and skills to achieve intended results.

# Complaint:

An expression of dissatisfaction by any person or organization to a laboratory, relating to the activities or results of that laboratory, where a response is expected.

# Consultant:

A person who provides expert advice professionally.

# Examination:

Set of operations having the object of determining the numerical value, text value or characteristics of the property.

# Examination Procedure:

Specifically described set of operations used in the performance of an examination according to a given method.

# External Quality Assessment:

Evaluation of participant performance against pre-established criteria by means of interlaboratory comparisons.

# Impartiality:

Objectivity with regard to the outcome of tasks performed by the medical laboratory.

# Interlaboratory Comparison:

An organization, performance and evaluation of measurement or examination on the same or similar materials by two or more independent laboratories in accordance with pre-determined conditions.

# Internal Quality Control / IQC / Quality Control / QC:

Internal procedure which monitors the testing process to verify the system is working correctly and gives confidence that the results are reliable enough to be released.

# In vitro Diagnostic Medical Device / IVD Medical Device:

A device, whether used alone or in combination, intended by the manufacturer for the in vitro examination of specimens derived from the human body solely or principally to provide information for diagnostic, monitoring or compatibility purposes and including reagents, calibrations, control materials, specimen receptacles, software, and related instruments or apparatus or other articles.

# Laboratory Management:

A person with responsibility for, and authority over a laboratory.

# Laboratory User:

Individual or entity requesting services of the medical laboratory.

# Management System:

A set of interrelated or interacting elements of an organization to establish policies and objectives, and processes to achieve those objectives.

# Measurement Accuracy/Accuracy of Measurement Accuracy:

Closeness of agreement between a measured quantity value and a true quantity value of a measurand.

# Measurement Uncertainty:

Non-negative parameter characterizing the dispersion of the quantity values being attributed to a measurand, based on the information used.

# Medical Laboratory:

Entity for the examination of materials derived from the human body for the purpose of providing information for the diagnosis, monitoring, management, prevention, and treatment of disease, or assessment of health.

# Patient:

A person who is the source of material for an examination.

# Point-of-Care Testing/POCT:

Examination performed near or at the site of a patient.

# Post-examination processes:

Processes following the examination, including review of results, formatting, releasing, reporting and retention of examination results, retention and storage of clinical material, sample and waste disposal.

# Pre-examination processes:

Processes that start, in chronological order, from the user’s request and include the examination request, preparation and identification of the patient, collection of the primary samples(s) transportation to and within the laboratory, ending when the examination begins.

# Primary sample specimen:

A discrete portion of a body fluid or tissue or other sample associated with the human body taken for examination, study or analysis of one or more quantities or characteristics to determine the character of the whole.

# Quality Indicator:

A measure of the degree to which a large number of characteristics of an object fulfils requirements.

# Referral Laboratory:

External laboratory to which a sample or data is submitted for examination.

# Sample:

One or more parts taken from a primary sample.

# Trueness Measurement Trueness:

Closeness of agreement between the average of an infinite number of replicate measured quantity values and a reference quantity value.

# Turnaround Time

Elapsed time between two specified points through pre-examination, examination and post-examination processes.

# Validation

Confirmation of plausibility for a specific intended use or application through the provision of objective evidence that specified requirements have been fulfilled.

# Verification

Confirmation of truthfulness, through the provision of objective evidence that specified requirements have been fulfilled.

### General Requirements

#### Impartiality

- TRUSTlab Diagnostics Pvt Ltd (TRUSTlab) is dedicated to performing all activities impartially. TRUSTlab has implemented a robust management system for upholding operational independence, preventing conflicts of interest and safeguarding impartiality.

- TRUSTlab’s Management is deeply committed to impartiality.

- TRUSTlab accepts full accountability for maintaining impartiality and does not allow any commercial, financial, or external pressures to influence or compromise its integrity and ethical standards.

- TRUSTlab’s commitment extends to the proactive monitoring of its operations, processes and personnel relationships to identify any potential risks that could threaten impartiality.

- In the event such risks are identified, TRUSTlab takes immediate and decisive actions to either eliminate or significantly minimize their impact, thereby maintaining its commitment to impartiality.

TRUSTlab’s procedure for adhering to impartiality is documented in TDPL/QA/MAN-002/ MSP-001: Procedure for Ensuring Impartiality & Individuality.

All personnel working at TRUSTlab are required to sign a Declaration of Impartiality upon onboarding and at periodic intervals as deemed necessary.

The signed declarations are collected and securely maintained by the Human Resources (HR) Department.

#### Confidentiality

#### Management of Information

TRUSTlab is responsible, through legally enforceable agreements, for the management of all patient information obtained or created during the performance of the laboratory activities. Management of patient information includes privacy and confidentiality. TRUSTlab informs the user and/or the patient, in advance, of the information it intends to place in the public domain. Except for the information that the user and/or patient makes publicly available or when agreed between TRUSTlab and the patient (e.g. for the purpose of responding to complaints), all other information is considered proprietary information and is regarded as confidential.

#### Release of Information

When TRUSTlab is legally required or authorized through contractual arrangements to release confidential patient information, the affected patient is notified of the disclosure, except in cases where such notification is prohibited by law.

TRUSTlab is committed to protecting the confidentiality of patient information received from sources other than the patient (e.g., complainants, regulators). The identity of such sources is kept confidential and not disclosed to the patient unless explicitly agreed upon by the source.

#### Personnel Responsibility

All personnel, including committee members, contractors, external body representatives, or any individuals with access to laboratory and/or patient information while acting on behalf of TRUSTlab, are obligated to forever maintain the confidentiality of all information obtained or created during the performance of laboratory activities.

TRUSTlab’s procedure for maintaining confidentiality is documented in TDPL/QA/MAN-002/ MSP-002: Procedure for Maintaining Confidentiality.

All personnel working at TRUSTlab are required to sign a Confidentiality Declaration. Service engineers, including those from equipment manufacturers, are also required to sign the Confidentiality Declaration before performing any service or repairs on laboratory equipment. This ensures that even external contractors with access to sensitive information are legally bound to uphold confidentiality standards.

The signed declarations are securely maintained in the personal files of each employee and in Contractor visit files by the Human Resources (HR) Department. This declaration ensures that they understand and agree to uphold the confidentiality of all patient-related information and laboratory activities.

#### Requirements Regarding Patients

The management of TRUSTlab is committed to ensuring that the well-being, safety, and rights of patients remain the primary considerations in all laboratory operations. To uphold this, TRUSTlab has established and implemented the following processes:

- opportunities for patients and laboratory users to provide helpful information to aid the laboratory in the selection of the examination methods, and the interpretation of the examination results;

- provision of patients and users with publicly available information about the examination process, including costs when applicable, and when to expect results;

- periodic review of the examinations offered by the laboratory to ensure they are clinically appropriate and necessary;

- where appropriate, disclosure to patients, users and any other relevant persons, of incidents that resulted or could have resulted in patient harm, and records of actions taken to mitigate those harms;

- treatment of patients, samples, or remains, with due care and respect;

- obtaining informed consent when required;

- ensuring the ongoing availability and integrity of retained patient samples and records in the event of the closure, acquisition or merger of the laboratory;

- making relevant information available to a patient and any other health service provider at the request of the patient or the request of a healthcare provider acting on their behalf;

- upholding the rights of patients to care that is free from discrimination.

The Patient Rights document, duly signed by the Laboratory Director, is prominently displayed at the reception area of TRUSTlab’s laboratory, for easy access and visibility to all patients and visitors. A copy of this document is also maintained in TDPL/QA/FOL-001: Patient Rights.

This ensures that all patients are informed of their rights and that TRUSTlab remains accountable for its commitment to patient care, privacy and ethical practices.

### Structural & Governance Requirements

#### Legal entity

TRUSTlab Diagnostics Pvt. Ltd. is a dynamic medical diagnostics organization incorporated as a private company under the Companies Act, 2013. The company is registered with the Registrar of Companies, Government of India, located in New Delhi. TRUSTlab received its incorporation certificate, bearing the unique identification number U85100TG2020PTC143059, on 22nd August 2020, solidifying its status as a legally responsible entity in the healthcare diagnostics sector that can be held responsible for its activities.

Headquartered in Prakash Nagar, Begumpet, Hyderabad, TRUSTlab Begumpet Laboratory (TRUSTlab for the purpose of this document) is a part of TRUSTlab Diagnostics Pvt. Ltd. It became operational on 14th of April 2021 with the aim of delivering high-quality, reliable diagnostic services. The facility operates as a standalone medical diagnostic reference laboratory, equipped with advanced technologies and staffed by experienced professionals dedicated to providing accurate and timely medical test results.

TRUSTlab Begumpet laboratory is a duly registered laboratory under the Health, Medical & Family Welfare Department of Telangana (No. 07F-APMCE-1600/ 18-12-2020) (Annexure -01). It functions in compliance with the Telangana Allopathic Private

Medical Care Establishment Registration & Regulation Act, ensuring adherence to all statutory requirements and quality standards mandated for private medical establishments in the state.

#### Laboratory Director

#### Laboratory Director Competence

TRUSTlab has designated a highly qualified medical professional as the Lab Director, who is entrusted with the responsibility of managing and directing all laboratory operations. TRUSTlab Management has ensured that the Lab Director meets the specified qualifications and demonstrates the necessary competence to lead effectively. The Lab Director is provided with the appropriate authority, clearly defined responsibilities, and adequate resources to uphold and fulfill the rigorous requirements of ISO 15189:2022, ensuring excellence in laboratory practices and compliance with international standards.

#### Laboratory Director Responsibilities

TRUSTlab’s Laboratory Director holds primary responsibility for the effective implementation and maintenance of the management system. This includes applying comprehensive risk management strategies to all facets of laboratory operations. By systematically identifying and addressing potential risks to patient care, the Laboratory Director ensures the highest standards of safety and quality. Furthermore, the role encompasses recognizing and leveraging opportunities for continuous improvement, fostering a culture of excellence and compliance in alignment with TRUSTlab’s commitment to superior patient outcomes.

The duties and responsibilities of the laboratory director are documented.

TRUSTlab’s records of the duties, responsibilities and competency of the Laboratory Director are maintained in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

#### Delegation of duties

The Laboratory Director delegates selected duties and responsibilities, to qualified and competent personnel, and such delegation is documented. However, the Laboratory Director maintains the ultimate responsibility for the overall operation of the laboratory.

TRUSTlab’s records listing the delegated duties and responsibilities to qualified and competent personnel are maintained in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

#### Laboratory Activities

#### General

TRUSTlab has specified and documented the range of activities, including those performed at sites other than the main location (e.g., sample collection), for which it conforms to ISO 15189:2022. TRUSTlab claims conformity with ISO 15189:2022 only for this defined range of activities, excluding externally provided activities conducted on an ongoing basis.

TRUSTlab’s procedure for pre-examination activities are documented in the TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

#### Conformance with Requirements

TRUSTlab’s laboratory activities are carried out in such a way as to meet the requirements of ISO 15189:2022, the users, regulatory authorities and organizations providing recognition. This applies to the complete range of specified and documented activities, regardless of where the service is provided.

#### Advisory Activities

TRUSTlab Management ensures that appropriate advice and interpretation are available that meet the needs of patients and users.

TRUSTlab has established arrangements for communicating with users on the following when applicable:

- Advising on the choice and use of examinations, including the required type of sample, clinical indications and limitations of examination methods, and the frequency of requesting the examination.

- Providing professional judgments on the interpretation of the results of examinations.

- Promoting the effective utilization of examinations.

- Advising on scientific and logistical matters such as instances of failure of sample(s) to meet acceptability criteria.

TRUSTlab has made available online a Directory of Services (DOS) which is accessible to all patients/laboratory owners/technicians & clinicians, at www.dos.mytrustlab.com.

In addition, regular meetings are held with the patients/laboratory owners/ technicians & clinicians to apprise them of advisory activities.

TRUSTlab’s procedure for such advisory activities is documented in TDPL/QA/FOL-002: Apprise Customers on Clinical Activities & Outcomes.

#### Structure and Authority

#### General

TRUSTlab has:

- defined its organization and management structure, and the relationships between management, technical operations, and support services;

- specified the responsibility, authority, lines of communication, and interrelationship of all personnel who manage, perform, or verify work affecting the results of activities;

- specified its procedures to the extent necessary to ensure the consistent application of its activities and the validity of the results.

Corporate Structure (Refer to page no.14 of this document) shows the business structure of TRUSTlab Diagnostics Pvt Ltd.

Organogram (Refer to page no.15 of this document) shows the interrelationship of all personnel (hierarchy) who manage, perform, or verify work.

TRUSTlab’s Inter-departmental collaboration (Refer to page no.16 of this document) shows the relationships between management, technical operations, and support services.

All relevant procedures are available in the respective TRUSTlab departments.

#### Quality Management

TRUSTlab has personnel who, irrespective of other responsibilities, have the authority and resources needed to carry out their duties, including:

- implementation, maintenance, and improvement of the management system;

- identification of deviations from the management system or from the procedures for performing activities;

- initiation of actions to prevent or minimize such deviations;

- reporting to management on the performance of the management system and any need for improvement;

- ensuring the effectiveness of activities.

The above responsibilities are assigned to the Quality Manager (QM).

TRUSTlab’s record of these duties assigned to the QM are documented in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

#### Objectives and Policies

- TRUSTlab management has established objectives and policies to:

  - meet the needs and requirements of its patients and users;

  - commit to good professional practice;

  - provide examinations that fulfil their intended use;

  - conform to ISO 15189:2022.

- TRUSTlab’s objectives are measurable, and consistent with policies. TRUSTlab ensures that the objectives and policies are implemented at all levels of the organization.

- TRUSTlab Management ensures that the integrity of the management system is maintained when changes to the management system are planned and implemented.

- TRUSTlab has established quality indicators to evaluate performance throughout key aspects of pre-examination, examination, and post-examination processes, and to monitor performance in relation to quality objectives.

Quality Policy and Objectives are implemented at all levels of TRUSTlab.

TRUSTlab’s Quality Policies and Quality Objectives are documented in TDPL/QA/FOL-003: Quality Policy & Quality Objectives. These are also prominently displayed in strategic locations within the Laboratory premises.

TRUSTlab’s Quality Indicators are listed in TDPL/QA/FOL-004: Quality Indicators.

#### Risk Management

- TRUSTlab Management has established, implemented and maintains processes for identifying risks of harm to patients and opportunities for improved patient care associated with its examinations and activities, and developed actions to address both risks and opportunities for improvement.

- The Laboratory Director ensures that these processes are evaluated for effectiveness and modified when identified as being ineffective.

TRUSTlab’s procedure for risk management is documented in TDPL/RM/FOL-001: Risk Management.

### Resource Requirements

#### General

TRUSTlab ensures the availability of the personnel, facilities, equipment, reagents, consumables and support services necessary to manage and perform its activities.

#### Personnel

#### General

- TRUSTlab has access to a sufficient number of competent persons to perform its activities.

TRUSTlab’s competent personnel are listed in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

- All personnel of TRUSTlab, either internal or external, that could influence the activities act impartially, ethically, are competent and work in accordance with TRUSTlab’s    Management system.

TRUSTlab’s procedure for adhering to impartiality is documented in TDPL/QA/MAN-02/ MSP-001: Procedure for Ensuring Impartiality & Individuality.

- TRUSTlab frequently communicates to its personnel the importance of meeting the needs and requirements of users as well as the requirements of ISO 15189:2022.

TRUSTlab’s records of training-plan and evaluation of training are maintained in TDPL/HR/FOL-002: Employee Training & Continuing Education Records.

- TRUSTlab has an induction program to introduce new personnel to the organization, the department or area in which the person is intended to work, the terms and conditions of employment, staff facilities, health and safety requirements, and occupational health services.

TRUSTlab’s records of the induction program are maintained in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

#### Competency Requirements

- TRUSTlab specifies the competency requirements for each function influencing the results of activities, including requirements for education, qualification, training, re-training, technical knowledge, skills and experience.

TRUSTlab’s records of Competency requirements of all TRUSTlab job roles are maintained in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

- TRUSTlab ensures all personnel have the competency to perform activities for which they are responsible.

TRUSTlab’s records of educational qualifications, previously attended training activities, internal technical competency assessments and experience letters of all TRUSTlab employees are individually maintained in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

- TRUSTlab has developed a process for managing the competence of its personnel, that includes requirements for frequency of competency assessments.

TRUSTlab’s records of training-plan and evaluation of training are maintained in TDPL/HR/FOL-002: Employee Training & Continuing Education Records.

- TRUSTlab has documented information demonstrating the competence of its personnel.

Records of education qualifications, previously attended training activities, technical competency assessments and experience letters of all TRUSTlab employees are individually maintained in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

#### Authorization

TRUSTlab has authorized personnel to perform specific activities, including but not limited to, the following:

- selection, development, modification, validation and verification of methods;

- reviewing, releasing and reporting of results;

- use of information systems, in particular: accessing patient data and information, entering patient data and examination results, and changing patient data or examination results.

TRUSTlab’s authorization matrix is defined in TDPL/HR/FOL-003: Authorization Matrix.

#### Continuing Education and Professional Development

TRUSTlab has made available a continuing education program to personnel who are involved in managerial and technical processes. All personnel participate in continuing education and regular professional development or other professional liaison activities.

The suitability of the program and activities are periodically reviewed.

TRUSTlab’s records of Continuing education programs are maintained in TDPL/HR/FOL-002: Employee Training & Continuing Education Records.

#### Personnel Records

TRUSTlab has documented procedures for:

- determining the competence requirements specified in 6.2.2 a);

TRUSTlab’s Competency records of employees are maintained in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

- position descriptions (include qualifications, experience and job descriptions);

TRUSTlab’s Job descriptions are defined in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

- training and re-training;

TRUSTlab’s records of training and continuous education are maintained in TDPL/HR/FOL-002: Employee Training Continuing Education Records.

- authorization of personnel;

TRUSTlab’s records of Authorization of personnel are maintained in TDPL/HR/FOL-003: Authorization Matrix

- monitoring competence of personnel.

TRUSTlab’s records of the monitoring of personnel competency are maintained in TDPL/HR/FOL-001: Records of TRUSTlab Personnel.

#### Facilities and Environmental Conditions

#### General

TRUSTlab ensures that the facilities and environmental conditions are suitable for laboratory activities and do not adversely affect the validity of results or the safety of patients, visitors, users and personnel. This includes pre-examination-related facilities and sites other than the main premises where examinations are performed.

The requirements for facilities and environmental conditions necessary for the performance of the laboratory activities are specified, monitored, and recorded.

TRUSTlab’s records for all facilities and environmental conditions are maintained in TDPL/QA/FOL-005: Records of Facilities & Environmental Conditions.

#### Facility Controls

TRUSTlab implements, records, monitors and periodically reviews facility records. They include:

- control of access, taking into consideration safety, confidentiality, quality and safeguarding medical information and patient samples;

- prevention of contamination, interference or adverse influences on activities that can arise from energy sources, lighting, ventilation, noise, water and waste disposal;

- prevention of cross-contamination, where examination procedures pose a risk, or where work can be affected or influenced by lack of separation;

- provision of safety facilities and devices, where applicable and regularly verifying their functioning;

- maintenance of facilities in a functional and reliable condition.

TRUSTlab’s records for all facilities and environmental conditions are maintained in TDPL/QA/FOL-005: Records of Facilities & Environmental Conditions.

#### Storage Facilities

- TRUSTlab provides storage space, with conditions that ensure the continuing integrity of samples, equipment, reagents, consumables, documents and records.

- Patient samples and materials used in examination processes are stored in a manner that prevents cross-contamination and deterioration.

- Storage and disposal facilities for hazardous materials and biological waste are appropriate to the classification of the materials in the context of any statutory or regulatory requirements.

TRUSTlab’s records of storage facilities that ensure sample integrity are maintained in TDPL/QA/FOL-006: Maintaining Sample Integrity Records.

Disposal of hazardous materials and biological waste is as per the Pollution Control Board guidelines.

#### Personnel Facilities

TRUSTlab provides adequate access to toilet facilities and a supply of drinking water, as well as facilities for storage of personal protective equipment and clothing. Each person working in TRUSTlab is provided with a locker.

Space for personnel activities, such as meetings, a lunch area, a quiet study area, and a rest area, are provided and are accessible to all TRUSTlab employees. Personal lockers are also provided to TRUSTlab employees to store their personal belongings, protective equipment and clothing.

#### Sample Collection Facilities

TRUSTlab provides sample collection facilities that:

- enable collection to be undertaken in a manner that does not invalidate results or adversely affect the quality of examinations;

- consider privacy, comfort and needs (e.g., toilet facility) of patients and accommodation of accompanying persons (e.g. guardian or interpreter) during collection;

- provide separate patient reception and collection areas;

- maintain first aid materials for both patients and personnel.

#### Equipment

#### General

TRUSTlab has defined processes for the selection, procurement, installation, acceptance testing (including acceptability criteria), handling, transport, storage, use, maintenance, and decommissioning of equipment, in order to ensure proper functioning and to prevent contamination or deterioration.

TRUSTlab’s procedure for equipment intake is documented in TDPL/QA/MAN-002/ MSP-003: Procedure for Equipment Management.

TRUSTlab’s procedure for equipment maintenance is documented in TDPL/QA/MAN-002/ MSP-003: Procedure for Equipment Management.

#### Equipment Requirements

- TRUSTlab personnel have access to equipment required for the correct performance of activities.

- Where the equipment is used outside the laboratory's permanent control, or equipment manufacturer's functional specification, TRUSTlab Management ensures that the requirements of ISO 15189:2022 are met.

- Each item of equipment that can influence activities is uniquely labeled, marked   or otherwise identified and a folder is maintained.

- TRUSTlab personnel maintain and replace equipment as needed to ensure the quality of examination results.

TRUSTlab’s records of Equipment information are maintained in TDPL/QA/FOL-007: Equipment Details.

#### Equipment Acceptance Procedure

TRUSTlab personnel verifies that the equipment conforms to specified acceptability criteria before being placed or returned into service.

TRUSTlab personnel ensure that the equipment used for measurement is capable of achieving either the measurement accuracy or measurement uncertainty, or both, required to provide a valid result (see 7.3.3 and 7.3.4 for details). Procedures for acceptance of equipment are described in different departments. Records are also maintained in different departments.

TRUSTlab’s procedure for equipment intake is documented in TDPL/QA/MAN-002/ MSP-003: Procedure for Equipment Management.

#### Equipment Instructions for Use

- TRUSTlab has appropriate safeguards to prevent unintended adjustments of equipment that can invalidate examination results.

- Equipment is operated by trained, authorized, and competent personnel.

- Instructions for the use of equipment, including those provided by the manufacturer, are available.

- The equipment is used as specified by the manufacturer unless validated by the laboratory (see 7.3.3).

User manuals and operation manuals of equipment are available as hard copies/digital versions and are maintained by different disciplines.

#### Equipment Maintenance and Repair

- TRUSTlab has preventive maintenance programs, based on the manufacturer’s instructions. Deviations from the manufacturer's schedules or instructions are recorded.

- At TRUSTlab, all equipment is maintained in a safe, working condition and working order. This includes electrical safety, any emergency-stop devices and the safe handling and disposal of hazardous materials by authorized personnel.

- At TRUSTlab equipment that is defective or outside specified requirements are taken out of service, clearly labeled, or marked as being out of service until it has been verified to perform correctly. TRUSTlab examines the effect of the defect or deviation from specified requirements and initiates actions when non-conforming work occurs (see 7.5).

- When applicable, TRUSTlab decontaminates equipment before service, repair, or decommissioning, provides suitable space for repairs, and provides appropriate personal protective equipment.

TRUSTlab’s record of equipment breakdown and repairs is maintained in TDPL/QA/FOL-008: Record of Equipment Break down & Repairs. A digital version of the same is maintained in the TAMS software.

#### Equipment Adverse Incident Reporting

At TRUSTlab adverse incidents and accidents that can be attributed directly to specific equipment are investigated and reported to either the manufacturer or supplier, or both, and appropriate authorities, as required.

TRUSTlab’s record of adverse incidents and accidents is maintained in TDPL/QA/FOL-009: Equipment Adverse Incident & Accident Register.

TRUSTlab has procedures for responding to any manufacturer's recall or other notice, and taking actions recommended by the manufacturer.

TRUSTlab’s procedure for equipment recall are documented in TDPL/QA/MAN-002/ MSP-004: Procedure for Handling Equipment Recall.

#### Equipment Records

Records are maintained for each item of equipment that influences the results of activities.

These records include the following, where relevant:

- manufacturer and supplier details, and sufficient information to uniquely identify each item of equipment, including software and firmware;

- dates of receipt, acceptance testing and entering into service;

- evidence that equipment conforms with specified acceptability criteria;

- the current location;

- condition when received (e.g. new, used or reconditioned);

- manufacturer's instructions;

- the program for preventive maintenance;

- any maintenance activities performed by TRUSTlab or approved external service provider;

- damage to, malfunction, modification, or repair of the equipment;

- equipment performance records such as reports or certificates of calibrations or verifications, or both, including dates, times and results;

- status of the equipment such as active or in-service, out-of-service, quarantined, retired or obsolete.

These records are maintained and are available for the lifespan of the equipment.

TRUSTlab’s records of Equipment information are maintained in TDPL/QA/FOL-007: Equipment Details.

#### Equipment Calibration and Metrological Traceability

#### General

TRUSTlab has specified calibration and traceability requirements that are sufficient to maintain consistent reporting of examination results. For quantitative methods of a measured analyte, specifications include calibration and metrological traceability requirements. Qualitative methods and quantitative methods that measure characteristics rather than discrete analytes specify the characteristic being assessed and such requirements necessary for reproducibility over time.

#### Equipment Calibration

TRUSTlab has procedures for the calibration of equipment that directly or indirectly affects examination results. The procedures specify:

- conditions of use and manufacturer's instructions for calibration;

- recording of the metrological traceability;

- verification of the required measurement accuracy and the functioning of the measuring system at specified intervals;

- recording the calibration status and date of re-calibration;

- ensuring that, where correction factors are used, these are updated and recorded when re-calibration occurs;

- handling of situations when calibration was out of control, to minimize risk to service operation and to patients.

TRUSTlab’s procedure for equipment maintenance is documented in TDPL/QA/MAN-002/ MSP-003: Procedure for Equipment Management.

#### Metrological Traceability of Measurement Results

- TRUSTlab has established and maintains metrological traceability of its measurement results by means of a documented unbroken chain of calibrations, each contributing to the measurement uncertainty, linking them to an appropriate reference.

- TRUSTlab ensures that measurement results are traceable to the highest possible level of traceability and to the International System of Units (SI) through:

  - calibration provided by a competent laboratory; or

  - certified values of certified reference materials provided by a competent producer with stated metrological traceability to the SI;

- where it is not possible to provide traceability according to 6.5.3 a), other means for providing confidence in the results are applied, including but not limited to the following:

  - results of reference measurement procedures, specified methods or consensus standards, that are clearly described and accepted as providing measurement results fit for their intended use and ensured by suitable comparison;

  - measurement of the calibrator by another procedure.

- For genetic examinations, traceability to genetic reference sequences is established.

- For qualitative methods, traceability is demonstrated by testing of known material or previous samples sufficient to show consistent identification and, when applicable, intensity of reaction.

TRUSTlab’s record of Equipment Calibration certificates are maintained in TDPL/QA/FOL-010: Record of Calibration Certificates. A digital version for individual equipment is maintained in the TAMS software.

#### Reagents and Consumables

    - General

TRUSTlab has processes for the selection, procurement, reception, storage, acceptance testing and inventory management of reagents and consumables.

TRUSTlab’s procedure for the reception, storage, acceptance testing and inventory management of reagents and consumables are documented in TDPL/QA/MAN-002/ MSP-005: Procedure for Procuring & Managing Reagents.

    - Reagents and Consumables — Receipt and Storage

TRUSTlab stores reagents and consumables according to manufacturers' specifications and monitors the environmental conditions where relevant.

Where the laboratory is not the receiving facility, TRUSTlab verifies that the receiving facility has adequate storage and handling capabilities to maintain supplies in a manner that prevents damage and deterioration.

TRUSTlab’s records of the reception, storage and inventory management of reagents & consumables are maintained in the IT DOSE LIMS software.

    - Reagents and Consumables — Acceptance Testing

Each reagent or new formulation of examination kits with changes in reagents or procedure, or a new lot or shipment, is verified by TRUSTlab for performance before placing into use or before release of results, as appropriate.

TRUSTlab’s records of acceptance testing are maintained in TDPL/QA/FOL-011: Acceptance of Testing Records – Reagents & Consumables.

Consumables that can affect the quality of examinations are verified for performance before placing them into use.

    - Reagents and Consumables — Inventory Management

TRUSTlab has an inventory management system for reagents and consumables.

This system for inventory management segregates reagents and consumables that have been accepted for use from those that have been neither inspected nor accepted for use. Inventory management is done digitally and manually.

TRUSTlab’s records of Inventory Management are maintained in the IT DOSE LIMS software.

    - Reagents and Consumables — Instructions for Use

TRUSTlab maintains instructions for the use of reagents and consumables, including those provided by manufacturers. Reagents and consumables are used according to the manufacturer's specifications. If they are intended to be used for other purposes, see 7.3.3.

    - Reagents and Consumables — Adverse Incident Reporting

TRUSTlab investigates and reports adverse incidents and accidents that can be attributed directly to specific reagents or consumables to either the manufacturer or supplier (or both), and appropriate authorities, as required.

TRUSTlab’s records of adverse incidents are maintained in TDPL/QA/FOL-012: Reagents & Consumables Adverse Incident & Accident Record.

TRUSTlab has procedures for responding to any manufacturer's recall or other notice and for taking actions recommended by the manufacturer.

TRUSTlab’s procedure for product recall and actions taken are documented in TDPL/QA/MAN-002/ MSP-006: Procedure for Reagent Recall Management.

    - Reagents and Consumables — Records

TRUSTlab maintains records for each reagent and consumable that contributes to the performance of examinations. These records include, but are not limited to, the following:

- identity of the reagent or consumable;

- manufacturer's information, including instructions, name and batch code or lot number;

- date of receipt and condition when received, the expiry date, date of first use and, where applicable, the date the reagent or consumable was taken out of service;

- records that confirm the reagent's or consumable's initial and ongoing acceptance for use.

When TRUSTlab uses reagents prepared, resuspended or combined in-house, records are maintained that include, in addition to the relevant information above, reference to the person or persons undertaking the preparation, as well as the dates of preparation and expiry.

#### Service Agreements

    - Agreements with Laboratory Users

TRUSTlab has described a procedure to establish and periodically review agreements for providing laboratory activities.

The procedure ensures:

- that the requirements are adequately specified;

- TRUSTlab has the capability and resources to meet the requirements;

- when applicable, TRUSTlab advises the user of the specific activities to be performed by referral laboratories and consultants.

Laboratory users are informed of any changes to an agreement that can affect examination results. Records of reviews, including any significant changes, are retained.

TRUSTlab’s procedure for service agreements and periodic review of service agreements are documented in TDPL/QA/MAN-002 / MSP-007: Procedure for Managing Service Agreements.

    - Agreements with POCT Operators

Service agreements between TRUSTlab and other parts of the organization using supported POCT, will ensure that respective responsibilities and authorities are specified and communicated.

TRUSTlab does not perform any POCT on its premises and neither does it have any POCT equipment or operator.

Hence, this clause is not applicable to TRUSTlab.

#### Externally Provided Products and Services

    - General

TRUSTlab ensures that externally provided products and services that affect activities are suitable when such products and services are:

- intended for incorporation into the TRUSTlab's own activities;

- provided, in part or in full, directly to the user by TRUSTlab, as received from the external provider;

- used to support the operation of TRUSTlab. Whenever necessary TRUSTlab collaborates with other organizational departments or functions to fulfil this requirement.

Referral Laboratories and Consultants

TRUSTlab communicates its requirements to referral laboratories and consultants who provide interpretations and advice, for:

- the procedures, examinations, reports and consulting activities to be provided;

- management of critical results;

- any required personnel qualifications and demonstration of competence.

TRUSTlab takes responsibility for ensuring that the examination results of the referral laboratory are provided to the person making the request. A list of all referral laboratories and consultants is maintained.

TRUSTlab’s procedure for selecting Referral laboratories is documented in TDPL/QA/MAN-002/ MSP-008: Procedure for Managing Referral Laboratories.

    - Review and Approval of Externally Provided Products and Services

TRUSTlab has procedures and retains records for:

- defining, reviewing, and approving the requirements for all externally provided products and services;

- defining the criteria for qualification, selection, evaluation of performance, and re-evaluation of external providers;

- referral of samples;

- ensuring that externally provided products and services conform to the established requirements, or where applicable to the relevant requirements of ISO 15189:2022, before they are used or directly provided to the user;

- taking any actions arising from evaluations of the performance of external providers.

TRUSTlab’s procedure for evaluating external products is documented in TDPL-QA-MAN-002/ MSP-009: Procedure for Managing External Product & Service Providers.

TRUSTlab’s procedure for evaluating external services is documented in TDPL-QA-MAN-002/ MSP-009: Procedure for Managing External Product & Service Providers.

TRUSTlab’s procedure for outsourcing sample to referral labs is documented in TDPL-QA-MAN-002/ MSP-010: Procedure for Outsourcing of Samples to an Approved External Laboratory.

### Process Requirements

  - General

TRUSTlab identifies potential risks to patient care in the pre-examination, examination, and post-examination processes. These risks are assessed and mitigated to the extent possible. The residual risks are communicated to users as appropriate.

The identified risks and effectiveness of the mitigation processes are monitored and evaluated according to the potential harm to the patient.

TRUSTlab’s procedure for risk identification, management, and mitigation are documented in TDPL/RM/FOL-001: Risk Management.

TRUSTlab has also identified opportunities to improve patient care and develop a framework to manage these opportunities (see 8.5).

  - Pre-examination Processes

    - General

TRUSTlab has procedures for all pre-examination activities and makes them accessible to relevant personnel.

TRUSTlab’s procedure for all pre-examination activities are documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

    - Information for Patients and Users

TRUSTlab has appropriate information available for its users and patients. The information is sufficiently detailed to provide users with a comprehensive understanding of the scope of activities and requirements.

The information includes as appropriate:

- the location(s) of the laboratory, operating hours, and contact information;

- the procedures for requesting and the collection of samples;

- the scope of activities and time for the expected availability of results;

- the availability of advisory services;

- requirements for patient consent;

- factors known to significantly impact the performance of the examination or the interpretation of the results;

- TRUSTlab complaint process.

TRUSTlab’s procedures for the above points a) through f) are documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual. For g), refer to Clause 7.7.

    - Requests for Providing Examinations

      - General

- Each request accepted by TRUSTlab for examination(s) is considered an agreement.

- The examination request provides sufficient information to ensure:

- unequivocal traceability of the patient to the request and sample;

- identity and contact information of the requester;

- identification of the examination(s) requested;

- informed clinical and technical advice, and clinical interpretation are provided, if required.

- The examination request information is provided to TRUSTlab either as a hard copy or as an electronic equivalent, which is also deemed acceptable to the user.

- Where necessary for patient care, TRUSTlab personnel directly communicate with users or their representatives, to clarify the user's request.

      - Oral Requests

TRUSTlab has a procedure for managing oral requests for examinations, if applicable, that includes the provision of documented confirmation of the examination request to the laboratory, within a given time.

TRUSTlab’s procedure for managing oral requests is documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

    - Primary Sample Collection and Handling

      - General

TRUSTlab has procedures for the collection and handling of primary samples, which is made available to those responsible for sample collection.

TRUSTlab records any deviation from the established collection procedures. The potential risk and impact on the patient outcome of acceptance or rejection of the sample are assessed, recorded and communicated to the appropriate personnel.

TRUSTlab periodically reviews requirements for sample volume, collection device and preservatives for all sample types, as applicable, to ensure that neither insufficient nor excessive amounts of sample are collected, and samples are properly collected to preserve the analyte.

TRUSTlab’s procedures for the collection and handling of primary samples are documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

      - Information for Pre-collection Activities

TRUSTlab provides information and instructions for pre-collection activities with sufficient detail to ensure that the integrity of the sample is not compromised.

TRUSTlab’s procedures for pre-collection activities is documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

This includes:

- preparation of the patient (e.g. instructions to caregivers, sample collectors, and patients);

- type and amount of the primary sample to be collected with descriptions of the containers and any necessary additives, and when relevant the order of collecting samples;

- special timing of collection, where relevant;

- provision of clinical information relevant to, or affecting sample collection, examination performance or result interpretation (e.g. history of administration of drugs);

- sample labeling for unequivocal identification of the patient, as well as source and site of sample, and labeling, when several samples from the same patient are to be collected, including multiple pieces of tissue or slides;

- TRUSTlab’s criteria for acceptance and rejection of samples specific to the examinations requested.

      - Patient Consent

- TRUSTlab obtains the informed consent of the patient for all procedures carried out on the patient.

- Special procedures, including more invasive procedures, or those with an increased risk of complications to the procedure, a more detailed explanation and, in some cases, recorded consent is obtained by TRUSTlab personnel.

- If obtaining consent is not possible in emergencies, TRUSTlab carries out necessary procedures, provided they are in the patient’s best interest.

TRUSTlab’s procedure for obtaining patient consent and recording consent are documented in TDPL/QA/FOL-013: Patient Consent Forms.

      - Instructions for Collection Activities

To ensure safe, accurate, and clinically appropriate sample collection and pre-examination storage, TRUSTlab provides instructions for:

- verification of the identity of the patient from whom a primary sample is collected.

- verification and when relevant, recording that the patient meets pre-examination requirements [e.g. fasting status, medication status (time of last dose, cessation), sample collection at predetermined time or time intervals];

- collection of primary samples, with descriptions of the primary sample containers and any necessary additives, as well as the order of sample collection, where relevant.

- labeling of primary samples in a manner that provides an unequivocal link with the patients from whom they are collected.

- recording of the identity of the person collecting the primary sample and the collection date, and, when relevant, recording of the collection time;

- requirements for separating or dividing the primary sample when necessary;

- stabilization and proper storage conditions before collected samples are delivered to the laboratory;

- safe disposal of materials used in the collection process.

TRUSTlab’s procedures for collection activities is documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

TRUSTlab’s procedure for disposal of materials used in the collection process is documented in TDPL/QA/FOL-014: Pollution Control Board guidelines.

    - Sample Transportation

- To ensure the timely and safe transportation of samples, TRUSTlab provides clear instructions for:

    - packaging of samples for transportation;

    - ensuring the time between collection and receipt in the laboratory is appropriate for the   requested examinations;

    - maintaining the temperature interval specified for sample collection and handling;

    - any specific requirements to ensure integrity of samples, e.g. use of designated preservatives.

- If the integrity of a sample has been compromised and there is a health risk, the TRUSTlab personnel or the organization responsible for the transport of the sample (if different from TRUSTlab) is notified immediately and action is taken to reduce the risk and to prevent recurrence.

- TRUSTlab has established and periodically evaluates the adequacy of sample transportation systems as and when the systems are provided by the management.

TRUSTlab’s procedure for sample transportation is documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

    - Sample Receipt

      - Sample Receipt Procedure

TRUSTlab has defined a procedure for sample receipt that includes:

- the unequivocal traceability of samples by request and labeling, to a uniquely identified patient and when applicable, the anatomical site;

- criteria for acceptance and rejection of samples;

- recording the date and time of receipt of the sample, when relevant;

- recording the identity of the person receiving the sample, when relevant;

- evaluation of received samples, by authorized personnel, to ensure compliance with acceptability criteria relevant for the requested examination(s);

TRUSTlab’s procedure for sample receipt is documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

- instructions for samples specifically marked as urgent, which include details of special labeling, transport, any rapid processing method, turnaround times, and special reporting criteria to be followed;

TRUSTlab’s procedure for such special samples is documented in TDPL/QA/MAN-002/ MSP-011: Procedure for Specimen Management.

- ensuring that all portions of the sample are unequivocally traceable to the original sample.

TRUSTlab’s procedure for traceability of split sample to original sample is documented in TDPL/QA/MAN-002/ MSP-011: Procedure for Specimen Management.

      - Sample Acceptance Exceptions

- TRUSTlab has a process that considers the best interests of the patient in receiving care when a sample has been compromised due to:

  - incorrect patient or sample identification,

  - sample instability due to, for example, delay in transport,

  - incorrect storage or handling temperature,

  - inappropriate container(s), and

  - insufficient sample volume.

- When a compromised clinically critical or irreplaceable sample is accepted, after consideration of the risk to patient safety, the final report indicates the nature of the problem and where applicable, advises caution when interpreting results that can be affected.

    - Pre-examination Handling, Preparation, and Storage

      - Sample Protection

TRUSTlab has procedures and appropriate facilities for securing patient samples, ensuring sample integrity and preventing loss or damage during, handling, preparation, and storage.

TRUSTlab’s procedure for sample protection is documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

      - Criteria for Additional Examination Requests

TRUSTlab has procedures that include time limits for requesting additional examinations on the same sample.

TRUSTlab’s procedure for handling additional tests is documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

      - Sample Stability

Considering the stability of the analyte in a primary sample, the time between sample collection and performing the examination is specified and monitored where relevant.

TRUSTlab’s procedure for maintaining sample stability is documented in TDPL/QA/MAN-003: Specimen Collection, Transportation and Handling Manual.

  - Examination Processes

### General

- TRUSTlab selects and uses examination methods that have been validated for their intended use to assure the clinical accuracy of the examination for patient testing.

- The performance specification for each examination method is related to the intended use of that examination and its impact on patient care.

- All procedures and supporting documentation, such as instructions, standards, manuals and reference data relevant to the activities, are kept up to date and are readily available to personnel (see 8.3).

- TRUSTlab personnel follow established procedures and the identity of persons performing significant activities in examination processes is recorded, including POCT operators (if they are under the control of TRUSTlab).

- TRUSTlab’s authorized personnel periodically evaluate the examination methods provided by TRUSTlab to ensure that they are clinically appropriate for the requests received.

TRUSTlab’s records for evaluation of examination methods is documented in TDPL/QA/FOL-016: Evaluation Records of Examination Methods.

### Verification of Examination Methods

- TRUSTlab has a procedure to verify that it can properly perform examination methods before introducing into use, by ensuring that the required performance, as specified by the manufacturer or method, can be achieved.

- The performance specifications for the examination method confirmed during the verification process are those relevant to the intended use of the examination results.

- TRUSTlab ascertains that the extent of the verification of examination methods is sufficient to ensure the validity of results pertinent to clinical decision-making.

- TRUSTlab’s personnel with the appropriate authorization and competence reviews the verification results and records whether the results meet the specified requirements.

- If a method is revised by the issuing body, TRUSTlab repeats the verification to the extent necessary.

- The following records of verification are retained:

  - performance specifications to be achieved,

  - results obtained, and

  - a statement of whether the performance specifications were achieved and if not, action taken.

Data regarding verification of examination methods are maintained in the respective sections of the laboratory.

### Validation of Examination Methods

- TRUSTlab validates examination methods derived from the following sources:

  - designed or developed methods;

  - methods used outside their originally intended scope (i.e. outside of the manufacturer's instructions for use, or original validated measurement range; third-party reagents used on instruments other than intended instruments and where no validation data are available);

  - validated methods subsequently modified.

- The validation is as extensive as is necessary and confirms, through the provision of objective evidence in the form of performance specifications, that the specific requirements for the intended use of the examination have been fulfilled. TRUSTlab ensures that the extent of validation of an examination method is sufficient to ensure the validity of results pertinent to clinical decision-making.

- Personnel with the appropriate authorization and competence reviews the validation results and record whether the results meet the specified requirements.

- When changes are proposed to a validated examination method, the clinical impact is reviewed, and a decision is made as to whether to implement the modified method.

- The following records of validation shall be retained:

  - the validation procedure used;

  - specific requirements for the intended use;

  - determination of the performance specifications of the method;

  - results obtained;

  - a statement on the validity of the method, detailing its fitness for the intended use.

This clause is not applicable to TRUSTlab.

### Evaluation of Measurement Uncertainty (MU)

- The MU of measured quantity values is evaluated and maintained for its intended use, where relevant. The MU is compared against performance specifications and documented.

- MU evaluations are regularly reviewed.

- For examination procedures where evaluation of MU is not possible or relevant, the rationale for exclusion from MU estimation is documented.

- MU information is made available to users on request.

- When users have inquiries on MU, TRUSTlab’s response takes into account other sources of uncertainty, such as, but not limited to biological variation.

- If the qualitative result of an examination relies on a test, which produces quantitative output data and is specified as positive or negative, based on a threshold, MU in the output quantity is estimated using representative positive and negative samples.

- For examinations with qualitative results, MU in intermediate measurement steps or IQC results which produce quantitative data is considered for key (high-risk) parts of the process.

- MU is taken into consideration when performing verification or validation of a method, when relevant.

TRUSTlab’s policies regarding MU evaluation, procedures followed and records generated are maintained in TDPL/QA/MAN-002/ MSP-012: Procedure for Measurement of Uncertainty.

### Biological Reference Intervals and Clinical Decision Limits

TRUSTlab clearly defines and communicates to users about the biological reference intervals and clinical decision limits, when needed for the interpretation of examination results.

- Biological reference intervals and clinical decision limits are defined, and their basis is recorded, to reflect the patient population served by TRUSTlab, while considering the risk to patients.

- Biological reference intervals and clinical decision limits are periodically reviewed, and any changes are communicated to users.

- When changes are made to an examination or pre-examination method, TRUSTlab reviews the impact on associated biological reference intervals and clinical decision limits and communicates to the users when applicable.

In addition, regular meetings are held with the patients/laboratory owners/ technicians & clinicians to apprise them of advisory activities. Refer to TDPL/QA/FOL-002: Apprise Customers on Clinical Activities & Outcomes.

- For examinations that identify the presence or absence of a characteristic, the biological reference interval is the characteristic to be identified, e.g. genetic examinations.

TRUSTlab’s records of biological reference intervals and clinical decision limits and their basis are maintained in TDPL/QA/FOL-017: Record of Biological Reference Intervals.

### Documentation of Examination Procedures

- TRUSTlab documents its examination procedures to the extent necessary to ensure the consistent application of its activities and the validity of its results.

- Procedures are written in a language understood by TRUSTlab personnel and are available in the appropriate locations.

- Any abbreviated document content corresponds to the procedure.

- Information from product instructions for use, that contain sufficient information, is incorporated into procedures by reference.

- When TRUSTlab makes a validated change to an examination procedure that could affect the interpretation of results, the implications of this are explained to users.

- All documents associated with the examination process are subject to document control (see 8.3).

TRUSTlab’s examination procedures are documented in Standard Operating Procedures and are available at points of performing the procedures.

### Ensuring the Validity of Examination Results

### General

TRUSTlab has a procedure for monitoring the validity of results. The resulting data is recorded in such a way that trends and shifts are detectable and, where practicable, statistical techniques are applied to review the results. This monitoring is planned and reviewed.

### Internal Quality Control (IQC)

- TRUSTlab has described IQC procedures for monitoring the ongoing validity of examination results, according to specified criteria, that verify the attainment of the intended quality and ensure validity pertinent to clinical decision-making.

  - The intended clinical application of the examination is considered, as the performance specifications for the same measurand can differ in different clinical settings.

  - The procedure allows for the detection of either lot-to-lot reagent or calibrator variation, or both, of the examination method. To enable this, the TRUSTlab procedure avoids lot change in IQC material on the same day/run as either lot-to-lot reagent or calibrator change or both.

  - The use of third-party IQC material is considered either as an alternative to, or in addition to, control material supplied by the reagent or instrument manufacturer.

- TRUSTlab only selects IQC material that is fit for its intended purpose. When selecting IQC material, factors that are considered include:

  - stability with regard to the properties of interest;

  - the matrix is as close as possible to that of patient samples;

  - the IQC material reacts to the examination method in a manner as close as possible to patient samples;

  - the IQC material provides a clinically relevant challenge to the examination method, has concentration levels at or near clinical decision limits, and when possible, covers the measurement range of the examination method.

- If appropriate IQC material is not available, TRUSTlab considers the use of other methods for IQC. Examples of such other methods include:

  - trend analysis of patient results, e.g. with moving average of patient results, or percentage of samples with results below or above certain values or associated with a diagnosis;

  - comparison of results for patient samples on a specified schedule to results for patient samples examined by an alternative procedure validated to have its calibration metrologically traceable to the same or higher order references as specified in ISO 17511;

  - retesting of retained patient samples.

- IQC is performed at a frequency that is based on the stability and robustness of the examination method and the risk of harm to the patient from an erroneous result.

- The resulting data is recorded in such a way that trends and shifts are detectable and, where applicable, statistical techniques are applied to review the results.

- IQC data is reviewed with defined acceptability criteria at regular intervals, and in a timeframe that allows a meaningful indication of current performance.

- TRUSTlab prevents the release of patient results in the event that IQC fails the defined acceptability criteria.

  - When IQC defined acceptability criteria are not fulfilled and indicate results are likely to contain clinically significant errors, the results are rejected and relevant patient samples re-examined after the error has been corrected (see 7.5).

  - The results from patient samples that were examined after the last successful IQC event are evaluated.

TRUSTlab’s IQC procedures are documented in TDPL/QA/MAN-002/ MSP-013: Procedure for Managing Internal Quality Control Program.

### External Quality Assessment (EQA)

- TRUSTlab monitors the performance of all examination methods by comparison with the results of other laboratories. This includes participation in EQA programs appropriate to the examinations and interpretation of examination results, including POCT examination methods.

- TRUSTlab has established a procedure for EQA enrollment, participation and performance for examination methods used, where such programs are available.

- EQA samples are processed by personnel who routinely perform pre-examination, examination, and post-examination procedures.

- The EQA program(s) selected by TRUSTlab do, to the extent possible:

- have the effect of checking pre-examination, examination, and post-examination processes;

- provide samples that mimic patient samples for clinically relevant challenges;

- fulfill ISO/IEC 17043 requirements.

- When selecting EQA program(s), TRUSTlab considers the type of target value offered. Target values are:

- independently set by a reference method, or

- set by overall consensus data, and/or

- set by method peer group consensus data, or

- set by a panel of experts.

- When an EQA program is either not available or not considered suitable, TRUSTlab has a policy of using alternative methodologies to monitor examination method performance. TRUSTlab justifies the rationale for the chosen alternative and provides evidence of its effectiveness.

- EQA data is reviewed at regular intervals with specified acceptability criteria, in a time frame that allows for a meaningful indication of current performance.

- Where EQA results fall outside specified acceptability criteria, appropriate actions are taken (see 8.7), including an assessment of whether the non-conformance is clinically significant as it relates to patient samples.

- Where it is determined that the impact is clinically significant, a review of patient results that could have been affected and the need for amendment are considered and users are advised as appropriate.

The policies and procedures for participating in EQA programs, performance details and records are maintained in different sections of the laboratory.

TRUSTlab’s procedure for External Quality Assessment is documented in TDPL/QA/MAN-002/ MSP-014: Procedures for Managing External Quality Assessment Program.

### Comparability of Examination Results

- When either different methods or equipment, or both, are used for an examination, and/or the examination is performed at different sites, a procedure for establishing the comparability of results for patient samples throughout the clinically significant intervals is specified.

- TRUSTlab records the results of comparability performed and its acceptability.

- TRUSTlab periodically reviews the comparability of results.

- Where differences are identified, the impact of those differences on biological reference intervals and clinical decision limits are evaluated and acted upon.

- TRUSTlab informs users of any clinically significant differences in the comparability of results.

TRUSTlab’s procedure for comparability of results is documented in TDPL/QA/MAN-002/ MSP-015: Procedure for Comparability of Results.

  - Post-examination Processes

### Reporting of results

### General

- Examination results are reported accurately, clearly, unambiguously and in accordance with any specific instructions in the examination procedure. The report includes all available laboratory information necessary for the interpretation of the results.

- TRUSTlab has a procedure to notify users when examination results are delayed, based on the impact of the delay on the patient.

- All information associated with issued reports is retained in accordance with management system requirements (see 8.4).

### Result Review and Release

All sample results are reviewed and authorized prior to release.

TRUSTlab ensures that authorized personnel review the results of examinations and evaluate them against IQC and, as appropriate, available clinical information and previous examination results.

Responsibilities and procedures for how examination results are released for reporting, including by whom and to whom, are specified.

TRUSTlab’s procedure for releasing of results, and the associated responsibilities are documented in TDPL/QA/MAN-002/ MSP-016 Procedure for Releasing of Patient Results.

### Critical Result Reports

When examination results fall within established critical decision limits:

- the user or other authorized person is notified as soon as relevant, based on clinical information available;

- actions taken are documented, including date, time, responsible person, person notified, results conveyed, verification of the accuracy of communication, and any difficulties encountered in notification;

- TRUSTlab has an escalation procedure for personnel when a responsible person cannot be contacted.

TRUSTlab’s procedure for notifying critical results including escalation mechanism is described in TDPL/QA/MAN-002/ MSP-016: Procedure for Releasing of Patient Results.

Records of critical results that have been intimated are maintained in each section of the laboratory.

TRUSTlab’s record of duly intimated critical alerts is maintained in TDPL/QA/FOL-018: Record of Critical Result Alerts.

### Special Considerations for Results

- When agreed with the user, the results are reported in a simplified way. Any information listed in 7.4.1.6 and 7.4.1.7 that is not reported to the user are available.

- When results are transmitted as a preliminary report, the final report is always forwarded to the user.

- Records are kept of all results which are provided orally, including details of verification of accuracy of communication, as in   7.4.1.3 b). Such results are always followed by a report.

- Special counselling is provided for examination results with serious implications for the patient (e.g. for genetic or certain infectious diseases).  Management ensures that these results are not communicated to the patient without the opportunity for adequate counseling.

- Results of examinations that have been anonymized may be used for such purposes as epidemiology, demography, or other statistical analyses, provided that all risks to patient privacy and confidentiality are mitigated and in accordance with any either legal or regulatory requirements, or both.

### Automated Selection, Review, Release and Reporting of Results

TRUSTlab has established a detailed procedure to handle situations where the review, release, and reporting of results are automated. This procedure is established to ensure:

- the criteria for automated selection, review and release are specified, approved, readily available and understood by personnel responsible for authorizing the release of results;

- the criteria are validated and approved before use, regularly reviewed and verified after changes to the reporting system that can affect their proper functioning and place patient care at risk;

- results selected by an automated reporting system for manual review are identifiable; and as appropriate, date and time of selection and review, as well as identity of the reviewer are   retrievable;

- when necessary, rapid suspension of automated selection, review, release and reporting is applied.

TRUSTlab’s procedures for issuing and maintaining Automated Selection, Review, Release and Reporting of Results are documented in TDPL/QA/MAN-002/ MSP-016: Procedure for Releasing of Patient Results.

### Requirements for Reports

Each report that is released from TRUSTlab includes the following information unless TRUSTlab has documented reasons for    omitting any items:

- unique patient identification, the date of primary sample collection and the date of the issue of the report, on each page of the report;

- identification of the laboratory issuing the report;

- name or other unique identifier of the user;

- type of primary sample and any specific information necessary to describe the sample (e.g. source, site of specimen, macroscopic description);

- clear, unambiguous identification of the examinations performed;

- identification of the examination method used, where relevant, including, where possible and necessary, harmonized (electronic) identification of the measurand and measurement principle;

- examination results with, where appropriate, the units of measurement, reported in SI units, units traceable to SI units, or other applicable units;

- biological reference intervals, clinical decision limits, likelihood ratios or diagrams/nomograms supporting clinical decision limits as necessary;

- identification of examinations undertaken as part of a research or development program and for which no specific claims on measurement performance are available;

- identification of the person(s) reviewing the results and authorizing the release of the report (if not contained in the report, readily available when needed);

- identification of any results that need to be considered as preliminary;

- indications of any critical results;

- unique identification that all its components are recognized as a portion of a complete report and a clear identification of the end (e.g. page number to total number of pages).

### Additional Information for Reports

- The time of primary sample collection is included.

- Time of report release, if not contained in the report, is readily available when needed.

- Identification of all examinations or parts of examinations performed by a referral laboratory, including information provided by consultants, without alteration, as well as the name of the laboratory performing the examinations.

- When applicable, a report includes an interpretation of results and comments on:

  - sample quality and suitability that can compromise the clinical value of examination results;

  - discrepancies when examinations are performed by different procedures or in different locations;

  - possible risk of misinterpretation when different units of measurement are in use regionally or nationally;

  - result in trends or significant changes over time.

### Amendments to Reported Results

TRUSTlab has developed procedures for the issue of amended or revised results to ensure that:

- The reason for the change is recorded and included in the revised report, when relevant.

- Revised results are delivered only in the form of an additional document or data transfer and clearly identified as having been revised, and the date and patient's identity in the original report are indicated.

- The user is made aware of the revision.

- When it is necessary to issue a completely new report, this is uniquely identified and contains a reference and traceability to the original report that it replaces.

- When the reporting system cannot capture revisions, a record of such is kept.

Authorization of personnel for changing patient data or examination results is as per the requirement of 6.2.3 c).

TRUSTlab’s procedure for issuing and maintaining a revised report is documented in TDPL/QA/MAN-002/ MSP-017: Procedure for Issuing and Maintaining a Revised Report.

The number of revised reports is used as a quality indicator, as per the requirement of 5.5 Note.

TRUSTlab’s record of revised reports is maintained in TDPL/QA/FOL-004: Quality Indicators.

### Post-examination Handling of Samples

TRUSTlab has a sample retention policy that clearly specifies the length of time samples are to be retained following examination and the conditions under which samples are to be stored.

TRUSTlab ensures that after the examination:

- patient and source identification of the sample are maintained,

- suitability of the sample for additional examination is known,

- the sample is stored in a manner that optimally preserves suitability for additional examination (refer oral requests procedure)

- sample can be located and retrieved, and

- sample is discarded appropriately (as per the guidelines of the Pollution Control Board).

TRUSTlab’s record of retained samples in the various departments is maintained in TDPL/QA/FOL-019: Retention of Samples Record.

  - Nonconforming Work

TRUSTlab has a process for when any aspect of its activities or examination results do not conform to its own procedures, quality specifications, or the user requirements (e.g. equipment or environmental conditions are out of specified limits, results of monitoring fail to meet specified criteria). This process ensures that:

- the responsibilities and authorities for the management of nonconforming work are specified;

- immediate and long-term actions are specified and based upon the risk analysis process established    by TRUSTlab;

- examinations are halted, and reports withheld when there is a risk of harm to patients;

- an evaluation is made of the clinical significance of the nonconforming work, including an impact analysis on examination results which were or could have been released prior to identification of the nonconformance;

- a decision is made on the acceptability of the nonconforming work;

- when necessary, examination results are revised, and the user is notified;

- the responsibility for authorizing the resumption of work is specified.

TRUSTlab has implemented corrective action commensurate with the risk of recurrence of the nonconforming work (see 8.7).

TRUSTlab retains records of nonconforming work and actions as specified in 7.5 a) to g).

TRUSTlab’s procedure for handling non-conforming work is documented in             TDPL/QA/MAN-002/ MSP-018: Procedure for dealing with Nonconforming work.

Refer to Internal Audit Records TDPL/QA/FOL-027: Records of Internal Audits, and NC Records TDPL/QA/FOL-025: Records of Non-conformities & Corrective Actions.

  - Control of Data and Information Management

### General

TRUSTlab has access to the data and information needed to perform activities.

### Authorities and Responsibilities for Information Management

TRUSTlab ensures that the authorities and responsibilities for the management of the information systems are specified, including the maintenance and modification of the information systems that can affect patient care. TRUSTlab is ultimately responsible for the information systems.

TRUSTlab’s specifications of authorities and responsibilities for the management of the information system are defined in TDPL/QA/MAN-005: Information Security Guide.

### Information Systems Management

The system(s) used for the collection, processing, recording, reporting, storage or retrieval of examination data and information are:

- validated by the supplier and verified for functionality by TRUSTlab before introduction. Any changes to the system, including software configuration or modifications to commercial off-the-shelf software, are authorized, documented and validated before implementation;

- documented, and the documentation readily available to authorized users, including that for day to day functioning of the system;

- implemented taking cybersecurity into account, to protect the system from unauthorized access and safeguard data against tampering or loss;

- operated in an environment that complies with supplier specifications or, in the case of non-computerized systems, provides conditions that safeguard the accuracy of manual recording and transcription;

- maintained in a manner that ensures the integrity of the data and information and includes the recording of system failures and the appropriate immediate and corrective actions.

Calculations and data transfers are checked in an appropriate and systematic manner. TRUSTlab is in possession of the user manual, validation certificate and training certificates.

TRUSTlab’s procedure for safeguarding data is documented in TDPL/QA/MAN-005: Information Security Guide.

### Downtime Plans

TRUSTlab has planned processes to maintain operations in the event of failure or during downtime in information systems that affect the laboratory's activities. This includes the handling of automated selection and reporting of results.

TRUSTlab’s procedure for planned responses are documented in TDPL/QA/MAN-005: Information Security Guide.

### Off-site Management

When the laboratory information system(s) are managed and maintained off-site or through an external provider, the laboratory will ensure that the provider or operator of the system complies with all applicable requirements of ISO 15189:2022.

TRUSTlab’s procedure for data protection is documented in the Information Security Manual for Off-site Management and in the IT Supplier Contracts for details.

  - Complaints

    - Process

TRUSTlab has a process for handling complaints that includes the following:

- a description of the process for receiving, substantiating, and investigating the complaint and deciding what actions are to be taken in response;

- tracking and recording the complaint, including the actions undertaken to resolve it;

- ensuring appropriate action is taken.

A description of the process for handling complaints are publicly available. TRUSTlab has displayed a sign board, indicating that a complaint procedure is available, and if any patient or the user would like to register a complaint, the receptionist should be contacted. TRUSTlab has designed a complaint form that is provided to the person registering a complaint.

    - Receipt of Complaint

- Upon receipt of a complaint, TRUSTlab confirms whether the complaint relates to activities that TRUSTlab is responsible for and, if so, resolves the complaint in a timely manner. (see 8.7.1)

- TRUSTlab personnel receiving the complaint are responsible for gathering all necessary information to determine whether the complaint is substantiated.

- Whenever possible, TRUSTlab acknowledges receipt of the complaint and provides the complainant with the outcome and, if applicable, a progress report.

TRUSTlab’s procedure for handling complaints is documented in TDPL/QA/MAN-002/ MSP-019: Procedure for Complaints Handling and Resolution.

    - Resolution of Complaint

At TRUSTlab, investigation and resolution of complaints do not result in any discriminatory actions.

The resolution of complaints is made by, or reviewed and approved by, persons not involved in the subject of the complaint in question. Where resources do not permit this, any alternative approach does not compromise impartiality. The process for handling complaints is publicly available.

TRUSTlab’s procedure for resolving complaints is documented in TDPL/QA/MAN-002/ MSP-019: Procedure for Complaints Handling and Resolution.

  - Continuity and Emergency Preparedness Planning

TRUSTlab ensures that risks associated with emergency situations or other conditions when activities are limited or unavailable have been identified, and a coordinated strategy exists that involves plans, procedures, and technical measures to enable continued operations after a disruption.

Plans are periodically tested and the planned response capability is exercised, where practicable.

TRUSTlab:

- has established a planned response to emergency situations, taking into account the needs and capabilities of all relevant personnel;

- provides information and training, as appropriate to relevant personnel;

- responds to actual emergency situations;

- takes actions to prevent or mitigate the consequences of emergency situations, appropriate to the magnitude of the emergency and the potential impact.

TRUSTlab’s procedure to handle emergencies is documented in TDPL/QA/MAN-002/ MSP-020: Procedure for Contingency Planning for Emergency Preparedness and Continuity of Laboratory Activities.

### Management System Requirements

### General Requirements

### General

TRUSTlab has established, documented, implemented and maintains a management system to support and demonstrate the consistent fulfillment of the requirements of   ISO 15189:2022.

As a minimum, the Management System of TRUSTlab includes the following:

- Responsibilities (8.1)

- Objectives and policies (8.2)

- Documented information (8.2, 8.3 and 8.4)

- Actions to address risks and opportunities for improvement (8.5)

- Continual improvement (8.6)

- Corrective actions (8.7)

- Evaluations and internal audits (8.8)

- Management reviews (8.9)

### Fulfilment of Management System Requirements

TRUSTlab has taken actions to meet 8.1.1 by establishing, implementing, and maintaining a Quality Management System. This Quality Management System supports and demonstrates the consistent fulfillment of the requirements of Clauses 4 to 7 and the requirements specified in 8.2 to 8.9.

### Management System Awareness

TRUSTlab ensures that persons doing work under the laboratory’s control are aware of:

- relevant quality objectives and quality policies;

- their contribution to the effectiveness of the Management System, including the benefits of improved performance;

- the consequences of not conforming with the Management System requirements.

### Management System Documentation

### General

TRUSTlab Management has established, documented, and maintains quality objectives and quality policies for the fulfilment of the purposes of ISO 15189:2022 and ensures that the objectives and policies are acknowledged and implemented at all levels of the organization.

### Competence and Quality

The objectives and policies address the competence, quality, and consistent operation of TRUSTlab.

### Evidence of Commitment

TRUSTlab Management provides evidence of commitment to the development and implementation of the Management System and to continually improve its effectiveness.

Refer to TDPL/MG/FOL-001 for records on Management Commitment to the development and implementation of the Management System.

### Documentation

All documentation, processes, systems, and records, related to the fulfilment of the requirements of this ISO 15189:2022 document are included in, referenced from or linked to the Management System.

Refer to TDPL/QA/MAN-02: Management Systems Procedure Manual

### Personnel Access

All personnel involved in laboratory activities have access to the parts of the Management System documentation which is stored in the relevant TRUSTlab proprietary software (e.g., QT QMS / TAMS / DOMAS / IT DOSE) and related information that is applicable to their responsibilities.

### Control of Management System Documents

### General

TRUSTlab controls the documents (internal and external) that relate to the fulfillment of ISO 15189:2022.

### Control of Documents

TRUSTlab ensures that:

- documents are uniquely identified;

- documents are approved for adequacy before issue by authorized personnel who have the expertise and competence to determine adequacy;

- documents are periodically reviewed and updated as necessary;

- relevant versions of applicable documents are available at points of use and, where necessary, their distribution is controlled;

- changes and the current revision status of documents are identified;

- documents are protected from unauthorized changes and any deletion or removal;

- documents are protected from unauthorized access;

- the unintended use of obsolete documents is prevented, and suitable identification is applied to  them if they are retained for any purpose;

- at least one paper or electronic copy of each obsolete controlled document is retained for a specified time period or in accordance with applicable specified requirements.

TRUSTlab’s procedure for the control of documents is documented in TDPL/QA/MAN-002/ MSP-021: Procedure for Document Management.

### Control of Records

### Creation of Records

TRUSTlab has established and retains legible records to demonstrate fulfillment of the requirements of ISO 15189:2022.

Records are created at the time each activity that affects the quality of an examination is performed.

### Amendment of Records

TRUSTlab ensures that amendments to records can be traced to previous versions or to original observations. Both the original and amended data and files are kept, including the date and where relevant, the time, of alteration, an indication of the altered aspects and the personnel making the alterations.

TRUSTlab’s procedure for amendment of records is documented in TDPL/QA/MAN-002/ MSP-021: Procedure for Document Management.

### Retention of Records

- TRUSTlab has implemented the procedures needed for the identification, storage, protection from unauthorized access and changes, back-up, archive, retrieval, retention time, and disposal of its records.

- The retention times for records are specified.

- Reported examination results are retrievable for as long as necessary or as required.

- All records are accessible throughout the entire retention period, through TRUSTlab proprietary software (e.g., QT QMS / TAMS / DOMAS / IT DOSE) and are available for TRUSTlab Management Review (see 8.9).

TRUSTlab’s list of records and their retention times are maintained in TDPL/QA/FOL-020: List of Records & Retention Periods.

### Actions to Address Risks and Opportunities for Improvement

### Identification of Risks and Opportunities for Improvement

TRUSTlab identifies risks and opportunities for improvement associated with the activities to:

- prevent or reduce undesired impacts and potential failures in the laboratory activities;

- achieve improvement, by acting on opportunities;

- assure that the Management System achieves its intended results;

- mitigate risks to patient care;

- help achieve the purpose and objectives of TRUSTlab.

### Acting on Risks and Opportunities for Improvement

TRUSTlab prioritizes and acts on identified risks. Actions taken to address risks are proportional to the potential impact on examination results, as well as patient and personnel safety.

TRUSTlab records all decisions made and actions taken on risks and opportunities.

TRUSTlab integrates and implements actions on identified risks and improvement opportunities into its Management System and evaluates their effectiveness.

TRUSTlab’s procedure for identifying risk, management of risk, and mitigation are documented in TDPL/QA/MAN-002/ MSP-022: Procedure for Risk Management.

TRUSTlab’s record of risk identification, risk management and risk mitigation are maintained in TDPL/RM/FOL-001: Risk Management Records.

### Improvement

### Continual Improvement

- TRUSTlab is committed to continually improving the effectiveness of the Management System, including the pre-examination, examination, and post-examination processes as stated in the objectives and policies.

- TRUSTlab identifies and selects opportunities for improvement and develops, documents and implements any necessary actions. Improvement activities are directed at areas of the highest priority based on risk assessments and the opportunities identified (see 8.5)

- TRUSTlab periodically evaluates the effectiveness of the actions taken.

- TRUSTlab Management is committed to ensuring that TRUSTlab participates in continual improvement activities that encompass relevant areas and outcomes of patient care.

- TRUSTlab Management communicates to personnel its improvement plans and related goals on a regular basis.

TRUSTlab’s record of action plans to bring about continual improvement are maintained in TDPL/QA/FOL-021: Continual Improvement Record.

### Laboratory Patients, User and Personnel Feedback

TRUSTlab seeks feedback from its patients, users, and personnel. The feedback is analyzed and used to improve the management system, activities, and services for users.

Records of feedback are maintained including the actions taken. Communication is provided to personnel on actions taken arising from their feedback.

TRUSTlab’s record of various patient feedback, including relevant actions taken, is maintained in TDPL/QA/FOL-022: Record of Patient Feedback, TDPL/QA/FOL-023: Record of Doctors Feedback, and TDPL/QA/FOL-024: Record of TRUSTlab Personnel Feed-back.

### Nonconformities and Corrective Actions

### Actions when Nonconformity Occurs

When a nonconformity occurs, TRUSTlab:

- Responds to the nonconformity and, as applicable:

  - take immediate action to control and correct the nonconformity.

  - address the consequences, with a particular focus on patient safety including escalation to the appropriate person.

- Determine the cause(s) of the nonconformity.

- Evaluate the need for corrective action to eliminate the cause(s) of the nonconformity, to reduce the likelihood of recurrence or occurrence elsewhere, by:

  - reviewing and analyzing the nonconformity.

  - determining whether similar nonconformities exist or could potentially occur.

  - assessing the potential risk(s) and effect(s) if the nonconformity recurs.

- Implement any action needed.

- Review and evaluate the effectiveness of any corrective action taken.

- TRUSTlab updates risks and opportunities for improvement, as needed.

### Corrective Action Effectiveness

TRUSTlab ensures corrective actions are appropriate to the effects of the nonconformities encountered and mitigates the identified cause(s).

### Records of Nonconformities and Corrective Actions

TRUSTlab retains records as evidence of the

- nature of the nonconformities, cause(s) and any subsequent actions taken, and

- evaluation of the effectiveness of any corrective action.

TRUSTlab’s records of nonconformities are maintained in TDPL/QA/FOL-025: Records of Non-conformities & Corrective Actions.

### Evaluations

### General

TRUSTlab conducts evaluations at planned intervals to demonstrate that the management, support, and pre-examination, examination, and post-examination processes meet the needs and requirements of patients and users, and to ensure conformity to the requirements of ISO 15189:2022.

### Quality Indicators

At TRUSTlab the process of monitoring quality indicators [see 5.5 d] has been established, which includes establishing the objectives, methodology, interpretation, limits, action plan, and duration of monitoring. The indicators are periodically reviewed, to ensure continued appropriateness.

TRUSTlab’s records of Quality indicators are maintained in TDPL/QA/FOL-026: Records of Quality Indicators.

### Internal Audits

### Internal Audit Intervals

### TRUSTlab conducts internal audits at planned intervals to provide information on whether the Management System

- conforms to TRUSTlab’s own requirements for its Management System, including the laboratory activities,

- conforms to the requirements of ISO 15189:2022, and

- is effectively implemented and maintained.

### Internal Audit Program

### TRUSTlab has implemented and maintains an internal audit program that includes:

- priority given to risk to patients from activities;

- a schedule that takes into consideration identified risks; the outcomes of both external evaluations and previous internal audits; the occurrence of nonconformities, incidents, and complaints; and changes affecting the laboratory activities;

- specified audit objectives, criteria and scope for each audit;

- selection of auditors who are trained, qualified and authorized to assess the performance of the laboratory's Management System, and, whenever resources permit, are independent of the activity to be audited;

- ensuring objectivity and impartiality of the audit process;

- ensuring that the results of the audits are reported to relevant personnel;

- implementation of appropriate correction and corrective actions without undue delay;

- retention of records as evidence of the implementation of the audit program and audit results.

TRUSTlab’s procedure on the internal audit plan, conduct, non-conforming work, corrective actions, and audit report is documented in TDPL/QA/MAN-002/ MSP-023: Procedure for Conducting Internal Audit.  Records of Internal Audits are maintained in TDPL/QA/FOL-027: Records of Internal Audits.

### Management Reviews

### General

TRUSTlab Management reviews its Management System at planned intervals to ensure its continuing suitability, adequacy and effectiveness, including the stated policies and objectives related to the fulfilment of ISO 15189:2022.

### Review Input

TRUSTlab records the inputs to Management review including evaluations of the following:

- status of actions from previous management reviews, internal and external changes to the Management System, changes in the volume and type of  activities and adequacy of resources;

- fulfillment of objectives and suitability of policies and procedures;

- outcomes of recent evaluations, process monitoring using quality indicators, internal audits, analysis of non-conformities, corrective actions, and assessments by external bodies;

- patient, user, and personnel feedback and complaints;

- quality assurance of result validity;

- effectiveness of   any   implemented   improvements   and   actions   taken   to   address   risks   and opportunities for improvement;

- performance of external providers;

- results of participation in intercomparison programs;

- other relevant factors, such as monitoring activities and training.

### Review Output

TRUSTlab records the output from the Management review including the decisions and actions related to:

- the effectiveness of the Management System and its processes;

- improvement of the laboratory activities related to the fulfillment of the requirements of ISO 15189:2022;

- provision of required resources;

- improvement of services to patients and users;

- any need for change.

TRUSTlab Management has ensured that actions arising from management review are completed within a specified time frame. TRUSTlab communicates with all its personnel the conclusions and actions arising from management reviews.

TRUSTlab’s procedure for Management review frequency, input, and output are all documented in TDPL/QA/MAN-002/ MSP-024: Procedure for carrying out Management Review Meetings.

TRUSTlab’s records of Management review frequency, inputs and output are maintained in TDPL/QA/FOL-028: Details of Management Review Meeting.