MSP - 001

PROCEDURE FOR ENSURING IMPARTIALITY & INDIVIDUALITY

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Procedure	7

6.	Quality Control	8

7.	Related Documents	8

8.	Reference Regulations & Guidelines	9

9.	Related Records	9

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

- APPROVAL AUTHORITY

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 04 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | FOM | Form |
| 2 | GE | General |
| 3 | HR | Human Resources |
| 4 | ISO | International Organization for Standardization |
| 5 | MSP | Management System Procedure |
| 6 | MAN | Manual |
| 7 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 8 | QA | Quality Assurance |
| 9 | QSP | Quality System Procedure |
| 10 | SOP | Standard Operating Procedure |
| 11 | TDPL | TRUSTlab Diagnostics Private Limited |

Objective

- This procedure defines the requirements for ensuring Impartiality and Independence in all activities TRUSTlab performs.

Scope

- This procedure applies to all staff (including contract personnel) and all activities TRUSTlab performs.

Responsibilities

The Quality Manager is responsible for implementing, monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff (including contract personnel) are responsible for complying with this procedure.

Definitions

- N/A.

Procedure

TRUSTlab is responsible for the impartiality of its activities and shall not allow commercial, financial or other pressures to compromise impartiality.

TRUSTlab Management and staff shall be fully committed to ensure that all activities are undertaken impartially.

All personnel within TRUSTlab shall avoid involvement in any activities that could cause risk to impartiality. Risk to impartiality can be based on ownership, governance, management, personnel, relationships, shared resources, finances etc.

All permanent and contract employees will need to sign the Impartiality & Confidentiality Declaration Form (TDPL/HR/FOM-015).

TRUSTlab requires all permanent and contract employees to reveal any situation known to them that may expose them or company to a conflict of interest.

TRUSTlab identifies, evaluates, manages and mitigates impartiality related risks on an ongoing basis.

Risks to impartiality may be identified during routine activities by employees, during audits, management reviews etc.

If a situation where a failure in maintaining impartiality does occur, the person involved or who is knowledgeable about such activities has the responsibility to report the information to the Quality Manager as soon as possible.

Once a risk to impartiality is identified its impact is assessed through a risk assessment process.

Once a proper risk analysis has been performed appropriate measures shall be selected to eliminate or minimize its effect in a way that even if the activity of risk is present, it should have no significant effect on results.

Recorded risk and preventive measures shall be continuously monitored to ensure that risk is controlled.

All identified risks to impartiality shall be reviewed and analyzed during the management review meeting.

If at any time, it is found that any staff member is not following the guidelines and likely to fail in maintaining impartiality or succumbs to improper influences, then disciplinary action is initiated against the non-compliant employee by the top management and may include termination of employment.

Subcontractors may be subjected to a temporary suspension of services, which may extend into cancellation of contracts and termination of all relationships with TRUSTlab, if impartiality requirements are not met.

Quality Control

- The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action should be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

Related Documents

- Procedure for Risk Management (TDPL/QA/MAN-002 MSP-022)

Reference Regulations & Guidelines

Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

Guidance document: Medical Laboratories (NABL 112B; Issue 01)

ISO 15189:2022 Medical Laboratories – Requirements for Quality and Competence

Related Records

Impartiality & Confidentiality Declaration Form (TDPL/HR/FOM-015)

Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)