MSP - 004

PROCEDURE FOR HANDLING

EQUIPMENT RECALL

TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Procedure	8

6.	Quality Control	8

7.	Related Documents	9

8.	Reference Regulations & Guidelines	9

9.	Related Records	9

APPROVAL AUTHORITY

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

DISTRIBUTION LIST

LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | BE | Biomedical Engineering |
| 2 | BME | Biomedical Engineering |
| 3 | ESCA | Equipment Safety Corrective Action |
| 4 | ESN | Equipment Safety Notice |
| 5 | FOL | Folder |
| 6 | FOM | Form |
| 7 | GE | General |
| 8 | ISO | International Organization for Standardization |
| 9 | MSP | Management System Procedure |
| 10 | MAN | Manual |
| 11 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 12 | QA | Quality Assurance |
| 13 | SOP | Standard Operating Procedure |
| 14 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- The purpose of this procedure is to ensure that products and equipment that have been recalled by a vendor or otherwise cited for safety hazards are removed or placed out of service and are properly disposed of.

- Scope

- The scope covers all medical equipment that have been recalled by a vendor (distributor, manufacturer, and supplier) or cited for a potential hazard may pose a significant health and safety risk.

- Responsibilities

It is the responsibility of all department heads and departmental safety coordinators to implement this policy.

It is the responsibility of the BME department to dispense the ESNs and recalls to the affected departments.

It is the responsibility of all the users of the affected device to comply with ESCA.

The BME Department is responsible for contacting any/all departments utilizing the device to confirm their compliance with the Recall Notice.

It is the responsibility of the BME department alongside supplier to implement the technical rectification and ESCA of the ESN.

It is the responsibility of the BME department to remove the recalled device from the departments.

- Definitions

Equipment Safety Notices (ESNs): Safety communications sent out by medical device manufacturers or their representatives in relation to actions that may be taken in relation to their Medical Device that is on the market.

Equipment Safety Corrective Action (ESCA): Corrective action recommended by the manufacturer to use the medical device in a safe way to reduce potential risk and protect patient’s/user’s health.

Recall: A type of ESN where a manufacturer has to withdraw the defective medical device from the market due to a defect which cannot be resolved by a corrective action and can put patient/user under high risk.

- Procedure

The BME department Manager is the coordinator and tracks this program. The reporting of device related incidents to the manufacturer is managed by the BME department.

Any information that comes into the organization regarding manufacturer recalls or warnings about medical equipment is immediately forwarded to the BME department Manager.

BME department reviews and cross-checks the communications received with the machine manufacturers and/or their distributors.

BME department will check the equipment inventory for the equipment matches and will evaluate the severity of the risk.

The BME Manager will dispense the notice to any/all appropriate departments involved in the usage of the medical equipment in question.

The department(s) receiving the Recall Notices will:

    - Implement the instructions provided in the Recall Notice.

    - The designee from the department will date (including timestamp) & sign the Recall Notice and return it to the BE department

    - BME Manager ensures that it is filed under the respective department in the Equipment Recall Notice Folder (TDPL/BE/FOL-007).

In the event that the equipment must be removed from service, the equipment is replaced with a safe and effective substitute (Refer to Procedure for Equipment Management (TDPL/QA/MAN-002: MSP-003)). The BME department will impound equipment removed from use until it can be rendered safe for use.

BME department reports the following in the monthly safety committee report:

    - Recall Notices received.

    - Action taken by the department/s that were using the equipment.

- Quality Control

- The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action will be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

- Related Documents

Procedure for Equipment Management (TDPL/QA/MAN-002: MSP-003)

- Reference Regulations & Guidelines

Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

Guidance document: Medical Laboratories (NABL 112B; Issue 01)

ISO 15189:2022 Medical Laboratories – Requirements for Quality & Competence

- Related Records

Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)

Equipment Recall Notice Folder (TDPL/BE/FOL-007)