MSP - 009

PROCEDURE FOR MANAGING EXTERNAL PRODUCT & SERVICE PROVIDERS

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Procedure	7

5.1	Supplier Identification/Development	7

5.2	Pre-Registration Evaluation/Approval	8

5.3	Supplier Registration	11

5.4	Supplier Performance Management for Empaneled Suppliers	11

5.5	Supplier Blacklist	14

6.	Quality Control	15

7.	Related Documents	15

8.	Reference Regulations & Guidelines	15

9.	Related Records	16

- APPROVAL AUTHORITY

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | CMD | Chairman & Managing Director |
| 2 | cGMP | Current Good Manufacturing Practices |
| 3 | FOM | Form |
| 4 | GE | General |
| 5 | GST | Goods & Services Tax |
| 6 | ISO | International Organization for Standardization |
| 7 | LIMS | Laboratory Information Management System |
| 8 | MSP | Management System Procedure |
| 9 | MAN | Manual |
| 10 | MSME | Micro, Small, and Medium Enterprises |
| 11 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 12 | NSEF | New Supplier Verification Form |
| 13 | PAN | Permanent Account Number |
| 14 | PD | Purchase Department |
| 15 | PO | Purchase Order |
| 16 | PR | Procurement |
| 17 | QA | Quality Assurance |
| 18 | QC | Quality Control |
| 19 | SRF | Supplier Registration Form |
| 20 | TDPL | TRUSTlab Diagnostics Private Limited |
| 21 | UPS | Uninterruptible Power Supply |

- Objective

- The objective of this SOP is to lay down a procedure:

- To provide guidelines to streamline the process of New Supplier Identification, Qualification, Verification, and Approval before they are registered as TDPL Approved Supplier.

- To provide instructions on periodical evaluation of reduced/enhanced capability of the Approved Supplier to retain them as ongoing suppliers to TRUSTlab Diagnostics Private Limited (TRUSTlab).

- To ensure that a list of reliable registered suppliers is available for each product category.

- Scope

- This procedure covers:

  - Evaluation, Approval/Rejection & Registration of potential suppliers.

  - Evaluation and Development of existing suppliers.

- Responsibilities

  - Purchasing Officer

  - Purchasing Executive

  - Chairman & Managing Director

  - Purchasing Committee

- Definitions

- Supplier/Vendor: Any entity that provides goods or services that are instrumental in the operations of TRUSTlab.

- Procedure

  - Supplier Identification/Development

- Potential Suppliers should be identified/developed based on the following criteria:

- Product portfolio/Service

- Location

- Manufacturing Facility/Distribution Capacity

- Infrastructure

- Financial Strength

- List of major customers and sub-suppliers

- Material Handling System

- Quality Management

- Market Reputation

- Certification & Documentation

  - Supplier Assessment Framework (Verification & Evaluation)

The following supplier assessment framework supports our organization with a strategic approach to vet and rank potential vendors. This framework is based on a set of standard criteria to determine prospective vendors’ suitability and any risks they may pose to TRUSTlab.

Our assessment framework to determine the best vendor or supplier based not only on price, but also on a full spectrum of 5C criteria that are essential for TRUSTlab to maintain Quality, On-time service delivery and provide financial benefit to its customers.

Vendor and supplier assessments occur most often within our purchasing department. It also forms part of the pre-qualification step within the purchasing area, although it usually includes the participation and input of other departments and stakeholders.

  - Pre-Registration Evaluation/Approval

Supplier Approval/Registration of Medical (Critical) Items

- The need for New Suppliers arises because:

  - TRUSTlab may require new products that are not provided by existing suppliers.

  - The current P1, P2, P3, & P4 suppliers are unable to provide us with existing supplies.

- Type of Suppliers

  - Non-authorized dealer or Standalone Supplier, &

  - Company Authorized dealer/distributor.

- The purchase department can obtain the information of the suppliers who are non-authorized dealers/distributors through the following ways.

  - Information from other departments,

  - Through a web search,

  - Newspaper advertisements,

  - Magazine/Journals/Yellow Pages/Business Catalogue & Exhibitions,

  - Seminars, Electronic Media etc.

  - Customer/Collaborator/Existing Supplier’s Recommendations.

- For Company-authorized dealers, the Supplier company shall provide all the information of their authorized dealer/distributor who is proposed to be tagged to supply the Company goods to TRUSTlab.

- After identification/introduction of the Supplier from the above type, the purchasing department will send a New Supplier Verification Form (TDPL/PR/FOM-001) (NSVF) and initiate the New Supplier evaluation process.

- The filled-up NSVF is sent by the supplier to TRUSTlab’s Purchase/Materials Manager.

- The NSVF is then forwarded to the QM for technical evaluation.

- QM evaluates the NSVF based on the technical capabilities.

- If deemed necessary, a Supplier audit may be conducted to confirm the vendors Quality system, by representatives from Purchase and QA.

- The team analyzes the information gathered from the NSVF as well as the on-site audit (if done). For example, if the supplier maintains a cold room to store medical test kits, verification is done to see whether they have temperature logs to prove that there is constant maintenance of the required temperature to store medical test kits, evaluation of cleanliness of the premises, health and safety practices, environmentally friendly practices, social responsibilities, support team, etc.

- If the vendor qualifies and meets the requirement of cGMP based on the NSVF, Purchase Manager shall procure sufficient sample of the Material along with Certificate of Analysis, which will be forwarded to Quality Manager for technical evaluation.

- On receipt of sample, QM analyses the sample as per agreed specifications.

- If the sample meets the specification and the quality system of the vendor is found adequate, commercial negotiations will commence.

- Item-wise price quotations will be sourced from the supplier followed by price negotiations. If there is an agreement on the item-wise price between the supplier and TRUSTlab, an offsite evaluation will commence. For an authorized dealer/distributor, this process is carried out with the supplier company before proceeding any further. Refer to Request for Supplier Quotations and Approval (TDPL/PD/SOP-002).

- The Material/Purchase Manager will submit the findings (technical assessment and commercial comparisons) to the Management for the final decision on Supplier Approval/Rejection. The final decision remains with the Management on the Supplier Approval/Rejection.

- If the supplier is approved, a Supplier Goods & Service Agreement (TDPL/LG/FOM-005) will be signed by both parties (supplier & TRUSTlab). In the situation where an authorized dealer/distributor will be involved, the Goods & Services Agreement will be signed by both the main supplier and the authorized dealer/distributor.

Process Owner: PURCHASE DEPARTMENT

INPUT

PROCESS

OUTPUT

References

Buyers, Supplier Request, Journals, Internet, Trade Fare, etc.

Find Satisfactory

Reject

Approved & Register

Approved Suppliers List (in LIMS)

Appraisal of Information carried out with respect to selection criteria

Yes

No

PROCESS MAP – NEW SUPPLIER EVALUATION PROCESS

- Once the Goods & Services Agreement is signed, a Supplier Registration Form (TDPL/PR/FOM-002) will be issued for the supplier to fill in, duly sign and send back (softcopies via email and originals through post) the same along with copies of all the required documents such as Firm GST certificate, Firm PAN card, MSME Registration Certificate (if applicable), Medical Supplier Registration (if the supplier is approved to supply medical kits and consumables).

- Upon receipt of all the registration details, the data will be entered into the TRUSTlab LIMS software, and a supplier code will be generated.

  - Supplier Registration

Approved suppliers are registered for a period of 1 (One) year. At the end of the period, the suppliers are re-evaluated to assess if they continue to meet the selection criteria of TRUSTlab and if they should be retained on the List of Approved External Product Providers (TDPL/PR/FOM-005).

It is the responsibility of the Purchase Department to maintain the List of Approved External Product Providers (TDPL/PR/FOM-005) for all the supply categories including:

  - Suppliers that supply medical test kits,

  - Suppliers that supply medical consumables,

  - Suppliers that supply non-medical consumables,

  - Services related to Calibration, Testing etc.,

  - Suppliers that supply regular services including, but not limited to, electrical works, plumbing works, carpenters, UPS, generator maintenance, security services, housekeeping services, logistics, etc.,

  - Suppliers who supply consulting and contract work on a regular or non-regular basis,

  - Suppliers who provide Branding services, &

  - Suppliers providing Digital Marketing Services.

Items or services required for areas other than those related to the pathology testing i.e. maintenance, administration, welfare, stationery, housekeeping supplies, etc., the purchases shall be made from suppliers on a case-to-case basis depending on the type of item and urgency and these need not form a part of this list.

  - Supplier Performance Management for Empaneled Suppliers

All Suppliers against whom the Purchase Order (PO) has been raised are reviewed for their performance on a half-yearly basis for the orders carried out as per the supplier rating guidelines. The data for supplier evaluation is extracted from the LIMS/Purchase Department and the computation of supplier score is carried out based on supplier evaluation methodology. The prime responsibility of supplier evaluation is with the Purchase Department, which will provide support to the Purchasing Committee, whenever required.

Important factors and conditions to be considered for analysis under each of the criteria are:

| Criteria | Factors and Conditions |
| --- | --- |
| Cost | - The supplier’s ability to provide products/services at a competitive cost. - Number of invoices errors pertaining to product price. |
| Capacity | - Is the supplier capable of providing TRUSTlab additional quantities at short notice? |
| Commitment to Quality | - Number of product returns to supplier due to wrong/inconsistent results. - Number of product Recalls. |
| Consistency of Performance | - On-time delivery - Number of damaged goods - Temperature maintenance - Product expiry period |
| Communication | - Communication turnaround time with Purchase Orders and in general during the period of transaction. |

Weightage of the Criteria:

- The supplier evaluation will be based on a 50-base point level under the key performance criteria mentioned above. The weightage of each criterion is provided below:

| Criteria | Factors and Conditions | Score Key |
| --- | --- | --- |
| Cost | The supplier’s ability to provide products/services at a competitive cost. | 5 |
|  | Number of invoices errors pertaining to in product price. | 5 |
| Capacity | Is the supplier capable of providing TRUSTlab additional quantities in short notice? | 5 |
| Commitment to Quality | Number of product returns to supplier due to wrong/inconsistent results. | 5 |
|  | Number of product Recalls. | 5 |
| Consistency of Performance | On-time delivery | 5 |
|  | Number of defects/damages | 5 |
|  | Temperature maintenance | 5 |
|  | Product expiry period | 5 |
| Communication | Communication turnaround time with purchase orders and in general during the period. | 5 |

The Overall score is derived from the individual scores against each delivery recorded in the External Providers Performance Data Analysis Sheet. The performance evaluation matrix is as follows:

| Overall Rating | Grade | Grade Rating | Remarks |
| --- | --- | --- | --- |
| 80% and above | PS1 | Excellent | 1st Preferred Supplier |
| 70% to <80% | PS2 | Good | 2nd Preferred Supplier |
| 60% to < 70% | PS3 | Fair | 3rd Preferred Supplier |
| <60% | D | Poor | Supplier is de-listed from Approved Supplier list. |

Guidelines for Supplier Rejection/De-listing

- Suppliers who don’t qualify as per the supplier evaluation system shall be de-listed.

- If a supplier is de-listed no PO is allowed to be sent to the supplier, and the system restricts such operations.

- Disqualified Vendors may be reassessed on confirmation/assurance from them on improvement.

Disqualification of Suppliers during the year

- In case of persistent failures in terms of quality and delivery during the course of the year (and not based on the performance rating criteria), the Supplier will be disqualified and removed from the Approved Suppliers list.

Process Owner: PURCHASE DEPARTMENT

INPUT

PROCESS

OUTPUT

Supplier Database

PO, Delivery & Rejection Data

Performance Rating Criteria Methodology (system)

Collect Data from Performance Rating

Performance Rating Process

Acceptable Performance

Reject & De-list

END

Update Approved Suppliers List (in LIMS)

Yes

No

PROCESS MAP – EXISTING SUPPLIER EVALUATION PROCESS

  - Supplier Blacklist

- Guidelines for Supplier Blacklisting:

- Cases of suppliers requiring review for blacklisting are summarized below:

  - No compliance with TRUSTlab’s ethical policies.

  - Infringement of ethical standards in business dealings.

  - Resorting to malpractices that resulted in or might have resulted in a tangible/notional loss to TRUSTlab.

  - Using the Company’s assets/rights/names etc. to the supplier’s own advantage etc.

- Action for blacklisting commences immediately on the basis of inputs from any relevant sources e.g., buyers, inspecting staff, inspection reports, customers, any responsible official of the Company, secret/confidential reports, information of criminal proceedings/suspect against a supplier, any judicial/quasi-judicial directives, any advice from CMD etc.

- Any decision to blacklist a supplier is taken only after considering the entire performance of the supplier, the above criteria and the Company in the context of the procurement as a whole. The performance also includes the respective roles and obligations of the supplier and TRUSTlab under the terms and conditions of the PO. The supplier database clearly shows the “BLACKLISTED” status against each such supplier. The system does not allow the raising of a PO against a blacklisted supplier.

- Reinstating the registration of a Blacklisted supplier in TRUSTlab LIMS can only be done with the approval of the CMD.

- Quality Control

- The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action will be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

- Related Documents

- Request for Supplier Quotations and Approval (TDPL/PD/SOP-002)

- Reference Regulations & Guidelines

Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

Guidance document: Medical Laboratories (NABL 112B; Issue 01)

ISO 15189:2022 Medical Laboratories – Requirements for Quality and Competence

- Related Records

Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)

List of Approved External Product Providers (TDPL/PR/FOM-005)

Supplier Goods & Service Agreement (TDPL/LG/FOM-005)

New Supplier Verification Form (TDPL/PR/FOM-001)

Supplier Registration Form (TDPL/PR/FOM-002)