MSP - 014

PROCEDURE FOR MANAGING EXTERNAL QUALITY ASSESSMENT PROGRAM

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Procedure	7

5.1	Proficiency Testing (PT) Panels - Providers & Schedule	7

5.2	Proficiency Testing Procedure	7

5.3	Inter-Laboratory Comparison	8

5.4	Handling Ungraded Proficiency Testing	9

5.5	Task-wise Responsibilities	9

6.	Quality Control	9

7.	Related Documents	9

8.	Reference Regulations & Guidelines	10

9.	Related Records	10

Annexure 1: EQA Program Details	11

- APPROVAL AUTHORITY

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | CAPA | Corrective Action & Preventive Action |
| 2 | CBC | Complete Blood Count |
| 3 | EQA | External Quality Assessment |
| 4 | FOM | Form |
| 5 | GE | General |
| 6 | ISO | International Organization for Standardization |
| 7 | LFT | Liver Function Test |
| 8 | MAN | Manual |
| 9 | MSP | Management System Procedure |
| 10 | MU | Measurement Uncertainty |
| 11 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 12 | PT | Proficiency Testing |
| 13 | QA | Quality Assurance |
| 14 | QT QMS | Quality comes before Trust Quality Management System |
| 15 | REG | Register |
| 16 | RFT | Renal Function Test |
| 17 | TDPL | TRUSTlab Diagnostics Private Limited |

Objective

- The purpose of this procedure is to ensure a standardized approach for testing proficiency samples as part of the TRUSTlab External Quality Assessment (EQA) Program.

Scope

- The SOP covers TRUSTlab External Quality Assessment and Internal Laboratory Comparison.

Responsibilities

  - Quality Manager

  - Lab Manager

  - Lab Head

Definitions

- Sample: A biological specimen of a patient/test requestor that is received by TRUSTlab for specific diagnostic testing.

Procedure

Proficiency Testing (PT) Panels - Providers & Schedule

- By the end of November of every calendar year, TRUSTlab will finalise and register the required EQA parameters with the finalized EQA provider.

- Once the payment is completed to the EQA provider, an EQA schedule is prepared in the QT QMS software, for the whole calendar year with all the finalized EQA provider.

- Proficiency samples are received from the registered EQA providers such as CMC Vellore, Metropolis, etc.

- Designated EQA providers provide panels at regular intervals.

- The details of EQA at TRUSTlab are provided in Annexure 1.

Proficiency Testing Procedure

  - Samples are received by Accession staff who register the samples as per Procedure for Specimen Management (TDPL/QA/MSP-011).

  - The samples are then forwarded to the responsible Laboratory personnel in the department to carry out testing.

  - Proficiency Testing samples are tested in the same manner as any routine specimen submitted to the laboratory following test specific SOPs.

  - Testing is performed by staff who routinely analyze the respective patient samples.

  - Under no circumstances does TRUSTlab communicate with other participants, refer or accept referrals of PT samples to or from other laboratories.

  - The PT results (raw data) are recorded in EQAS Sample Processing Form (TDPL/GE/FOM-009) where applicable.

  - The PT results are submitted either electronically or by hard copy depending on panels provider’s preference and recommendation.

  - Raw data is also maintained in the QT QMS software for any future reference.

  - When the survey results are returned, the Quality Manager reviews the results.

  - If there are any unsatisfactory results, the immediate action is to retest the failed parameter using the stored PT samples to compare the results with the peer mean and a responsible lab technician investigates the problem and comes up with appropriate corrective and/or preventive actions.

  - The findings from the investigations are recorded in the Corrective Action & Preventive Action Form for EQAS Outliers (TDPL/GE/FOM-035) (CAPA form). A copy of this form is attached to the EQA results and the original CAPA form is filed in the QT QMS software.

  - The EQA samples are discarded upon receipt of the next panel or after retesting for the failed parameter.

  - Lab Management may decide to use select EQA samples to assess the competency of staff and for the preparation of Internal Quality Control materials.

Inter-Laboratory Comparison

  - In cases where an External Quality Assessment (EQA) provider is unavailable for a specific parameter, TRUSTlab is responsible for identifying an external laboratory with similar equipment and processes for that parameter. TRUSTlab must then arrange for testing at the external laboratory and compare the results obtained with its internal results.

  - If the results do not fall within the acceptable range, TRUSTlab will undertake a CAPA, record the actions in the CAPA form and file the same in QT QMS software.

Handling Ungraded Proficiency Testing

- For any ungraded proficiency testing, documentation is maintained in QT QMS to the above effect. This could be due to the late submission of results after the cut-off date, incorrect completion of results of the result forms, lack of consensus and the laboratory being unable to analyze or submit results.

- Once the participant summary/final critique report for the survey is available, the laboratory results for the ungraded test events are compared with the summary of referee and participant responses. A computed report is filed showing agreement or disagreement with the other participating laboratories. For any unacceptable results, an investigation and Corrective action is performed and documented in the CAPA form.

Task-wise Responsibilities

| Task | Responsible | Accountable |
| --- | --- | --- |
| Implementation of the procedure | Quality Manager | Lab Manager |
| Review of the reports | Quality Manager | Lab Manager/Lab Head |
| Communication of the MU to the requestors | Quality Manager | Lab Manager/Lab Head |

Quality Control

- The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action should be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

Related Documents

Procedure for Specimen Management (TDPL/QA/MSP-011)

Reference Regulations & Guidelines

Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

Guidance document: Medical Laboratories (NABL 112B; Issue 01)

ISO 15189:2022 Medical Laboratories – Requirements for Quality and Competence

Related Records

EQAS Sample Processing Form (TDPL/GE/FOM-009)

Corrective Action & Preventive Action Form for EQAS Outliers (TDPL/GE/FOM-031)

Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)

- Annexure 1: EQA Program Details

| S. No. | Department | EQAS Provider | EQAS Programme | Cycles per Year |
| --- | --- | --- | --- | --- |
| 1 | Clinical Biochemistry | CMC | - CHEM-I | 12 |
| 2 | Clinical Biochemistry | CMC | - Tumor Marker | 3 |
| 3 | Clinical Biochemistry | CMC | - HbA1C | 12 |
| 4 | Immunoassay | Metropolis EQAS | - Immunoassay | 4 |
| 5 | Haematology | AIIMS | ISHBT - AIIMS EQAS | 4 |
| 6 | Haematology | CMC | CMC EQAS - Transfusion Medicine Module - B | 3 |
| 7 | Haematology | CMC | ISHBT – CMC EQAS Haemostasis Module - A | 3 |
| 8 | Clinical Pathology | RML | Metropolis-Clinical Path | 2 |
| 9 | Histopathology | RML - (RML - QAP) | - Histopathology | 6 |
| 10 | Cytopathology | RML - (RML - QAP) | - Cytopathology | 6 |
| 11 | Microbiology | CMC | Tier 1 (Option: Basic Bacteriology & Serology) | 3 |
| 12 | Molecular Biology | Metropolis EQAS | Molecular - Quant | 2 |
| 13 | Serology | Metropolis EQAS | Immunoassay - Extended Code QI001 | 4 |