MSP - 018

PROCEDURE FOR DEALING WITH NONCONFORMING WORK

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Procedure	7

4.1	Identification of Nonconformances	7

5.	Quality Control	8

6.	Related Documents	8

7.	Reference Regulations & Guidelines	8

8.	Related Records	9

- APPROVAL AUTHORITY

| Prepared by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Issued by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Approved by: | Chairman & Managing Director | Mr. Venkata Cherukuri Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | FOM | Form |
| 2 | GE | General |
| 3 | ISO | International Organization for Standardization |
| 4 | MAN | Manual |
| 5 | MSP | Management System Procedure |
| 6 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 7 | NC | Nonconformity |
| 8 | QA | Quality Assurance |
| 9 | QM | Quality Manager |
| 10 | SOP | Standard Operating Procedure |
| 11 | TAT | Turn Around Time |
| 12 | TDPL | TRUSTlab Diagnostics Private Limited |

Objective

- This procedure ensures that all non-conformities (NC) are identified in a timely manner and resolved.

Scope

- This procedure is applicable to all the activities of the laboratory.

Responsibilities

  - Lab Manager

  - Quality Manager

Procedure

### Identification of Nonconformances

- Non-conforming activities can occur in many different areas in the lab and can be identified in many different ways including clinician’s complaints, quality control failures, instruments calibrations, checking of consumable materials, staff comments, reporting and calibration certificate checking, laboratory management reviews, internal and external audits and TAT monitoring.

- If a non-conformity is identified, the person who identifies the nonconformity completes the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021) and will be responsible to determine and carry out the immediate action suitable to contain the problem.

- The person who identifies the non-conformity will present to the Laboratory Manager or Quality Manager the completed form.

- The QM makes a note in the same form and assigns a sequential number to it.

- The Laboratory Manager or Quality Manager will assign personnel to investigate and complete the non-conformance and will agree on the date of the follow-up for the completion of corrective actions and the effectiveness of these actions.

- The Quality Manager will carry out an investigation to establish the medical significance of the non-conformance and classify it as major or minor. The results of this investigation determine whether the following actions can be taken:

  - Stop testing for the affected analyte.

  - Withhold results or output of the activity of the affected test/process and order a repeat run.

  - Recall results of the previous test (if necessary) or order a retest.

  - If the results of the affected process have already been issued to clients, the Laboratory Manager/QM conveys the non-conformance to CSD, which in turn notifies clients or individuals concerned about the glitch and the requirement for a rerun/repeat test.

- Case-specific corrective action will be conducted.

- The Laboratory Manager/QM or the assigned personnel will document corrective action and record it in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

- The QM or Laboratory Manager will report all the non-conformances in the Laboratory Departmental Meeting and the meeting shall agree on the timelines for resolution of the non-conformances and its closure and monitoring of effectiveness.

- Resumption of work can be authorized by the QM or Laboratory Manager following satisfactory root cause analysis and corrective action; and communication shall be made thereof.

- Technical non-conformances shall be solved by personnel in the respective departments and records thereof shall be kept in the respective departments.

Quality Control

- The Quality Manager or designee will do random Quality Control checks to ensure that this SOP is implemented as written. If Quality control checks reveal non-compliance with this SOP, the SOP deviations and violations will be investigated, corrective and preventive action initiated, implemented, reviewed and closed out. All corrective and preventive action should be documented in the Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021).

Related Documents

- N/A.

Reference Regulations & Guidelines

Specific Criteria for Accreditation of Medical Laboratories (NABL 112 A; Issue 01)

Guidance document: Medical Laboratories (NABL 112B; Issue 01)

ISO 15189:2022 Medical Laboratories – Requirements for Quality and Competence

Related Records

Non-Conformity & Corrective Action Form (TDPL/GE/FOM-021)