SOP – 028

PROCEDURE FOR

eGFR TEST

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	8

7.	Type of Sample	8

8.	Type of Container & Additives	8

9.	Patient Preparation	8

10.	Equipment & Reagents	8

11.	Safety	8

12.	Calibration Procedure	8

13.	Test Procedure	9

14.	Quality Control Procedure	9

15.	Interferences & Cross Reactions	9

16.	Result Calculation	9

17.	Biological Reference Interval	9

18.	Reportable Interval	9

19.	Procedure when Results are not in Range	9

20.	Critical Alert Values	9

21.	Laboratory Clinical Interpretation	9

22.	Potential Source of Variability	10

23.	References	10

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. K. Anusha Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AMR | Analytical Measurement Range |
| 2 | BC | Biochemistry |
| 3 | °C | Degree Centigrade |
| 4 | CM | Chylomicrons |
| 5 | CV | Coefficient of Variation |
| 6 | CRR | Clinical Reportable Range |
| 7 | EDTA | Ethylenediaminetetraacetic Acid |
| 8 | eGFR | Estimated Glomerular Filtration Rate |
| 9 |  |  |
| 10 | EQAS | External Quality Assurance Scheme |
| 11 | HOD | Head of Department |
| 12 | IFCC | International Federation for Clinical Chemistry |
| 13 | IQC | Internal Quality Control |
| 14 | LLOQ | Lower Limit of Quantitation |
| 15 | MSP | Management System Procedure |
| 16 |  |  |
| 17 | N/A | Not Applicable/Available |
| 18 | QC | Quality Control |
| 19 | QM | Quality Manager |
| 20 | QNS | Quantity Not Sufficient |
| 21 | SD | Standard Deviation |
| 22 | SOP | Standard Operating Procedure |
| 23 | SST | Serum Separator Tube |
| 24 | TRF | Test Requisition Form |
| 25 | TDPL | TRUSTlab Diagnostics Private Limited |
| 26 | ULOQ | Upper Limit of Quantitation |

- Objective

- The purpose of this SOP is to describe the procedure for the quantitative estimation of calculated Blood Urea Nitrogen (BUN) levels in serum.

- Scope

- This procedure applies to all staff of the Biochemistry Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Biochemistry Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- eGFR, or estimated Glomerular Filtration Rate, is a test used to assess how well your kidneys are filtering waste and excess fluid from your blood. It's a calculation based on a blood test (measuring creatinine or cystatin C), along with age, sex, and body size, to estimate the glomerular filtration rate (GFR). eGFR helps doctors diagnose kidney disease, stage its severity, and monitor kidney health over time.

- Test Principle

At TRUSTlab eGFR is a calculated value derived using the MDRD (Modified Diet Renal Disease) equation with Serum Creatinine values that have been estimated as per TDPL/BC/SOP-027.

MDRD Equation:

- eGFR = 175 X (SCr)-1.154 X (Age)-0.203 X 0.742 [if female] X 1.212 [if of African descent]

- Where:

- eGFR: estimated Glomerular Filtration Rate (ml/min/1.73 m2)

- SCr: Serum Creatinine (mg/dl)

- 0. 742: is a multiplier for females

- 1.212: is a multiplier for people of African descent

- Specific Performance Characteristics

- N/A.

- Type of Sample

- As per the procedure for Serum Creatinine estimation (refer TDPL/BC/SOP-027).

- Type of Container & Additives

- As per the procedure for Serum Creatinine estimation (refer TDPL/BC/SOP-027).

- Patient Preparation

The phlebotomists should be courteous and compassionate towards the patients and their attendants. Ask the patient to sit comfortably. Maintain calmness and silence during blood drawing to avoid mistakes.

Check the patient’s identification; ask the patient for his or her full name, address, identification number, and/or date of birth.

No specific preparation is required.

- Equipment & Reagents

- As per the procedure for Serum Creatinine estimation (refer TDPL/BC/SOP-027).

- Safety

For in vitro diagnostic use only.

Do not pipette by mouth.

Exercise the normal precautions required for handling laboratory reagents.

Exposed metal surfaces should be cleaned with 1% Sodium hypochlorite.

The reagents must be used only for the purpose intended by suitably qualified laboratory personnel, under appropriate laboratory conditions.

- Calibration Procedure

- As required for the estimation of Urea (since BUN is calculated from Urea value).

- Test Procedure

- As per the procedure for Serum Creatinine estimation (refer TDPL/BC/SOP-027).

- Quality Control Procedure

- As per the procedure for Serum Creatinine estimation (refer TDPL/BC/SOP-027).

- Interferences & Cross Reactions

- N/A.

- Result Calculation

- Refer to Clause 5.2 of this document.

- Biological Reference Interval

- 61 – 114 ml/min/1.73 m2

- Reportable Interval

- N/A

- Procedure when Results are not in Range

As per the procedure for Serum Creatinine estimation (refer TDPL/BC/SOP-027).

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

This test is useful for estimating glomerular filtration rate (eGFR) in patients suffering from chronic kidney disease (CKD) and those with risk factors for CKD like diabetes, hypertension, cardiovascular disease, and family history of kidney disease etc.

The test is based on an estimation or prediction equation to estimate Glomerular filtration rate (GFR) from random serum creatinine values.

Serum creatinine is inversely correlated to GFR, therefore if kidney function is near normal, absolute changes in serum creatinine reflect larger changes than similar absolute changes when kidney function is poor.

Other factors that may influence serum creatinine independent of changes in GFR include muscle mass as creatinine generation is dependent on muscle mass. Young, muscular male patients may have significantly higher serum creatinine levels than older adult

female patients, despite having similar GFRs.

As some renal clearance of creatinine is due to tubular secretion, drugs that inhibit the secretory component may influence eGFR calculation.

- Potential Source of Variability

      - Lysed serum specimens may give falsely elevated values.

- References

      - Interpretations on Diagnostics Tests, 7th Edition, Jacques Wallach

      - Tietz. Textbook of Clinical Biochemistry and Molecular Diagnostics, 4th edition

      - Product insert of Urea, Beckman Coulter AU680 / AU 480 / DXC700

      - Procedure for Managing Internal QC Program (TDPL/QA/MAN-001: MSP-013)

      - Procedure for Creatinine Test (TDPL/BC/SOP-027)