SOP – 040

PROCEDURE FOR

TOTAL IRON BINDING CAPACITY TEST

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	7

7.	Type of Sample	7

8.	Type of Container & Additives	8

9.	Patient Preparation	8

10.	Equipment & Reagents	8

11.	Safety	9

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	9

15.	Interferences & Cross Reactions	9

16.	Result Calculation	9

17.	Biological Reference Interval	9

18.	Reportable Interval	9

19.	Procedure when Results are not in Range	10

20.	Critical Alert Values	10

21.	Laboratory Clinical Interpretation	10

22.	Potential Source of Variability	10

23.	References	10

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. K. Anusha Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AMR | Analytical Measurement Range |
| 2 | BC | Biochemistry |
| 3 | °C | Degree Centigrade |
| 4 | CV | Coefficient of Variation |
| 5 | CRR | Clinical Reportable Range |
| 6 | EQAS | External Quality Assurance Scheme |
| 7 | HOD | Head of Department |
| 8 | IFCC | International Federation for Clinical Chemistry |
| 9 | IQC | Internal Quality Control |
| 10 | LLOQ | Lower Limit of Quantitation |
| 11 | MSP | Management System Procedure |
| 12 | N/A | Not Applicable/Available |
| 13 | pH | Potential of Hydrogen |
| 14 | QC | Quality Control |
| 15 | QM | Quality Manager |
| 16 | QNS | Quantity Not Sufficient |
| 17 | SD | Standard Deviation |
| 18 | SOP | Standard Operating Procedure |
| 19 | SST | Serum Separator Tube |
| 20 | TIBC | Total Iron Binding Capacity |
| 21 | TRF | Test Requisition Form |
| 22 | TDPL | TRUSTlab Diagnostics Private Limited |
|  | UIBC | Unsaturated Iron Binding Capacity |
| 23 | ULOQ | Upper Limit of Quantitation |

- Objective

- The purpose of this SOP is to describe the procedure for the quantitative estimation of calculated Total Iron Binding Capacity (TIBC) in serum samples using Beckman Coulter automated biochemistry analyser. This SOP also provides information about the test principle, clinical significance etc.

- Scope

- This procedure applies to all staff of the Biochemistry Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Biochemistry Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- Total iron-binding capacity, or sometimes termed as transferrin iron-binding capacity, is a medical laboratory test that measures the blood's capacity to bind iron with transferrin.

- Test Principle

- Based on the Test Principle of estimating Iron in serum samples, TIBC is a calculated value that is the sum of the Iron and the Unsaturated Iron Binding Capacity (TIBC) in blood.

- Specific Performance Characteristics

- N/A.

- Type of Sample

A minimum of 2ml of Serum

Collect 2 to 3 ml of venous blood in plain red-top tube or yellow gel tube.

Allow the tubes to stand for 30 min and separate the serum/plasma by centrifugation at 2500 – 3000 rpm for 5-10 min.

Sample Retention: Sample is retained for 24 hours at 2 – 8℃.

Sample Rejection Criteria:

      - Quantity not sufficient (QNS)

      - Sample received in wrong vacutainer

      - No TRF; Grossly incomplete TRF; Errors in labeling

      - Grossly haemolysed specimens

      - Highly lipemic specimens

      - Highly icteric specimens

      - Sample received beyond stability period

      - Incomplete TRF details or labelling errors are clarified with Customer/Doctor/ Patient before sample is accepted for processing. If critical information is still not obtained, the sample is rejected.

- Type of Container & Additives

SST - Yellow top Vacutainer

Clot activator - Red top Vacutainer

- Patient Preparation

The phlebotomists should be courteous and compassionate towards the patients and their attendants. Ask the patient to sit comfortably. Maintain calmness and silence during blood drawing to avoid mistakes.

Check the patient’s identification; ask the patient for his or her full name, address, identification number, and/or date of birth.

No specific preparation required.

- Equipment & Reagents

- As required for the estimation of Iron and UIBC (refer to TDPL/BC/SOP-038 and TDPL/BC/SOP-041).

- Safety

For in vitro diagnostic use only. Do not pipette by mouth. Exercise the normal precautions required for handling laboratory reagents.

Exposed metal surfaces should be cleaned with 1% Sodium hypochlorite.

The reagents must be used only for the purpose intended by suitably qualified laboratory personnel, under appropriate laboratory conditions.

- Calibration Procedure

- N/A.

- Test Procedure

- As per the procedure for the estimation of Iron and UIBC. Then, calculate TIBC.

- Quality Control Procedure

- As required for the estimation of Iron and UIBC.

External Quality Control

- EQAS participation –- CMC EQAS

- Interferences & Cross Reactions

- N/A.

- Result Calculation

- Formula:

- TIBC = Iron + UIBC

- Biological Reference Interval

| Age | Male (µg/dl) | Female (µg/dl) |
| --- | --- | --- |
| - | 240 - 450 | 240 - 450 |

- Reportable Interval

- 55–550 μg/dl

- Procedure when Results are not in Range

- N/A.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

- Most body iron is found in hemoglobin. The serum measurement of iron is useful in the differential diagnosis of anemia, iron deficiency anemia, thalassemia, possible sideroblastic anemia, and iron poisoning. Serum iron is increased in hemosiderosis, hemolytic anemias, thalassemia, sideroblastic anemias, hepatitis, acute hepatic necrosis, hemochromatosis, inappropriate iron therapy, and iron poisoning. Serum iron is decreased in cases of insufficient dietary iron, chronic blood loss, inadequate absorption of iron, impaired release of iron stores (commonly observed in inflammation), infection, and chronic diseases.

- Potential Source of Variability

      - Lysed serum specimens may give falsely elevated values.

      - If the reagents are turbid, DO NOT USE, as it indicates contamination of the reagent.

      - Strong lipemic and haemolytic sera should not be used.

      - Presence of fibrin in the sample may lead to erroneous results and hence, centrifuge the sample only after complete clot formation.

- References

      - Interpretations on Diagnostics Tests, 7th Edition, Jacques Wallach.

      - Tietz. Textbook of Clinical Biochemistry and Molecular Diagnostics, 4th edition.

      - Product insert of Iron and UIBC, Beckman Coulter AU680 / AU 480 / DXC700.

      - Procedure for Managing Internal QC Program (TDPL/QA/MAN-001: MSP-013).