SOP – 062

PROCEDURE FOR SAMPLE RECHECK

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Procedure	7

5.	References	8

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. K. Anusha Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | BC | Biochemistry |
| 2 | CV | Coefficient of Variation |
| 3 | HOD | Head of Department |
| 4 | MSP | Management System Procedure |
| 5 | QC | Quality Control |
| 6 | QM | Quality Manager |
| 7 | QNS | Quantity Not Sufficient |
| 8 | SOP | Standard Operating Procedure |
| 9 | TRF | Test Requisition Form |
| 10 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- The purpose of this SOP is to is to provide guidelines to the technical staff regarding repeating tests on samples whenever the results need to be re-confirmed.

- Scope

- This procedure applies to all staff of the Biochemistry Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Biochemistry Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Procedure

Tests are repeated on the same sample.

Tests are repeated based on the following criteria:

      - Whenever the results are beyond the range established by the laboratory,

      - When the sample is insufficient - tests are repeated with a fresh sample,

      - Whenever the results do not correlate with the clinical condition of the patient/ with other results of the same patient if available.

      - When the sample is clotted - tests are repeated with another sample as mentioned above.

      - Whenever the values are above/below the Critical Alert values established by the laboratory.

First value and repeated values are entered in the Repeat Test Register along with the reason for repeating the test.

The extent of variation between the two values is an indication of “precision” i.e. reproducibility of the analytical method adopted for that test.

The allowable variation between the two results on the same sample should be as per criteria defined in format

If the extent of variation between the two values is beyond the acceptable range mentioned above, the test is repeated with a sample or with a fresh sample.

The result released to the patient is highlighted after approval by the authorized signatory.

- References

Allowable Total Error Database (All Analytes) by Dr. Rhodes