SOP – 005

PROCEDURE FOR

INDIRECT COOMBS TEST – GEL COLUMN

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	7

7.	Type of Sample	8

8.	Type of Container & Additives	8

9.	Patient Preparation	9

10.	Equipment & Reagents	9

11.	Safety	9

12.	Calibration Procedure	10

13.	Test Procedure	10

14.	Quality Control Procedure	11

15.	Interferences & Cross Reactions	11

16.	Result Calculation	11

17.	Biological Reference Interval	11

18.	Reportable Interval	11

19.	Procedure when Results are not in Range	11

20.	Critical Alert Values	11

21.	Laboratory Clinical Interpretation	11

22.	Potential Source of Variability	12

23.	References	12

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Abdul Aleem Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AHG | Anti-Human Globulin |
| 2 | °C | Degree Centigrade |
| 3 | CV | Coefficient of Variation |
| 4 | EDTA | Ethylenediamine Tetra-acetic Acid |
| 5 | EQAS | External Quality Assurance Scheme |
| 6 | HOD | Head of Department |
| 7 | HM | Haematology |
| 8 | IgG | Immunoglobulin G |
| 9 | IQC | Internal Quality Control |
| 10 | LISS | Low Ionic Strength Salt Solution |
| 11 | MSP | Management System Procedure |
| 12 | N/A | Not Applicable/Available |
| 13 | NS | Normal Saline |
| 14 | pH | Potential of Hydrogen |
| 15 | QC | Quality Control |
| 16 | QM | Quality Manager |
| 17 | QNS | Quantity Not Sufficient |
| 18 | RBC | Red Blood Cells |
| 19 | rpm | Revolutions per minute |
| 20 | SOP | Standard Operating Procedure |
| 21 | TRF | Test Requisition Form |
| 22 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- The purpose of this SOP is to describe the procedure for performing the Indirect Antiglobulin Test by gel column agglutination technique. This SOP also provides information about the test principle, clinical significance and other details.

- Scope

- This procedure applies to all staff of the Haematology Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Haematology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- The Indirect Coombs Test (ICT), also known as the Indirect Antiglobulin Test, is a blood test used to detect antibodies in the blood that could potentially bind to red blood cells. It's a crucial tool in blood transfusions, prenatal care, and diagnosing autoimmune hemolytic anemia.

- Test Principle

- Serum or plasma of the patient is incubated with pooled, O positive red cells. After reaction with AHG if there is agglutination, it indicates that the antibody has bound to a specific antigen present on red cells.

- Method: Gel Column Agglutination Method

- Specific Performance Characteristics

- N/A.

- Type of Sample

Serum or Plasma

      - Collect the blood sample by venipuncture observing universal precautions.

      - Allow samples to clot adequately before centrifugation.

      - Keep tubes stoppered and upright at all times.

      - Do not use samples that have been stored at room temperature for longer than 8 hours.

      - Tightly cap and refrigerate specimens at 2 to 8°C if the assay is not completed within 8 hours.

      - Freeze samples at or below -20°C if the sample is not assayed within 48 hours.

      - Freeze samples only once and mix thoroughly after thawing.

      - Before placing samples on the system ensure that:

        - Samples are free of fibrin or other particulate matter.

        - Samples are free of bubbles.

Sample Stability: 48 hours at 2 – 8℃.

Sample Retention: Sample is retained for 24 hours at 2 – 8℃.

Sample Rejection Criteria:

      - Quantity not sufficient (QNS)

      - Sample received in wrong vacutainer

      - No TRF; Grossly incomplete TRF; Errors in labeling

      - Grossly haemolysed specimens

      - Highly lipemic specimens

      - Highly icteric specimens

      - Sample received beyond stability period

      - Incomplete TRF details or labelling errors are clarified with Customer/Doctor/ Patient before sample is accepted for processing. If critical information is still not obtained, the sample is rejected.

- Type of Container & Additives

- K2 EDTA anticoagulant vacutainer.

- Patient Preparation

The phlebotomists should be courteous and compassionate towards the patients and their attendants. Ask the patient to sit comfortably. Maintain calmness and silence during blood drawing to avoid mistakes.

Check the patient’s identification; ask the patient for his or her full name, address, identification number, and/or date of birth.

No specific preparation is required.

- Equipment & Reagents

Equipment

      - Test tubes 12x5mm

      - Pipettes, Droppers

      - Calibrated Centrifuge

      - Microscope

Reagents

      - LISS (Low ionic strength salt solution)

      - Coombs reagent (Anti human globulin-AHG)

      - Negative control – Pooled O cells 2-5% red cell suspension

      - Positive control – Washed O positive cells (2-5% red cell suspension) sensitized to diluted Anti-D (IgG) anti sera. When these cells are seen under a microscope there should be no agglutination. However, with addition of AHG, there is 2+ clumping.

- Safety

Follow universal precautions, like wearing suitable gloves and eye/face protection, while handling all reagents, samples and operating the instrument.

Universal precautions imply that all body fluids are treated as if known to be infectious for Human Immunodeficiency Virus (HIV), Hepatitis B Virus (HBV) or other Blood borne Pathogens.

Dispose of all waste in accordance with applicable national and/or local regulations.

Some reagents contain sodium azide, which may react with copper or lead plumbing to form explosive metal azides. Use caution in disposing of these reagents. If disposing to drain, flush with large volumes of water to prevent azide buildup.

Waste material containing patient samples or biological products should be considered biohazardous when disposing or treating.

Clean up all spills immediately and thoroughly. Disinfect the area for any spills involving biohazardous materials. Dispose of all contaminated materials appropriately.

- Calibration Procedure

- N/A.

- Test Procedure

      - Cell suspension (0.8%): 1ml of Diluent 2 + 10 ul of packed RBCs of O Rh D positive sample.

      - Centrifuge patient’s sample at 2000 rpm for 5 mins in laboratory centrifuge to separate red cells and plasma.

      - Label 3 wells of AHG gel card as test, positive control, and negative control.

      - Add 50 µl of 0.8% red cell suspension of O Rh D positive red cells in all 3 wells.

      - Add 25 µl of patient’s serum in test well, 40 µl of anti- D (IgG) in positive control well and 40 µl of AB positive serum in negative control well

      - Place the card in card incubator for incubation at 37°C for 15 minutes.

      - After 15 minutes of incubation, transfer the card to the card centrifuge and start run for a default 10 minutes of centrifugation.

      - Take out the card and interpret the results.

- Manual Method:

      - Label one test tube as A.

      - Prepare a 5% suspension of the red cells to be tested in isotonic saline.

      - Pipette two drops of serum in the labelled test-tube.

      - Pipette one drop of pools cells in the labelled test-tube and mix.

      - To the test-tube add two drops of bovine serum albumin reagent (AHG) and mix well.

      - Centrifuge the tube and mix well and resuspend the cell button and observe  for hemolysis in microscope.

- Quality Control Procedure

Internal Quality Control

    - Procedure:

- Controls are tested every day.

External Quality Control

- EQAS participation –- CMC EQAS

- Interferences & Cross Reactions

- N/A.

- Result Calculation

- N/A.

- Biological Reference Interval

- Negative

- Reportable Interval

- Negative, Positive (+ to 4+), Mixed field.

- Procedure when Results are not in Range

- N/A.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

4+ Reaction - Agglutinated cells form a band at the top of the bead column.

3+ Reaction - Most agglutinated cells remain in the upper half of the bead column.

2+ Reaction – Agglutinated cells observed throughout the length of the bead column.  Small button of cells may also be visible at the bottom of the bead column.

1+ Reaction - Most agglutinated cells remain in the lower half of the bead column.  A button of cells will also be visible at the bottom of the bead column.

Negative Reaction – All cells form a button at the bottom of the bead column.

Mixed cell population – Strong agglutinated cells at the top of the bead column and negative cell button at the bottom of the bead column.

Hemolysis reaction - Red color above the bead column and no agglutination.

Results are recorded in the ABO & Rh Typing Result Register (TDPL/HM/REG-003).

- Potential Source of Variability

- N/A.

- References

      - Practical Hematology, J. Dacie and M. Lewis, Tenth edition.

      - Procedure for Managing Internal QC Program (TDPL/QA/MAN-001: MSP-013).