SOP – 008

PROCEDURE FOR

RETICULOCYTE COUNT

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	7

7.	Type of Sample	8

8.	Type of Container & Additives	8

9.	Patient Preparation	8

10.	Equipment & Reagents	8

11.	Safety	8

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	9

15.	Interferences & Cross Reactions	9

16.	Result Calculation	10

17.	Biological Reference Interval	10

18.	Reportable Interval	10

19.	Procedure when Results are not in Range	11

20.	Critical Alert Values	11

21.	Laboratory Clinical Interpretation	11

22.	Potential Source of Variability	11

23.	References	11

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Abdul Aleem Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | °C | Degree Centigrade |
| 2 | EDTA | Ethylenediamine Tetra-acetic Acid |
| 3 | EQAS | External Quality Assurance Scheme |
| 4 | HOD | Head of Department |
| 5 | HM | Haematology |
| 6 | INR | International Normalized Ratio |
| 7 | IQC | Internal Quality Control |
| 8 | ISI | International Sensitivity Index of the reagent |
| 9 | MSP | Management System Procedure |
| 10 | N/A | Not Applicable/Available |
| 11 | QC | Quality Control |
| 12 | QM | Quality Manager |
| 13 | QNS | Quantity Not Sufficient |
| 14 | RNA | Ribonucleic Acid |
| 15 | rpm | Revolutions per minute |
| 16 | SOP | Standard Operating Procedure |
| 17 | TRF | Test Requisition Form |
| 18 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- The purpose of this SOP is to describe the procedure for performing the Reticulocyte Count test. This SOP also provides information about the test principle, clinical significance and other details.

- Scope

- This procedure applies to all staff of the Haematology Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Haematology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- A reticulocyte is an immature red blood cell, still developing in the bone marrow or recently released into the bloodstream. They are a precursor to mature red blood cells and contain some residual RNA, which causes them to appear blue when stained.

- Test Principle

- When blood is briefly incubated in a solution of new methylene blue or brilliant cresyl blue, the RNA is precipitated as dye–RNA protein complex. This reaction takes place only in vitally stained fixed preparations i.e. Supravital staining done on living cells rather than air dried smears.

- Specific Performance Characteristics

- N/A.

- Type of Sample

Whole Blood

Sample Retention: Sample is retained for 24 hours at 2 – 8℃.

Sample Rejection Criteria:

      - Quantity not sufficient (QNS)

      - Sample received in wrong vacutainer

      - No TRF; Grossly incomplete TRF; Errors in labeling

      - Grossly haemolysed specimens

      - Highly lipemic specimens

      - Highly icteric specimens

      - Sample received beyond stability period

      - Incomplete TRF details or labelling errors are clarified with Customer/Doctor/ Patient before sample is accepted for processing. If critical information is still not obtained, the sample is rejected.

- Type of Container & Additives

- K2 EDTA Vacutainer

- Patient Preparation

No special preparation.

- Equipment & Reagents

Equipment

      - Incubator

      - Microscope

      - Disposable droppers

      - Slides

Reagents

      - Readymade New methylene blue solution

- Safety

Handle all samples as potentially infectious.

Handle all reagents with care and avoid contact with eye, mouth and skin.

Do not perform mouth pipetting.

Discard used reagents and samples as per disposal procedure.

Reticulocyte Stain reagent is an IRRITANT - Irritating to the eyes, respiratory system and skin. In case of contact with eyes, rinse immediately with plenty of water and seek medical advice.

- Calibration Procedure

- N/A.

- Test Procedure

      - Take 2-3 drops of new methylene blue in a small tube.

      - Add 2-3 drops of patient’s EDTA (anti-coagulant) blood and mix.

      - Incubate at 37°C for 15-20 minutes.

      - Remix the tube contents.

      - Place a drop of stained blood on a clean glass slide and make a thin blood film.

      - Dry and examine under oil immersion.

- Quality Control Procedure

Internal Quality Control

    - Procedure:

- As an internal quality control procedure, two smears are prepared, and 500 cells are counted.  The number of retics/500 RBCs must agree by ±2 retics between the two smears, for the results to be considered acceptable.

External Quality Control

- EQAS participation –- AIIMS EQAS

- Interferences & Cross Reactions

For blood with low hemoglobin, more blood may be needed for proper staining of reticulocytes.

Excessive amounts of NMB stain result in a deep blue color which makes enumeration of reticulocytes difficult.

Failure to mix the blood/stain well results in large amounts of precipitate on the smear, making enumeration of reticulocytes difficult.

Cells with a few beads or granules without threads, may be cells with denatured hemoglobin (Heinz Bodies). These are not reticulocytes. If there is any question about this or other artifact, the smear is reviewed by the supervisor and/or pathologist.

- Result Calculation

Microscopically, reticulocytes have dark blue network or dark blue granules while   RBC’s appear pale blue or blue green. Select a well spread portion of the smear and   count atleast 1000 erythrocytes.

      - Number of reticulocytes in n fields	= X

      - Average number of cells/fields	= Y

      - Total number of cells in N fields       = N x Y

      - Reticulocyte count as % (RC%)	= (X/[N x Y]) x 100

      - Absolute count of reticulocyte	= RC% x RBC

    - To convert Number of Reticulocytes to %

      - Divide absolute reticulocyte count (reticulocytes x 103/μl) by 10

      - Then divide the answer by the red blood cell count (RBC x 106/μl)

- Biological Reference Interval

Manual (New Methylene Blue): 0.5-2.5 (%)16-116x103/μl

Normal Range for Reticulocyte Counts: The reticulocyte count – range (%) and (x103/μl) in the first 3 months of infants:

| Age | % | x 103/μl |
| --- | --- | --- |
| 1 day | 3.0-7.0 | 110-445 |
| 7 days | <0.1-1.3 | <10-80 |
| 4 weeks | <0.1-1.2 | <10-65 |
| 8 weeks | 0.1-2.9 | <10-125 |
| 12 weeks | 0.4-1.6 | 15-75 |
| >12 weeks | 0.2-2.0 | 10-105 |

- Reportable Interval

- N/A.

- Procedure when Results are not in Range

- N/A.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

      - Reticulocytes are juvenile red cells. They contain remnants of ribosomes and ribonucleic acids which were present in larger amounts in their nucleated precursors.

      - Because the number of reticulocytes in the peripheral blood is a fairly accurate reflection of erythropoietic activity, a reticulocyte count is one of the essential procedures in diagnostic haematology.

- Potential Source of Variability

The first variation is the definition of reticulocyte. Inter-technologists’ differences in the definition of reticulocyte constitute a major source of imprecision and inaccuracy.

The number of cells evaluated during the procedure has an important effect on the precision of the result.

The quality of the blood smear in terms of even cell distribution and staining also is important.

It has been suggested that reticulocytes mature in vitro that delay in performing the count may produce a further source of error.

- References

      - Practical Hematology, J. Dacie and M. Lewis, Tenth edition, Page No. 36, 38,52.

      - Procedure for Managing Internal QC Program (TDPL/QA/MAN-001: MSP-013).