SOP – 008

PROCEDURE FOR

QUALITY ASSURANCE IN HISTOPATHOLOGY

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definitions	7

5.	Principle	7

6.	Specific Performance Characteristics	8

7.	Type of Sample	8

8.	Type of Container & Additives	8

9.	Patient Preparation	8

10.	Equipment & Reagents	8

11.	Safety	8

12.	Calibration	8

13.	Procedure	8

14.	Interferences & Cross Reactions	10

15.	Result Calculation	10

16.	Biological Reference Interval	10

17.	Reportable Interval	10

18.	Troubleshooting	10

19.	Critical Alert Values	10

20.	Laboratory Clinical Interpretation	10

21.	Potential Source of Variability	10

22.	References	10

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Abdul Aleem Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | CAPA | Corrective Action and Preventive Action |
| 2 | EQAS | External Quality Assurance Scheme |
| 3 | H&E | Hematoxylin and Eosin |
| 4 | HOD | Head of Department |
| 5 | HPE | Histopathological Examination |
| 6 | ILC | Inter-Laboratory Comparison |
| 7 | IQC | Internal Quality Control |
| 8 | MSP | Management System Procedure |
| 9 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 10 | N/A | Not Applicable/Available |
| 11 | PT | Proficiency Testing |
| 12 | QC | Quality Control |
| 13 | QM | Quality Manager |
| 14 | SOP | Standard Operating Procedure |
| 15 | TRF | Test Requisition Form |
| 16 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- The purpose of this SOP is to describe the Quality Control procedures followed in the Histopathology Department at TRUSTlab, to assure the quality of the examinations performed. It includes proficiency testing (PT) as a quality improvement tool, Internal Quality Control (IQC) and External Quality Assurance (EQA) which are complementary in ensuring the reliability of the procedures, results and quality of services.

- Scope

- This procedure applies to all staff of the Histopathology Department of TRUSTlab, tasked with the duty of performing tests involving these procedures.

- Responsibilities

It is the responsibility of the technicians of the Histopathology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

Any other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definitions

Proficiency Testing (PT) Sample: Specimen containing an unknown concentration or identification that is sent to a laboratory participating in testing programmes, in order to verify, independently, the laboratory’s technical competency.

External Quality Assurance Scheme (EQAS): A program in which multiple specimens are sent to members of a group of laboratories for analysis. The results from each laboratory are then compared with those of the other participating laboratories, or to an assigned value/impression and the evaluation report is sent back to the participating laboratory.

- Principle

- N/A.

- Specific Performance Characteristics

- N/A.

- Type of Sample

- N/A.

- Type of Container & Additives

- N/A.

- Patient Preparation

N/A.

- Equipment & Reagents

- N/A.

- Safety

- N/A.

- Calibration

- N/A.

- Procedure

Internal Quality Control

      - A robust & relevant training program in the section is designed and implemented to ensure quality outcome.

      - To adhere to the quality control procedures given in the technical SOPs and record the findings in the respective logbooks.

      - All biopsy specimens are processed primarily with H&E staining.

      - The stained slides are evaluated randomly at the reporting stage, for evaluating the quality of staining and the findings are documented in the IQC-Histopathology Form (TDPL/HP/FOM-003) by the pathologist.

      - All special stains employed in histopathology are processed with a known positive control block. The outcome of control is evaluated by the pathologist and documented in the Special Stains Register (TDPL/HP/REG-002).

      - Any change in staining solutions, including change of lots, is verified by the pathologist with the outcome of the final stained slide and documented in change of staining solutions log and kit-lot verification log.

      - For further specific instructions with regards to internal quality control in pre-analytical, analytical and post-analytical phases of sample processing, refer to specific SOPs.

Inter Laboratory Comparison

- N/A.

Intra Departmental Consultations

      - Any difficult/unusual cases encountered by the reporting pathologist is reviewed by the other Pathologist(s) as a group and the case is discussed (consensus conference). The consensus opinion if agreed upon by all is given, otherwise differentials are suggested.

      - All malignant cases are reviewed by two Pathologists before the release of the report.

      - Random case review (blinded re-reporting of random cases) is done once a month. The findings/impressions are recorded. Discrepancies if any are evaluated in a discussion. Records of these are maintained in the log kept for the same.

Proficiency Testing/External Quality Assurance Schemes

      - This Histopathology Department at TRUSTlab is enrolled in the EQAS programme in Histopathology provided by RML Hospital, Lucknow, UP.

      - One H&E-stained slide with brief clinical history is received every 3 months from RML, and the final diagnosis made is entered online in the lab results column.

      - One bit of formalin fixed tissue is also received for processing and staining and the stained section is sent for evaluation. Scores are assigned for various stages of processing, microtomy, staining etc.

      - Evaluation is done by the nodal centre and the final evaluation report including the pre-analytical and analytical aspects is provided by the EQA programme.

      - Performance of the lab is then monitored and followed up as appropriate.

      - Trend analysis of the performance in the year will be made and documented in the Corrective Action & Preventive Action Form for EQAS Outliers (TDPL/GE/FOM-031).

- Interferences & Cross Reactions

N/A.

- Result Calculation

- N/A.

- Biological Reference Interval

- N/A.

- Reportable Interval

- N/A

- Troubleshooting

- N/A.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

- N/A.

- Potential Source of Variability

- N/A.

- References

      - Rosai and Ackerman`s Surgical pathology, Juan Rosai. 9th Edition.

      - Quality control in the histopathology laboratory: An overview with stress on the need for a structured national external quality assessment scheme. Jayaram N Iyengar, Indian Journal of Pathology and Microbiology: 2009 | Volume: 52 | Issue: 1 | Page 1-5.

      - Procedure for Managing Internal QC Program (TDPL/QA/MAN-001: MSP-013)

      - Procedure for Managing External Quality Assessment Programs (TDPL/QA/MAN-002: MSP-014)