SOP - 002

PROCEDURE FOR

AFB ZN STAINING

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	8

7.	Type of Sample	8

8.	Patient Preparation	8

9.	Type of Container & Additives	8

10.	Equipment & Reagents	8

11.	Safety	8

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	10

15.	Interfering Substances	11

16.	Result Calculation	11

17.	Biological Reference Interval	11

18.	Reportable Interval	11

19.	Procedure when Results are not in Range	11

20.	Critical Alert Values	12

21.	Laboratory Clinical Interpretation	12

22.	Potential Source of Variability	12

23.	References	12

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Sadiya Shahnaz Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AFB | Acid-Fast Bacilli |
| 2 | ATCC | American Type Culture Collection |
| 3 | EDTA | Ethylenediaminetetraacetic Acid |
| 4 | EQAS | External Quality Assurance Scheme |
| 5 | IAMM | Indian Association of Medical Microbiologists |
| 6 | ILC | Inter-Laboratory Comparison |
| 7 | MI | Microbiology |
| 8 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 9 | NTEP | National Tuberculosis Elimination Programme |
| 10 | rpm | Revolutions per minute |
| 11 | SOP | Standard Operating Procedure |
| 12 | TDPL | TRUSTlab Diagnostics Private Limited |
| 13 | ZN | Ziehl-Neelsen |

- Objective

  - This SOP describes the procedural steps for Acid Fast staining of smears to report the presence of acid-fast microorganisms in the clinical specimen.

- Scope

This procedure applies to all staff of the Microbiology Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Microbiology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

The Ziehl–Neelsen stain, also known as the acid-fast stain, was first described by two German doctors; Franz Ziehl (1859 to 1926), a bacteriologist and Friedrich Neelsen (1854 to 1898), a pathologist. It is a special bacteriological stain used to identify acid-fast organisms, mainly Mycobacteria. Mycobacterium tuberculosis is the most important of this group, as it is responsible for the disease called tuberculosis (TB) along with some others of this genus. It can also be used to stain a few other bacteria like Nocardia.

- Test Principle

Acid fastness of acid-fast bacilli is attributed to the presence of large quantities of unsaponifiable wax fraction called mycolic acid in their cell walls and also the intactness of the cell wall. The degree of acid fastness varies in different bacteria.

In this staining method, application of heat helps the dye (a powerful staining solution containing carbol fuchsin and phenol) to penetrate the tubercle bacillus. Once stained, the stain cannot be easily removed. The tubercle bacilli resist the decolorizing action of acid-alcohol which confers acid fastness to the bacteria. The other microorganisms, which are easily decolorized by acid-alcohol, are considered non-acid-fast. The non-acid-fast bacilli readily absorb the color of the counter stain (methylene blue) appearing blue, while the acid-fast cells retain the red color of primary stain (carbol fuchsin).

- Specific Performance Characteristics

- Stains bacteria as acid-fast (pink) and non-acid-fast (blue).

- Type of Sample

- Cerebrospinal fluid, sputum, body fluids, pus, exudates, tissues, urine, endotracheal secretions, bronchoalveolar lavage fluid.

- Patient Preparation

- Refer to the primary sample collection manual.

- Type of Container & Additives

- Sterile & leak-proof capped containers, sterile swabs, syringes.

- Equipment & Reagents

Calibrated Inoculation loop

Microscope

Glass Slides

Acid Fast stain kit

Bunsen burner

Culture Media

Marker

Centrifuge

Alcohol spirit

Cotton/Tissue paper

Biosafety Cabinet

- Safety

The use of disposable gloves and proper biohazardous clothing is STRONGLY RECOMMENDED while running the test.

In case there is a cut or wound on the hand, DO NOT PERFORM THE TEST.

Do not smoke, drink or eat in areas where specimens or kit reagents are being handled.

Tests are for in vitro diagnostic use only and should be run by competent personnel only.

Do not pipette by mouth.

All materials used in the assay and samples should be decontaminated in 1% sodium hypochlorite solution for 30-60 min. They should be disposed of in accordance with established safety procedures.

Wash hands thoroughly with soap or any suitable detergent, after the use of the kit. Consult a physician immediately in case of accident or contact with eyes, in the event that contaminated material is ingested or comes in contact with skin punctures or wounds.

Spills should be decontaminated promptly with Sodium Hypochlorite or any other suitable disinfectant.

Suitable infection prevention precautions to be followed.

- Calibration Procedure

- Biosafety Cabinet and centrifuge calibration is done on an annual basis by an NABL accredited calibration agency. Necessary maintenance measures are undertaken for all the equipment.

- Test Procedure

Pre-assay Instructions

      - Slides should be clean and devoid of dust and particles. Slides should be cleaned with dry tissue paper and if it still feels oily or mucky, run the slide through flame to clear the oil debris and clean it dry with tissue paper.

      - Frosted slides may be preferred to label the slides appropriately with patient details by glass marking pencil or slides numbered 1, 2… on the reverse of slide with date and tallying worksheet with patient details.

      - Smears should be made on the middle third portion of the slide spread 1-3 cm in diameter.

      - Smears should not be made too thick or thin to allow sufficient penetration of stains.

      - All specimens should be thoroughly mixed before making smear, to create homogeneity.

      - All sterile body fluids need to be centrifuged at 1000 rpm for 15 minutes or 2000 rpm for 10 minutes, or 3000 rpm for 5 minutes in sterile test tubes. The sediment is taken to make the smears after decanting the supernatant into a sample container. A 1 cm diameter smear is made from the deposit. If the sample volume is less, the sample is smeared on the slide and once it dries, a second smear is made on the first smear. This process is repeated three to five times.

      - For smears from sputum, pus or body fluids – purulent portion is used to prepare the smear.

      - For tissues, a small tissue is placed in a sterile petri dish or clean glass slide and a minute piece is sliced with the help of a sterile glass blade. The small piece is smeared on the glass slide or crushed between two glass slides to get the smear.

      - For detection of AFB in urine early morning urine specimen MINIMUM OF 150 ml is collected in a clean, sterile container (150 ml volume or 3 conventional urine culture containers). Sample is taken into three 20 ml aliquots from the sterile containers, centrifuged and the deposit is used to make smear from all the three tubes, discarding the supernatant into the original container.

Procedure

      - Prepare a thin smear Heat fix the smears by passing the slide 2-3 times gently over the flame with the smear side up. Allow the smear to be air dried.

      - Put the smears on a slide rack and cover the smears with strong carbol fuchsin. Allow it to stain for 5 minutes.

      - During this period, heat the slides from below intermittently by Bunsen flame or torch soaked in methylated spirit without boiling the solution, until the steam rises. Do not allow the stain to dry on the slide, and if necessary, add more carbol fuchsin to cover the smear.

      - Rinse the smears gently under tap water.

      - Cover the smear with 20% sulphuric acid for at least 2 minutes for decolorization.

      - Wash the slides thoroughly with water to remove all traces of acid.

      - Cover the smear with Loffler’s methylene blue for 1 minute.

      - Rinse the smears again under tap water and air dry it.

      - Observe under oil immersion objective – 100 fields in a Z shaped manner or three horizontal lines covering the entire smear.

- Quality Control Procedure

Internal Quality Control

      - Positive control – Smear from autoclaved sputum sample detected positive for acid fast bacilli

      - Negative control – Escherichia coli ATCC 25922.

External Quality Control

      - ILC is done once a year for two samples.

- Interfering Substances

- Sample collection process and transportation should be done appropriate to the sample to avoid sample contamination with the commensal flora and environmental contaminants. Adequate aseptic precautions are to be taken to avoid contamination during smear and staining process. Timing deviation in any of the steps leads to erroneous staining. Care to be taken during fixing of smear.

- Result Calculation

Presence or absence of Acid-Fast Bacilli

NTEP Grading of Sputum

      - More than 10 AFB / oil immersion field – AFB (3+).

      - 1 -10 AFB / oil immersion field – AFB (2+)

      - 10 to 99 AFB / 100 oil immersion fields – AFB (1+)

      - 1- 9 AFB / 100 oil immersion field – Scanty (Give the exact number of bacilli)

      - No AFB / 200 oil immersion fields – Negative

- Biological Reference Interval

- N/A.

- Reportable Interval

- 4 Hours

- Procedure when Results are not in Range

- When the results are found inappropriate to the sample type, the sample is re-stained or checked with a repeat sample as per individual sample and growth discretion.

- Critical Alert Values

Acid-fast bacilli observed in any sample type.

Zn Stain – Sputum +3

- Laboratory Clinical Interpretation

- The presence of acid-fast bacilli mostly indicates a probable infection with Mycobacterium tuberculosis. Non-Mycobacterium tuberculosis may also stain acid-fast which is seen on rare occasions. Presence of acid-fast bacilli cannot differentiate live or dead bacteria. Environmental acid-fast bacilli may give false positive result if the sample or smear gets contaminated with tap water. Interpretation of the results should be done with clinical correlation.

- Potential Source of Variability

The following factors play a crucial role in the result variations and appropriate care should be taken to eliminate them:

      - prior antibiotic usage by patient

      - sample type

      - sample collection

      - portion of sample used for inoculation

      - loop size and sterility

      - temperature and time of incubation.

The oil immersion objective should be wiped properly after observing each slide, as acid fast bacilli from positive specimen may adhere to the 100x lens, and AFB to the rest of the slides giving false positive results. Salivary samples give false negative results. Swabs are not suitable for screening for acid-fast bacilli.

Similarly, use of the same blotting paper for all slides carries AFB from positive smears to the others. Every time a slide is blotted dry by using fresh piece of blotting paper.

- References

Practice of Medical Microbiology – Cruickshank

Diagnostic Microbiology by Monica Cheesbrough

NTEP Guidelines