SOP - 003

PROCEDURE FOR

FUNGAL STAIN BY KOH

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	7

7.	Type of Sample	7

8.	Patient Preparation	7

9.	Type of Container & Additives	8

10.	Equipment & Reagents	8

11.	Safety	8

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	10

15.	Interfering Substances	10

16.	Result Calculation	10

17.	Biological Reference Interval	10

18.	Reportable Interval	11

19.	Procedure when Results are not in Range	11

20.	Critical Alert Values	11

21.	Laboratory Clinical Interpretation	11

22.	Potential Source of Variability	11

23.	References	11

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Sadiya Shahnaz Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | KOH | Potassium Hydroxide |
| 2 | MI | Microbiology |
| 3 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 4 | rpm | Revolutions per minute |
| 5 | SOP | Standard Operating Procedure |
| 6 | TDPL | TRUSTlab Diagnostics Private Limited |
| 7 | WHO | World Health Organization |

- Objective

  - This SOP describes the procedural steps for fungal detection by using the KOH test.

- Scope

This procedure applies to all staff of the Microbiology Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Microbiology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

The KOH Test, also known as Potassium hydroxide preparation, is a quick, inexpensive fungal test to check for presence or absence of fungal elements – hyphae or yeast cells in clinical specimens.

- Test Principle

Potassium hydroxide solution helps to digest the keratin and other tissue material, enabling the visualization of shiny fungal elements embedded within.

- Specific Performance Characteristics

- N/A.

- Type of Sample

- Cerebrospinal fluid, sputum, body fluids, pus, exudates, tissues, urine, endotracheal secretions, bronchoalveolar lavage fluid, swabs.

- Patient Preparation

- Refer to the primary sample collection manual.

- Type of Container & Additives

- Sterile & leak-proof capped containers, sterile swabs, syringes.

- Equipment & Reagents

Calibrated Inoculation loop

Microscope

Glass Slides, coverslips, petri dishes, filter paper

KOH– 10% / 40% - (Weigh 10 g of potassium hydroxide pellets, in a small glass beaker and add 100 ml of distilled water /Weigh 40 g of potassium hydroxide pellets in a small glass beaker and add 100 ml of distilled water. Heat & fumes are generated as the pellets dissolve. Therefore, water is added slowly to the pellets in the preparation jar. The crystals can cause burns and should not be handled by hand directly).

Bunsen burner

Marker

Centrifuge

Alcohol spirit

Cotton/Tissue paper

Biosafety Cabinet

- Safety

The use of disposable gloves and proper biohazardous clothing is STRONGLY RECOMMENDED while running the test.

In case there is a cut or wound on the hand, DO NOT PERFORM THE TEST.

Do not smoke, drink or eat in areas where specimens or kit reagents are being handled.

Tests are for in vitro diagnostic use only and should be run by competent personnel only.

Do not pipette by mouth.

All materials used in the assay and samples should be decontaminated in 1% sodium hypochlorite solution for 30-60 min. They should be disposed of in accordance with established safety procedures.

Wash hands thoroughly with soap or any suitable detergent, after the use of the kit. Consult a physician immediately in case of accident or contact with eyes, in the event that contaminated material is ingested or comes in contact with skin punctures or wounds.

Spills should be decontaminated promptly with Sodium Hypochlorite or any other suitable disinfectant.

Suitable infection prevention precautions to be followed.

- Calibration Procedure

- Biosafety Cabinet and centrifuge calibration is done on an annual basis by an NABL accredited calibration agency. Necessary maintenance measures are undertaken for all the equipment.

- Test Procedure

Pre-assay Instructions

      - Slides should be clean and devoid of dust and particles. Slides should be cleaned with dry tissue paper and if it still feels oily or mucky, run the slide through flame to clear the oil debris and clean it dry with tissue paper.

      - Frosted slides may be preferred to label the slides appropriately with patient details by glass marking pencil or slides numbered 1, 2… on the reverse of slide with date and tallying worksheet with patient details.

      - Smears should be made on the middle third portion of the slide spread 1-3 cm in diameter.

      - Smears should not be made too thick or thin to allow sufficient penetration of stains.

      - All specimens should be thoroughly mixed before making smear, to create homogeneity.

      - All sterile body fluids need to be centrifuged at 1000 rpm for 15 minutes or 2000 rpm for 10 minutes, or 3000 rpm for 5 minutes in sterile test tubes. The sediment is taken to make the smears after decanting the supernatant into a sample container. A 1 cm diameter smear is made from the deposit. If the sample volume is less, the sample is smeared on the slide and once it dries, a second smear is made on the first smear. This process is repeated three to five times.

      - For smears from sputum, pus or body fluids – purulent portion is used to prepare the smear.

      - For tissues, a small tissue is placed in a sterile petri dish or clean glass slide and a minute piece is sliced with the help of a sterile glass blade. The small piece is smeared on the glass slide or crushed between two glass slides to get the smear.

Procedure

      - Emulsify the specimen in a drop of 10% or 20% or 40% KOH on a microscopic slide with the help of a loop.

      - Apply gentle heat by passing the slide over a Bunsen flame 3-4 times to hasten the clearing.

      - Cover the smear with the cover slip.

      - Leave it for 5-10 minutes (hair) or 20-30 minutes (skin) or 2-4 hours or several hours (nail/tissue).

      - Examine the slide under low (10x) and high power (40x) magnifications.

      - Examine the slide for 15-20 minutes, for demonstration of shining fungal elements.

- Quality Control Procedure

Internal Quality Control

      - A drop of KOH is checked to rule out fungal contamination first time in a day. A fresh solution of KOH is prepared every 6 months.

External Quality Control

      - PT participation with a NABL accredited lab will be done.

- Interfering Substances

- Fungi need to be differentiated from epidermal cell outlines, elastic fibers and artifacts such as intracellular cholesterol and strands of cotton & vegetable fibers.

- Result Calculation

Thin or broad

Septate or aseptate

Hyaline or pigmented hyphae or budding yeast cells may be seen

- Biological Reference Interval

- N/A.

- Reportable Interval

- 4 Hours

- Procedure when Results are not in Range

- When the results are found inappropriate to the sample type, the sample is re-stained or checked with a repeat sample as per individual sample and growth discretion.

- Critical Alert Values

- Fungal elements in precious samples and in pus or tissues.

- Laboratory Clinical Interpretation

Positive: Positive for fungal elements (Different fungi will have different morphological forms (yeasts, cells with pseudohyphae, budding, septate, and aseptate hyphae, granules etc.). This can be clearly seen in a KOH wet mount.

Negative: No fungal elements seen.

- Potential Source of Variability

The following factors play a crucial role in the result variations and appropriate care should be taken to eliminate them:

      - sample type

      - sample collection

      - sample transportation time

      - portion of sample used for testing

      - loop size and sterility

      - incubation time.

- References

WHO, Regional Head office, Southeast Asia Regulations.

Mackey & McCartney, Textbook of Practical Microbiology, 13th edition.

Monica Cheesbrough, District laboratory practice in tropical countries, Part-2, Low price Edition, 2004, Page no. 236-8