SOP - 007

PROCEDURE FOR

WIDAL TEST BY AGGLUTINATION

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIST	5

LIST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Test Principle	7

6.	Specific Performance Characteristics	7

7.	Type of Sample	8

8.	Patient Preparation	8

9.	Type of Container & Additives	8

10.	Equipment & Reagents	8

11.	Safety	9

12.	Calibration Procedure	9

13.	Test Procedure	9

14.	Quality Control Procedure	10

15.	Interfering Substances	11

16.	Result Calculation	11

17.	Biological Reference Interval	11

18.	Reportable Interval	11

19.	Procedure when Results are not in Range	11

20.	Critical Alert Values	11

21.	Laboratory Clinical Interpretation	11

22.	Potential Source of Variability	11

23.	References	12

- APPROVAL AUTHORITY

| Prepared by: | Head of Department | Dr. Sadiya Shahnaz Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIST

- LIST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | NABL | National Accreditation Board for Testing and Calibration Laboratories |
| 2 | SE | Serology |
| 3 | SOP | Standard Operating Procedure |
| 4 | TDPL | TRUSTlab Diagnostics Private Limited |

- Objective

- This procedure describes the step-by-step tasks involved in the process of the Widal Test by using the Tube Agglutination, Slide Agglutination  method.

- Scope

- This procedure applies to all staff of the Serology Department tasked with the duty of performing these tests.

- Responsibilities

It is the responsibility of the technicians of the Serology Department to comply with this SOP.

HOD shall ensure implementation.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- This test provides a quantitative estimation of antibodies to Salmonella Antigens in human serum by tube agglutination method. This test is used in the diagnosis of enteric fever (Typhoid & Para Typhoid fever). Antibodies specific to flagellar antigen ‘H’ and Somatic Antigen ‘O’ of Salmonella Typhi serotype usually become detectable in blood 7 days after the onset of infection in individuals infected with typhoid bacilli.

- Test Principle

- When the coloured, smooth, attenuated antigen suspensions are mixed/incubated with patient serum, anti-salmonella antibodies present in the patient serum react with the antigen suspensions to give agglutination. Agglutination is a positive test result, indicating presence of anti-salmonella antibodies in the patient serum. No agglutination is a negative test result indicating absence of anti-salmonella antibodies.

- Specific Performance Characteristics

Sensitivity & Specificity: False positive results may occur in normal healthy individuals who possess low titres of antibodies that react with Salmonella Antigens H & O.

The test may be positive in individuals who have received typhoid vaccination or in individuals who have had previous Salmonella Typhi serotype infection

A negative result cannot rule out Typhoid fever if the sample had been taken very early in the course of the illness (earlier than 7 days from the onset of infection)

False positive results may also occur in auto immune diseases and rarely in non-specific febrile illnesses, especially with respect to H titres, and are therefore of little value if used alone in the diagnosis of Typhoid fever.

There may be 2-4 times difference in O titres on the same sample of serum tested with antigen suspensions from different manufacturers.

Diagnosis of Typhoid fever can be more definitively established from increasing titres of H & O antibodies rather than from a single test result of H & O titres.

In endemic areas titres of 1: 80 values may be detected in normal population.

- Type of Sample

- Human serum. Do not use haemolysed and turbid samples. Though freshly collected serum is preferable, store samples at 2-8°c in case of delay in testing, for up to 72 hours.

- Patient Preparation

- No special preparation of the patient is required prior to specimen collection by approved techniques.

- Type of Container & Additives

- Collect 2 ml of venous blood in a plain red topped vacutainer.

- Equipment & Reagents

S.Typhi ‘O’ Antigen suspension

S.Typhi ‘H’ Antigen suspension

S.Paratyphi ‘AH’ Antigen Suspension

S.Paratyphi ‘BH’ Antigen Suspension

Poly specific positive control

Incubator

0.5 ml and 1.0 ml serological pipettes

36 Widal tubes or Kahn tubes for each sample (5 x 50 mm)

Physiological saline

Test tube rack

- Safety

Handle all samples as potentially infectious

Handle all reagents with care and avoid contact with eye, mouth and skin

Do not perform mouth pipetting

Discard used reagents and sample as per disposal procedure.

- Calibration Procedure

- N/A.

- Test Procedure

- Bring reagents and samples to room temperature before testing. Shake and mix antigens well before dispensing.

Quantitative Method: Tube-test Procedure

      - Take appropriate number of sets (as required; one set for each antigen suspension) of 8 Kahn tubes / test tubes and label them 1 to 8.

      - Pipette into tube No. 1 of all sets 0.9 ml of physiological saline.

      - To each of the remaining tubes (2 to 8) add 1 ml of physiological saline.

      - To tube No. 1 of all sets add 0.1 ml of serum sample to be tested and mix well.

      - Transfer 0.5 ml of the diluted serum sample from tube No. 1 to tube No. 2 and mix well.

      - Transfer 0.5 ml of the diluted serum sample from tube No. 2 to tube No. 3 and mix well. Continue this serial dilution till tube No. 7 in each set.

      - Discard 0.5 ml of the diluted serum from tube No. 7 of each set.

      - Tube No. 8 in all the sets serves as a saline control.

      - To all the tubes (1 to 8) of the respective sets add a drop of the respective S.Typhi ‘O’, S.Typhi ‘H’, S.Paratyphi ‘AH’, S.Paratyphi ‘BH’ antigen suspensions and mix well.

      - Now the dilutions of the serum sample achieved from tube No. 1 to 7 respectively in each set is as follows: 1:20, 1:40, 1:80, 1:160, 1:320, 1:640, and 1:1280.

      - Positive control and negative control with each of the four antigens is set up with one drop of reagent, 0.1 ml of reagent control serum, and 0.9 ml of normal saline.

      - Cover and incubate at 37°C overnight (approximately 18 hours).

      - Dislodge the sedimented button gently and observe for agglutination macroscopically.

    - Rapid Slide (screening) Method

      - Before using the reagent for a day’s tests, the reagent is checked with Positive and negative control serum for all the antigen suspensions.

      - Add a drop of positive and negative serum on the slide in four wells on the slide and add a drop of the reagent antigen suspensions – TO, TH, AH, BH in the said sequence.

      - Rotate the slide for 1 minute. All the antigen suspensions must show clumps in the Positive control serum and no clumps in negative control serum.

      - If the control serum yields appropriate results, the reagent can be used for sample testing in the same way.

    - Semi-Quantitative Test

      - Clean the glass slide supplied in the kit well and wipe it free of moisture.

      - Place 0.04 mL, 0.02 mL, 0.01 mL, 0.005 mL of undiluted serum in the 1st, 2nd, 3rd & 4th circles respectively on the slide, representing titre as 1:40, 1:80, 1:160, 1:320 respectively.

      - Add one drop of appropriate antigen suspension which showed agglutination in the screening slide test, to each of the above circles.

      - Mix the contents of each circle with separate applicator sticks.

      - Rotate the slide slowly for one minute and observe for agglutination.

      - The titre of the antibody is the highest dilution of serum up to which there is clear agglutination.

      - Repeat steps a-f with all the antigens which showed the agglutination in screening slide test.

- Quality Control Procedure

Positive control serum , negative control serum and saline should be used in parallel with unknown test serum, to assure that the antigens used in the test are sensitive as well as specific, and also to show the results that are to be expected in Positive and Negative samples along with the first test of the day

- Interfering Substances

      - Do not use haemolysed and turbid samples.

- Result Calculation

- Interpretation of Results

- The titre of the patient serum using antigen suspensions is the highest dilution of the serum sample that gives a visible agglutination.

- Biological Reference Interval

- Titers of TO, equal to above 1:80 and TH, AH, BH equal to or above 1:160 above are taken as diagnostically significant.

- Reportable Interval

- 24 Hours

- Procedure when Results are not in Range

- Not applicable, as this is a semi-quantitative test. Serum showing visible agglutination at 1:320 or above is reported as “Agglutination seen at 1:320”.

- Critical Alert Values

- N/A.

- Laboratory Clinical Interpretation

- Positive titres of this test are suggestive of enteric fever (Typhoid & Para Typhoid fever) Antibodies specific to flagellar antigen ‘H’ and Somatic Antigen ‘O’ of S.typhi usually become detectable in blood, 7 days after the onset of infection in  individuals infected with typhoid bacilli.

- Potential Source of Variability

Shake the antigenic suspensions well before use and ensure the suspension is homogenous.

A moderate rise in titre of all three ‘H’ agglutinins occurring simultaneously against all three H antigens is suggestive of recent TAB vaccination.

Antibiotic treatment prevents a rise in titre.

A negative result cannot rule out Typhoid fever if the sample had been taken very early in the course of the illness (earlier than 7 days from the onset of infection).

Diagnosis of Typhoid fever can be more definitively established from increasing titres of H & O antibodies rather than from a single test result of H & O titres.

Clean and dry the test slide thoroughly before use.

Ensure the reagents and specimens are at room temperature before use.

Store the reagents at 2-8°C.

- References

- Cruikshank R, (1982), Medical Microbiology, 12th Edition, 403

- Widal Test – ARKRAY Kit Insert