SOP – 001

ACCESSIONING PROCEDURES

- TABLE OF CONTENTS

TABLE OF CONTENTS	2

APPROVAL AUTHORITY	3

RECORD OF AMENDMENTS	4

DISTRIBUTION LIMST	5

LIMST OF ABBREVIATIONS	6

1.	Objective	7

2.	Scope	7

3.	Responsibilities	7

4.	Definition	7

5.	Procedure	7

6.	References	18

- APPROVAL AUTHORITY

| Prepared by: | Assistant Manager Accession | Md. Fayazuddin Name | Date: 14/11/2024 |
| --- | --- | --- | --- |
|  |  | Signature |  |
| Reviewed & Approved by: | Laboratory Head | Dr. Abdul Aleem Name | Date: 14/11/2024 |
|  |  | Signature |  |
| Issued by: | Quality Manager | Dr. Sai Varun Name | Date: 14/11/2024 |
|  |  | Signature |  |

- RECORD OF AMENDMENTS

| S. No. | Ver. No. | Ver. Date | Rev. No. | Rev. Date | Description of Changes |
| --- | --- | --- | --- | --- | --- |

| Document Copy No. | Name / Designation of the holder of the document copy | Type of Copy | Version No. | Revision No. |
| --- | --- | --- | --- | --- |
| 01/10 | Managing Director | Controlled Copy | 01 | 00 |
| 02/10 |  |  |  |  |
| 03/10 |  |  |  |  |
| 04/10 |  |  |  |  |
| 05/10 |  |  |  |  |
| 06/10 |  |  |  |  |
| 07/10 |  |  |  |  |
| 08/10 |  |  |  |  |
| 09/10 |  |  |  |  |
| 10/10 |  |  |  |  |

- DISTRIBUTION LIMST

- LIMST OF ABBREVIATIONS

| S. No. | Abbreviations | Expansion |
| --- | --- | --- |
| 1 | AS | Accession |
| 2 | B2B | Business to Business |
| 3 | B2C | Business to Customer |
| 4 | °C | Degree Centigrade |
| 5 | CSD | Customer Service Department |
| 6 | CSF | Cerebral Spinal Fluid |
| 7 | HOD | Head of Department |
| 8 | IQC | Internal Quality Control |
| 9 | LIMS | Laboratory Information System |
| 10 | LMP | Last Menstrual Period |
| 11 | MSP | Management System Procedure |
| 12 | N/A | Not Applicable/Available |
| 13 | NACO | National AIDS Control Organization |
| 14 | OS | Outsource |
| 15 | QC | Quality Control |
| 16 | QM | Quality Manager |
| 17 | QNS | Quantity Not Sufficient |
| 18 | SIN | Sample Identification Number |
| 19 | SOP | Standard Operating Procedure |
| 20 | SST | Serum Separator Tube |
| 21 | TAT | Turnaround Time |
| 22 | TRF | Test Requisition Form |
| 23 | TDPL | TRUSTlab Diagnostics Private Limited |
| 24 | UHID | Unique Health Identification |
| 25 | WB EDTA | Whole Blood Ethylenediamine Tetra acetic Acid |

- Objective

- This procedure explains the activities involved in the patient registration and billing for the test as per the requisition of the doctor or a self-request. This procedure covers activities relating to receiving patient requisitions and samples for further processing.

- Scope

- This procedure applies to all staff of the Accession Department tasked with the duty of performing registering tests.

- Responsibilities

It is the responsibility of the technicians of the Accession Department to comply with this SOP.

The Sample Runner is responsible for expediting the delivery of samples to the processing departments.

The CSD team works in collaboration with Accession to facilitate smooth registration of the samples.

The department supervisor shall ensure implementation of this procedure.

The Quality Manager is responsible for monitoring, reviewing and ensuring compliance with this procedure.

All other TRUSTlab staff involved in this process (including contract personnel) are responsible for complying with this procedure.

- Definition

- In diagnostic labs, "accessioning" refers to the process of receiving, identifying, and documenting incoming samples. It's a crucial step that ensures each sample is tracked and managed properly from arrival through testing and reporting. Accessioning helps maintain sample integrity and compliance.

- Procedure

Receiving Samples from Walk-in Patients (B2C)

- This procedure defines registering and receiving samples for self-walk-in patients.

      - Personnel at the lab reception counter receive the test requisition forms from the patient and examine the details of the test required.

      - This is verified with the list of tests conducted by the lab. In case any test requested is not conducted by the lab and is outsourced, the patient is informed about it and the Receptionist deals with it accordingly.

      - Identification of the patient is done by asking the patient to identify him/herself: this will ensure correct patient sample identification at the point of collection.

      - The Phlebotomist before blood collection verifies whether the patient meets pre-examination requirements based on the test requested e.g. fasting status, medication status (time of last dose), LMP, Abstinence period in case of semen analysis, etc. Sample collection activities are done according to the Primary sample collection manual.

      - After confirmation of the type of tests to be done, pre-generated barcodes are to be attached to the sample vials. Write the Barcode number on TRF.

      - The registration process on LIMS will be done by the Receptionist.

      - Once Samples are collected in the sample collection area, the Phlebotomist will enter the details like the Name of the patient, date and time of the collection, number of samples, etc. in the sample movement register.

      - The Samples are placed in the sample storage box and handed over to the sample transport staff along with the Sample movement register and TRFs.

      - Sample transport staff handed over to the Accession team.

Receiving Samples from Clients (B2B):

      - The B2B specimens are delivered to TRUSTlab by the logistic services during operational hours of the laboratory.

      - B2B Clients will mention Patient Details in TRFs along with the Barcode number.

      - The samples arrive at the accession desk in the TRUST lab.

      - The details are captured in the sample receiving register and checked for the temperature.

Pre-registered Online samples Received from clients (B2B):

      - Clients have secure access to TRUSTlab LIMS for sample registration and downloading of reports.

      - Clients send samples to the laboratory after registration of patient samples.

      - All samples containing demographic details, unique identification no., etc. along with sample shipment details are sent to the processing laboratory.

Sample Receiving Process in Accession, once the samples are handed over to Accession from B2C and B2B clients:

      - The sample box is opened within the Biosafety Cabinet, while wearing appropriate PPE.

      - The specimen details, No. of vials/containers received, Temperature of container and condition of samples received, sample type, etc. are recorded on the TRF and in the Sample Receiving Register.

      - The samples are segregated, and staff correlate the samples with the patient based on the information given on the Test Requisition Form (TRF).

      - Sample tubes are placed in colour-coded racks based on their processing requirements:

        - In-house single-department processing samples are placed in the green Test-tube rack.

        - In-house multi-department samples (Combination/Shared samples) are placed in the white Test-tube rack.

        - Urgent samples are placed in the Red Test-tube rack.

        - Any sample that has missing details is placed on hold in the yellow test-tube rack until the missing details are procured.

      - After verification, the Accession member needs to acknowledge the date and time on the TRF as an indication that the TRF information is in concurrence with the specimen received. Then registration is done on the TRUSTlab LIMS software (ITDose).

      - Samples are placed in the respective sample receiving trays labeled with the name of departments.

      - If there is any discrepancy in the TRF information or Specimen, the same is informed to the Client via CSD for procuring the necessary information/clarification.

      - If the sample falls under the rejection criteria, information is given to the clients with complete details for the reason for rejection, and the client/salesperson is requested to send a fresh sample along with freshly filled TRF.

      - The Sr. Accession member needs to assess the genuineness of the problem and take appropriate action for the necessary registration process flow.

      - The TRF forms will be forwarded to the accession associate for registration in LIMS “B2B billing”. The following details need to be entered into LIMS by the accession associate.

      - Name (Client Code/billing information) should be checked on the TRF.

      - Name of the Patient, Mobile no., Age, Sex, Referred By and sample Collection date & and time and Test with test code.

      - If the pre-generated barcode is affixed to the TRF/sample vial, the barcode number is captured.

      - If the pre-generated barcode is not affixed to the TRF, the Accession department will paste a barcode containing the Patient name, Age, Gender, SIN No, Test name, Department, and Lab Order No. Test Description.

      - The TRF, clinical history, old reports, etc.  are scanned and uploaded into LIMS.

      - The Accession Associate will place the samples in respective Department bin.

      - The Sample Runner will periodically (~15-minute intervals) pick up the samples and deliver them to the respective departments.

      - After completion of the SRA samples should not stay for more than 30 minutes in the Accession Department.

      - Once the samples are handed over to the Department, the technician therein will accept them (Department Receive) in LIMS.

Process Flow:

      - After Receiving Samples, the Accession Department rechecks all the Details Entered by clients, and saves the details in the Sample Receiving Area (LIMS).

      - The Accession member will place the samples in the colour-coded racks in the respective department bins.

      - Sample Runner will pick up the samples and deliver them to the respective departments.

Outsource Sample Policy:

      - Outsource specimens will be identified in the accession, and if in adequate quantity, will be aliquoted to vials and label with patient name, age, gender, etc.

      - After sample separation distribute the samples to departments for in–house processing.

      - For identifying the adequacy of sample, accessioning team may contact the Concerned department or CSD.

      - If the sample volume is insufficient to perform both in-house and out-sourced tests the sample is sent to the department with a note that the sample needs to be returned to Accession for out-sourcing. This process may result in delayed reports for outsource parameters, hence delay notification should be intimated by accession to CSD whenever possible.

      - A pink/red sticker may be affixed to the vial of the in-house/outsource shared sample, to indicate urgency, before placing it in the white tube rack.

      - If the sample volume is low, the accession team will coordinate with CSD to get a repeat sample and issue a delay notification.

      - For parameters that are routinely performed in-house and due to kit failures/equipment breakdown are being outsourced delay notification will be issued as a priority.

      - If delay notification is not given by Departments, this is the responsibility of the accession department to inform CSD.

      - Accession needs to coordinate with CSD to arrange riders immediately for outsourcing samples to maintain the customer TAT, whenever the OS lab rider can’t pick up the samples including Sundays and Holidays.

      - It is the responsibility of the accession team, in coordination with logistics, to send the sample immediately to the outsource lab, The Accession team should not wait for the outsource lab rider to come and collect the sample.

      - After the sample is handed over to the outsource rider it is the responsibility of the CSD team to check if the sample is received, registered, and processed at the outsourced lab in time.

      - Based on the outsource lab’s TAT CSD team needs to coordinate with the outsource lab 30 minutes before maturation of the outsource lab TAT.

      - For tests with more than one day TAT CSD will note down the expected date/time of report release from the outsourced lab and coordinate to get the report released on the expected date.

      - Once the report is released from the outsourced lab, CSD Should send reports to the departments.

      - Outsourcing procedures are defined in detail in TDPL/QA/MAN-002; MSP-010: Procedure for Outsourcing Samples.

Add-on test request received after registration or reporting:

      - Add-on test request received from client/sales by email.

      - The Customer Support team will confirm the sample quantity, and sample stability as per analytes from the department and hand over the “Add-on Requisition form” to respective departments.

      - Department staff will register in LIMS as per the Add-On process.

      - After registration Department staff will inform the Customer Support Team through Email

      - Customer Support will revert to client/marketing confirming the acceptance of the Add-on request.

Add-On Test Sample Accession Process:

      - Click on B2B Billing

      - Enter the SIN/UHID/VISIT no for which the add-on request is received.

      - Complete patient demography will reflect on the B2B screen as per the previous registration details.

      - Enter the Referral Dr. Name, and client name.

      - Select “Add Services” as per the Add-on test requested and click on ‘Save’ to generate the order.

      - After completion of registration in LIMS, the department-wise barcode is checked. The Accession executive will hand over the barcode to the department concerned, after informing them about the add-on test

Repeat Samples Processing:

      - Repeat sample test request received from the client along with sample and TRF.

      - Indication of repeat samples will be mentioned by the client mentioning “REPEAT SAMPLE” and mentioning previous details against which repeat tests are to be performed.

      - Sr. Accession associate needs to assess whether it is Repeat samples or routine samples.

      - The Accession executive will check in LIMS with the previous SIN number, report status, and cancel it and a fresh SIN is generated.

      - If the test is not reported due to QNS, HEMOLYSED, etc., and the order is not canceled/rejected below process is followed:

        - Ticket raised to concern dept with details.

        - Cancellation Request Received Before Sample Received in Lab:

          - Cancellation Test / Order request received from the client by email only no other mode is accepted

          - CSD will inform the Accession Department through a ticket to track the shipment and cancel the test requested by the client.

          - After resolution Accession will reply to confirm cancellation request.

        - Cancellation Request Received After Registration in Lab:

          - Cancellation test / Order request received from the client by email only no other mode is accepted.

          - CSD will inform the Department to cancel the test requested by the client.

          - If the test is processed, the test cancellation request will not be done and if the test is not processed the test will be cancelled.

          - The Department will reply accordingly to CSD.

        - Samples with Incomplete Details:

          - When Accession member is receiving the samples and in case the client has not provided the mandatory information like and limited to:

          - Patient name, age, gender, name discrepancy, incomplete test name, no client information, collection date, time.

          - Sample leaked out; incorrect specimen received for the test requested.

The process flow followed for such samples is:

| Problem sample type | Action to be taken |
| --- | --- |
| Age & Gender not specified | The ticket was sent to CSD for confirmation from the client/salesperson. On confirmation order shall be raised and information will be given to dept. to release the report. |
| TRF not received | Ticket will be raised to CSD to inform the respective area’s salesperson. The sample will be stored as per the protocol. |
| Patient & Dr’s. name not legible | Deficiency informed to CSD for confirmation from client/salesperson. |
| Discrepancy between the Name on the vial & name on the TRF | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per the protocol |
| Client name not mentioned | Ticket will be raised to CSD to inform the respective area’s salesperson. The sample will be stored as per the protocol. |
| Discrepancy between test code and test name | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per the protocol |
| The complete test name is not mentioned | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per protocol. |
| The sample volume is not sufficient for two or more analytes. | Deficiency is informed to CSD for confirmation for priority of the test to be processed. The sample will be stored as per protocol. |
| Extra sample received | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per protocol. |
| Double Markers Test: Risk Assessment not possible. Triple / Quadruple markers can be processed | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per the protocol |
| Triple, Quadruple Markers Test: Risk Assessment not possible. A double marker test can be processed. | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per the protocol |
| The specimen site is not mentioned | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per the protocol |
| Plasma / Serum specimen type not mentioned on vial | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per the protocol |
| Repeat Test requested for the test reported earlier. | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per the protocol. |
| Unlabeled sample | Deficiency is informed to CSD for circulating mail as per the identified zone (Location) to salesperson. The sample will be stored as per the protocol. |
| Type of Specimen not specified | Deficiency is informed to CSD for confirmation from client/salesperson. The sample will be stored as per the protocol. |

Common Process Flow for Problem Sample Handling:

      - Ticket raised to CSD.

      - After resolution, CSD will revert with confirming processing or rejection with the details mentioned.

      - On receipt of confirmation mail from client/sales, CSD will forward the mail to Accession for processing or rejection.

      - If the query is unresolved the next day, a reminder mail is sent to CSD.

      - All problematic samples are stored as per the stability specified in Sample Handling Manual, until resolution. Samples are discarded as per laboratory policy, if the query remains unresolved by the end of the retention period.

      - The serum sample will be stored in 2-8°C.

Sample Discard Policy:

      - Samples that are kept on hold for test confirmation, extra samples will be discarded by accession as per the below defined period:

| Retention Period of Specimens withheld at Accession |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Urine | Fluids / CSF | Serum/ Plasma | Tissue | Bone marrow | Stool | Whole blood |
| 1 Day | 1 Day | 3 Days; For HIV- 7 days | 30 Days | 7 Days | 12 hrs. | 1 Day |

Primary Specimen Rejection Criteria:

      - Improperly labeled specimen e.g. labeled with the wrong patient’s name or with a different patient’s ID number.

      - Specimens received in the wrong vial. e.g. WB. EDTA sample received in plain tube (Multipurpose vial)

      - The specimen container is broken, leaking, or empty.

      - Clotted specimens.

      - Transport of samples in inappropriate temperature conditions.

      - Hemolyzed or Lipemic samples directly affect the test results. Such samples are not suitable for testing.

      - Any sample type received in formalin for culture and sensitivity.

      - The slide is broken beyond repair.

      - Whole Blood Citrate/anticoagulant sample overfilled or underfilled.

Revision of Test Request:

      - Any request by the patient or referring doctor for amendment of the contents of the TRF is raised via CSD.

      - Approval is required from the QM/HOD/Lab Manager.

      - The test revision request is approved after considering the following:

        - The requested test and test method is within the scope of testing of the laboratory or not.

        - The required resources for the requested test(s) are available in the laboratory.

        - Existing workload of the laboratory.

        - The requested test method is capable of meeting customer requirements, wherever applicable.

        - Laboratory’s ability to release the report by the time requested by the customer, in consultation with the department concerned.

        - Readiness of the patient.

      - Once such a revision is accepted, Accession via CSD informs the department concerned to facilitate necessary changes.

      - No amendments are accepted after commencement of work, and any such amendment (if necessary) is deemed as a new requisition with additional billing.

- References

      - Specimen Collection, Storage & Transportation Manual (TDPL/QA/MAN-003).

      - MSP-010: Procedure for Outsourcing Samples (TDPL/QA/MAN-002)